| Corporate Services Lead Member Briefing | 1st July 2002 | PART 1 (OPEN TO THE PUBLIC) |
| --- | --- | --- |
| SUBJECT: ENERGY MANAGEMENT ACTIVITY DURING THE PERIOD MARCH 2002 TO JUNE 2002. |
| REPORT OF: DIRECTOR OF CORPORATE SERVICES | FOR INFORMATION |

REPORT SUMMARY

- PURPOSE OF REPORT:

To update members on matters arising since the March 2002 meeting of the Quality and Performance Scrutiny Committee and to report significant activities in the Energy Audit Group.

- RECOMMENDATIONS

Members are asked to note the level of savings being achieved and identified by the Group.

- ROUTING

Direct to council.

- IMPLICATIONS

4.1	Resources (Finance/Staffing):		The operation of an efficient Energy

Management Group contributes to considerable

Cost savings to the City Council. Competitive

Tendering for energy supply will minimise the

Strain on limited budgets.

4.2	Performance Review:			Not Applicable.

4.3	Environmental:			Reduction in the use of fuels, energy and water

will minimise harmful effects on the

environment.

4.4	Equal Opportunities:			Not Applicable.

4.5	Community Strategy:			Not Applicable.

4.6	Anti-Poverty Strategy:		Not Applicable

| IF YOU HAVE ANY QUERIES PLEASE CONTACT Jim Gosney 793 3472 | BACKGROUND DOCUMENTS |
| --- | --- |
| QUALITY CONTROL | Report Prepared by Jim Gosney 793 3472 Checked by Donald Simpson 793 3290 |
| Corporate Services (Finance), Salford Civic Centre, Chorley Road, Swinton. M27 5AW |

# REPORT DETAILS

- ENERGY MANAGEMENT

Activities undertaken during the period March 2002 to June 2002 include the following: -

Progress of the energy audit plan

The levels of energy savings achieved.

Climate Change Levy Exemption for Schools

- ELECTRICITY PURCHASING

We are pleased to report that an additional 25 sites have been added to the under 100kW contract with Scottish Power.  TXU Energi were supplying the sites on a standard tariff. By transferring them to the Scottish Power contract annual savings of approximately, £17,433 will be achieved.

- ENERGY SAVINGS ACHIEVED

Implemented Energy Savings, through purchasing, tariff analysis and water audits amount to £86,144.71 for the year to date. Refunds for the amount of £84,104.95 have also been achieved and cheques from the various suppliers received.

A number of energy audits at the following Education premises have also been conducted. The main recommendation at Lower Kersal was to replace the electricity heating system with a gas fired heating system. The other summaries are attached in Appendix A.

Premise Name			Potential Savings (Annual)

St Gilbert’s RC Primary 	£1,843

Lower Kersal Primary		£9,512

Lark Hill Primary		£5,365

St Boniface RC Primary	£2,040

St Luke’s CE Primary		£1,360

=====

£20,120

In addition to the above there are ongoing energy audits at Cannon Williamson High School, St Ambrose Barlow High School, Irlam Primary School and an audit is also planned at the Civic Centre complex in June 2002.

8.	CLIMATE CHANGE LEVY EXEMPTION AT SCHOOLS

As you may be aware the climate Change Levy (CCL) tax was introduced on the 1st April 2001, resulting in increases of 12 to 20% on most of the council’s premises electricity and gas invoices.

To make the administration of collecting the tax as simple as possible, Customs and Excise have linked the right to collection to the VAT status of the end user. For example, if you pay the full rate VAT (17.5%) CCL will be collected. If you pay domestic rate (5%), you will be exempt from CCL.

We have recently undertaken investigations into the status of all schools in relation to VAT. As per HM Customs and Excise notice 701/30, “all schools” have “charitable status” and can therefore benefit from the reduced rate of VAT and exemption from CCL.

We are in the process of contacting the electricity and gas suppliers to arrange the change of status, which result in savings of 12 to 20% on all schools invoices.

9.	ENVIRONMENTAL BENEFITS OF ENERGY AUDIT ACTIVITIES

| Premises | Date Report Issued | Potential Savings (Annual) | CO2 Reduction (Tonnes) |
| --- | --- | --- | --- |
| Seedley Primary School | 01/03/01 | £4,646 | 9.29 |
| Langworthy Rd Primary School | 26/03/01 | £2,940 | 5.88 |
| St Pauls C E Primary School | 01/06/01 | £3,350 | 6.70 |
| St Marks R C Primary School | 18/06/01 | £3,395 | 6.8 |
| Monton Green Primary School | 27/06/01 | £2,480 | 4.96 |
| Libraries | 03/08/01 | £23,629 | 47.3 |
| Christ The King RC Primary | 10/08/01 | £3,608 | 7.2 |
| St Gilberts RC Primary | 27/03/02 | £1,843 | 36.9 |
| Lower Kersal PS | 22/05/02 | £9,512 | 11.9 |
| Lark Hill Primary | 23/05/02 | £5,365 | 10.73 |
| St Lukes Primary | 23/05/02 | £2,040 | 4.08 |
| St Boniface RC Primary | 23/05/02 | £1,360 | 2.72 |
|  |  | £64,168 | 128.31 |

| School | Boiler Replacements 2001 | Cost (£) | Environmental Benefits (Tonnes of CO2) | Energy Saving (£) (Annual) |
| --- | --- | --- | --- | --- |
| St Philip's RC | Replacement of boiler plant + controls with pipe work modification | £28,619 | 46.16 | £3078 |
| Beech Street CP | Relocation of boiler room + full boiler plant replacement | £58,000 | 13.77 | £6888 |
| Brentnall CP (on hold) | Replacement of boiler plant + controls | £72,500 | 16.4 | £8202 |
| Lewis Street CP | Replacement of boiler plant + controls + conversion to gas | £89,480 | 16.01 | £8005 |
| St Andrews Methodist | Modifications to existing heating system | £49,388 | 4.74 | £2369 |
| Godfrey Ermen Memorial CE | Replacement of infants boiler plant + controls, with new distribution pipe work | £79,000 | 3.0 | £1500 |
| Godfrey Ermen Memorial CE | Replacement of boiler plant + controls in the Junior building |  | 4.17 | £2085 |
| Buile Hill High School | Replacement of corroded underground heating and hot water pipe work |  | 2.17 | £1085 |
| Broadoak CP | Replacement of boiler plant + controls + conversion to gas | £75,600 | 9.08 | £4542 |
| Westwood Park CP (on hold) | Replacement of boiler plant serving detached kitchen block | £15,725 | 1.04 | £522 |
| St Thomas of Canterbury | Replacement of boiler plant and controls | £69,000 | 9.93 | £4966 |
|  | Total Expenditure on Boiler Replacements: | £537,312 | 126.5 | £43,242 |
| School | Boiler Renewals 2002 | Estimated Cost (£) | Environmental Benefits (Tonnes of CO2) | Energy Saving (£) (Annual) |
| Light Oaks Infant / Junior | Boiler Renewal | £56,000 | 21.7 | £1089 |
| St Charles RC | Boiler Renewal | £69,000 | 35.3 | £1768 |
| St James RC | Boiler Renewal | £69,000 | 37.9 | £1895 |
| Swinton High School | Boiler / Pipe work Renewal | £92,000 | 24 | £1200 |
|  | Total Expenditure on Boiler Renewals: | £286,000 | 118.9 | £5952 |

APPENDIX A

### ST GILBERT’S RC PRIMARY SCHOOL

| Description of Recommendation | Annual Saving (£) | Estimated Cost of Implementation (£) | Pay Back Period (Years) |
| --- | --- | --- | --- |
| Install 21 no. WC Dams | £ 85.00 | £ 115.50 | 16 Months |
| Install 42 no. Push Taps | £562.86 | £ 756.00 | 16 Months |
| Install 2 no. Occupancy Sensing Urinal Controls | £1195.26 | £ 450.00 | 4.5 Months |
|  | £1843.12 | £1321.50 | 8.6 Months |

### ST BONIFACE RC PRIMARY SCHOOL

| 1.3.1 No Cost Measures |  | Saving kWh | Saving £ | CO2 Tonne |  |
| --- | --- | --- | --- | --- | --- |
| .1 | Obtain competitive quotes for electricity |  | 0 | 650 | 0 |  |
| .2 | Reset the heating controller outside temperature heating cut off (ECO off) from 18°C to 16°C |  | 7,200 | 135 | 2.0 |  |
| .3 | Computers – set the switch to standby time to 10 minutes |  | 400 | 5 | .1 |  |
|  | Total No Cost Measures |  |  | £790 | 2.1 |  |

| 1.3.2 Low Cost Measures (In order of payback up to £6,000) | Budget Cost £ | Saving KWh | Saving £ | CO2 Tonne | Pay-back Years |
| --- | --- | --- | --- | --- | --- |
| .1 | Lights – replacement of tungsten GLS with compact fluorescent lamps | 160 | 3,000 elect day | 160 | 1.3 | 1.0 |
| .2 | Refrigerators and freezers – power regulators | 120 | 1,000 elect day 300 elect night | 55 | 0.6 | 2.2 |
| .3 | Heating control – hall space sensor position | 300 | 8,200 gas | 155 | 2.3 | 1.9 |
| .4 | Junior boys WC – add urinal flush controls | 700 | 156 m3 water | 200 | 0 | 3.5 |
|  | Total Low Cost Measures | £1,280 |  | £570 |  | 2.2 Years |

| 1.3.3 Summary - all measures | Budget Cost £ | Saving KWh | Saving £ | CO2 Tonne | Pay-back |
| --- | --- | --- | --- | --- | --- |
|  | Total | £1,280 | 4,300 elect 15,800 gas 156m3 water | £1,360 | 6.3 | 0.9 Years |

ST LUKE’S CE PRIMARY SCHOOL

| 1.3.1 No Cost Measures |  | Saving KWh | Saving £ | CO2 Tonne |  |
| --- | --- | --- | --- | --- | --- |
| .1 | Lights – encourage staff and pupils to switch off |  | 4,600 elect day | 245 | 2.0 |  |
| .2 | Lighting – replacement of T12 tubes with 8% more efficient T8 tubes |  | 1,800 elect day | 95 | 0.8 |  |
|  | Total No Cost Measures |  |  | £340 |  |  |

| 1.3.2 Low Cost Measures (In order of payback up to £6,000) | Budget Cost £ | Saving KWh | Saving £ | CO2 Tonne | Pay-back Years |
| --- | --- | --- | --- | --- | --- |
| .1 | Power regulators on refrigerators | 60 | 450 elect day 125 elect night | 30 | 0.2 | 2.0 |
| .2 | Boiler control - Optimiser Compensator / DHW controller and primary pump modifications | 2,000 | 6,000 elect day 25,000 oil | 925 | 11.8 | 2.2 |
|  | Total Low Cost Measures | £2,060 |  | £955 | 12.0 | 2.2 Years |

| 1.3.3 High Cost Measures (Above £6000) | Budget Cost £ | Saving KWh | Saving £ | CO2 Tonne | Pay-back Years |
| --- | --- | --- | --- | --- | --- |
| .1 | Nursery and community – a separate combination heating and DHW boiler | 12,000 | 4,000 elect day 22,000 oil | 745 | 9.8 | 16.1 |

| 1.3.4 Summary - all measures | Budget Cost £ | Saving KWh | Saving £ | CO2 Tonne | Pay-back |
| --- | --- | --- | --- | --- | --- |
|  | Total | £14,060 | 16,975 elect 47,000 oil | £2,040 | 24.6 | 6.9 Years |

### LARK HILL PRIMARY SCHOOL

| 1.3.1 No Cost Measures |  | Saving KWh | Saving £ | CO2 Tonne |  |
| --- | --- | --- | --- | --- | --- |
| .1 | Lights – encourage staff and pupils to switch off |  | 3,500 elect. | 167 | 1.5 |  |
| .2 | Time programme – Kitchen DHW boiler reset off from 15:00 to 14:00 |  | 3,400 oil | 77 | 1.3 |  |
| .3 | Kitchen DHW boiler – service to improve efficiency |  | 3,250 oil | 73 | 1.2 |  |
|  | Total No Cost Measures |  |  | £430 | 5.0 |  |

| 1.3.2 Low Cost Measures (In order of payback up to £6,000) | Budget Cost £ | Saving KWh | Saving £ | CO2 Tonne | Pay-back Years |
| --- | --- | --- | --- | --- | --- |
| .1 | Boiler room pipe insulation | 250 | 7,200 oil | 163 | 2.7 | 1.5 |
| .2 | Power regulators on refrigerators | 90 | 900 elec day 250 elec night | 49 | 0.5 | 1.8 |
| .3 | Boiler plant idling prevention - DHW interlock | 300 | 4,500 oil | 102 | 1.7 | 2.9 |
| .4 | WC corridor tungsten lighting to 2D | 120 | 800 elec day | 38 | 0.3 | 3.2 |
| .5 | DHW control valve - repair | 250 | 2,800 oil | 63 | 1.0 | 4.0 |
|  | Total Low Cost Measures | £1,010 |  | £415 | 6.2 | 2.4 Years |

| 1.3.3 High Cost Measures (Above £6000) | Budget Cost £ | Saving KWh | Saving £ | CO2 Tonne | Pay-back Years |
| --- | --- | --- | --- | --- | --- |
| .1 | Replacement gas boiler | 60,000 | 200,000 oil | 4,520 | 74.6 | 13.3 |

| 1.4 Summary - all measures | Budget Cost £ | Saving KWh | Saving £ | CO2 Tonne | Pay-back |
| --- | --- | --- | --- | --- | --- |
|  | Total | £61,010 | 5,450 elect 221,150 oil | £5,356 | 85.8 | 11.4 Years |