| PART ONE | ITEM NO. |
| --- | --- |

REPORT OF THE

# DIRECTOR OF CORPORATE SERVICES

To the: Corporate Services Lead member Briefing

On: Monday 17th May 2004

TITLE: ENERGY MANAGEMENT ACTIVITY – SEPTEMBER 2003 TO APRIL 2004

RECOMMENDATIONS:
The Lead Member is asked to note the level of savings being achieved and identified by the group.

EXECUTIVE SUMMARY:
The purpose of this report is to inform members of the energy audit activity undertaken by Audit & Risk Management Unit for the period September 2003 to April 2004 inclusive.

BACKGROUND DOCUMENTS:

## None

ASSESSMENT OF RISK:

## The Energy Audit Strategy and programme of reviews has been compiled following a robust risk assessment of the energy and environmental management issues facing the authority.

THE SOURCE OF FUNDING IS:

## Within existing revenue budgets ,with a contribution to savings and budget strategy.

LEGAL ADVICE OBTAINED:

## N/A

FINANCIAL ADVICE OBTAINED:

## Ongoing consultation with the Head of Finance

CONTACT OFFICER:

## Jim Gosney – Energy Manager        0161 793 3472

WARD(S) TO WHICH REPORT RELATES:

## All

KEY COUNCIL POLICIES:

## Energy and Environmental Policy

DETAILS:

See attached report

Energy Audit activities undertaken during the period September 2003 to April 2004 are detailed as follows: -

- ELECTRICITY PURCHASING

The Electricity contracts for 18 over 100 kW sites and to 325 sub 100 kW sites, has now been completed. The lowest tenders for both contracts were accepted at committee.

We are pleased to confirm that nationally the overall increase in electricity prices has been of the order of 20%, however, the actual increase for this contract has been limited to 4.3% and 2.67% respectively.

We are also pleased to confirm that all these sites will be supplied on a “Green Energy” contract.

- ENERGY SAVINGS ACHIEVED

Implemented Energy Savings, through purchasing, tariff analysis and water audits amount to £ 126,241.66 for the year to date. Refunds for the amount of £206,005.40 have also been achieved and cheques from the various suppliers received.

We are pleased to report that audits have been conducted at Turnpike House, Agecroft Cemetery, Peel Green Cemetery, Swinton Cemetery, Ellenbrook Primary School, All Souls Primary School, Springwood Primary School, Minerva House,  Moorside High School, James Brindley Primary School, Beech Street Primary School, St Edmunds Primary School, Albert Park, Boddan Lodge, Boothsbank Park, Bolton Road, Cadishead and Charlestown Veterans Pavilions, St George’s R C High School and Wentworth High School.

The Recommendation summaries for the reports issued are attached in Appendix A.

- AFFORDABLE WARMTH STRATEGY

Salford City Council and Salford Primary Care Trust are working together with other agencies through the Salford Partnership, to develop a strategy to tackle the problem of fuel poverty in the City. Fuel poverty affects households who cannot afford to heat their homes to temperatures adequate to maintain comfort and health.

Housing officers together with the Energy Manager have been gaining the co-operation of all relevant statutory, private and voluntary organisations and representatives of the community.

There are four main aims of the strategy: -

- To raise awareness and provide advice on energy efficiency and affordable warmth.

- To provide financial solutions for affordable warmth.

- To establish partnership working and referral systems for affordable warmth.

- To improve the energy efficiency of the housing stock in Salford.

It is planned to report on the progress of the strategy when all the key tasks partners and resources have been identified.

4.	SALFORD SOLAR PLAN

Salford City Council along with the Energy Savings Trust have provided grants to assist both private and council house properties to install photovoltaic (PV) panels.

Six PV panels are to be installed to the roofs to provide electricity to the property. The electricity output from the PV panels will vary depending on the intensity of the light falling on it. However it has been estimated that between 30 – 40% of the overall electricity, to the property, will be provided by these panels.

Currently, there are four private properties and two council properties that have or are in the process of having the panels installed. With the private properties, Salford City Council provide £2,000, the Energy Savings Trust provide £3,240 and the balance of approximately £2,700 is paid by the client. However, with the council properties the same grant is received from the Energy Savings Trust and the balance is paid by the council.

As the PV panels have only recently been installed we are unable to give accurate savings both financially and environmentally. However, we are receiving copies of the electricity invoices for these properties and will continually monitor the benefits.

5. 	WORK PLAN FOR THE NEXT THREE YEARS

Having identified our long-term objectives and targets in the Corporate Energy Strategy, a series of proposals have been formed which will enable the council to deliver continuous improvement. It is recognised that this may be achieved in five ways, our approach is:

- The procurement of energy and water

- Refurbishment and improvement of existing buildings and design of new buildings

- Reporting and monitoring of progress (BV 180, benchmarking)

- Improved controls, innovation, brokerage services, Leisure Trust SLA

- Completion of energy and environmental Audits.

##### a)	 Procurement of Utilities

The deregulation of the electricity and gas markets, and the expected deregulation of the water supply industry allows customers to make an informed choice of supplier based on criteria other than cost alone.

The environmental impacts of the point of generation may be assessed, and contracts negotiated accordingly. This provides a challenge, as we must operate within strict legal and financial guidelines relating to fair competition.

Green electricity is generated from accredited renewable sources, such as wind, wave or solar power, and it is therefore zero-CO2 and exempt from the climate change levy. It may be purchased (at a premium) as an agreed percentage of the total contract value, or for specific, high profile buildings. However, supplies of green electricity are in high demand from local authorities, as, as commodity green electricity is in short supply. Consequently, whilst Salford City Council would like to increase substantially the amount of green electricity that it procures, this aspiration has to be tempered by two factors:

- The market may not be able to supply sufficient green energy to meet the council’s demand

- The price of green electricity may be cost prohibitive

Street lighting is currently procured through the Energy Audit Team Unit. The council should identify the extent to which green supply can be obtained at a competitive rate.

Any possible future PFI/PPP lighting specifications are to include environmental outputs.

##### b)	Design of New Buildings / Improvements to Existing Buildings

Energy and water efficiency improvements to existing buildings involve similar technologies to those of new buildings. New buildings, whether designed or built by council agencies, private firms or in PFI/PPP schemes, must meet the same high standards of energy and water management and environmental quality.

In particular, schemes will be actively encouraged which lend themselves to innovative forms of sustainable design and demonstrate best practice.

Energy efficiency and whole life costing – as part of the option appraisal for larger capital schemes a whole life cost costing approach will be developed which will seek to minimise energy and water consumption associated with new buildings. This approach will include adherence to the latest Building Regulations, specifying compliance with published good practice energy and water benchmarks from sources such as DEFRA and Watermark and making best use of low carbon design strategies:

  - Design for natural daylighting

- Design for natural ventilation

- Condensing boilers

- Low energy lighting

- Super insulation

c) 	Monitoring Progress (Management Reporting)

In order to ensure that key stakeholders have access to appropriate information about energy and water consumption in their service area regular, reports will continue to be prepared. Reports will include departmental and building targets and progress against these targets.

Specific areas of good and/or poor energy and environmental performance will also be highlighted.

Reports to the council’s Asset Management Group will also continue to ensure that there is awareness amongst senior management of energy and water trends.

Water Leakage: - The council will improve the response to water leakage reports to ensure that consumption reduction targets are not compromised. Progress towards the objectives will be reported annually.

Water Conservation: - Low water design features are more affordable than many other energy conserving features, and include:

- Rainwater and grey water recycling

- Urinal controls

- Aerating taps and shower heads

- Other low flow appliances

##### d)	Innovation

The Energy Unit are investigating further energy and water conservation initiatives over the next three years. This will include: -

- An assessment of likely climate change levy impacts on council property and activities

- Exploring partnering opportunities to increase the amount of renewable energy available to the council

- Exploring opportunities for obtaining European and UK funding for council energy and water initiatives

- Expansion of existing controls system

e)	Energy Audits

Completion of Energy and Environmental Audits as per the previous programme for all clients

6.	ENVIRONMENTAL BENEFITS OF ENERGY AUDIT ACTIVITIES

| Premises | Date Report Issued | Potential Savings (Annual) | CO2 Reduction (Tonnes) |
| --- | --- | --- | --- |
| St Gilberts RC Primary | 27/03/02 | £1,843 | 36.9 |
| Lowe Lower Kersal PS | 22/05/02 | £9,512 | 11.9 |
| Lark Hill Primary | 23/05/02 | £5,365 | 10.73 |
| St Lukes Primary | 23/05/02 | £2,040 | 4.08 |
| St Boniface RC Primary | 23/05/02 | £1,360 | 2.72 |
| Civic Centre | 14/08/02 | £4,870 | 61.0 |
| Canon Williamson High School | 11/07/02 | £3,665 | 52.0 |
| St Ambrose Barlow High School | 11/07/02 | £4,955 | 52.0 |
| Irlam Primary School | 18/07/02 | £1,905 | - |
| Broughton Resource Centre | 09/09/02 | £4,217 | 32.8 |
| Worsley Courthouse | 21/10/02 | £11,104 | - |
| Ingleside | 09/12/02 | £1,880 | - |
| St Philip’s RC Primary | 06/02/03 | £1,107 | - |
| Clarendon Recreation Centre | 07/02/03 | £5,500 | 83.1 |
| Pendlebury Recreation Centre | 07/02/03 | £4,130 | 62.1 |
| Broughton Pool | 07/02/03 | £9,785 | 101.7 |
| Eccles Recreation Centre | 07/02/03 | £5,645 | 83.9 |
| Worsley Pool | 19/02/03 | £13,870 | 210.6 |
| Irlam Pool | 19/02/03 | £3,995 | 56.1 |
| Belvedere Early Years Centre | 24/06/03 | £2,861 | 30.3 |
| St Mary’s C E Primary School | 11/07/03 | £3,614 | - |
| St Luke’s R C Primary School | 17/07/03 | £5,648 | - |
| Light Oaks Primary School | 03/07/03 | £1,040 | 11.7 |
| Cadishead Primary School | 02/09/03 | £3,044 | - |
| Turnpike House | 15/10/03 | £10,105 | 91.0 |
| Agecroft Cemetery | 19/11/03 | £672 | 0.4 |
| Peel Green Cemetery | 19/11/03 | £6,260 | 3.2 |
| Swinton Cemetery | 19/11/03 | £1,195 | - |
| Ellenbrook Primary School | 21/11/03 | £1,770 | - |
| All Souls Primary School | 21/11/03 | £2,066 | - |
| Springwood Primary School | 24/11/03 | £3,033 | - |
| Minerva House | 24/11/03 | £3,165 | 46.2 |
| Moorside HighSchool | 13/02/04 | £772 | - |
| James Brindley Primary School | 06/01/04 | £1,685 | - |
| Beech Street Primary School | 10/03/04 | £2,720 | 12.06 |
| St Edmunds Primary School | 09/03/04 | £2,116 |  |
| Albert Park Veterans Pavilion | 31/03/04 | £814 | 2.53 |
| Boddan Lodge Veterans Pavilion | 31/03/04 | £739 | 3.29 |
| Boothsbank Park Veterans Pavilion | 31/03/04 | £103 | - |
| Bolton Road Veterans Pavilion | 31/03/04 | £5,297 | - |
| Cadishead Veterans Pavilion | 31/03/04 | £2,211 | - |
| Charlestown Veterans Pavilion | 31/03/04 | - | - |
| St George’s RC High School | 19/03/04 | £9,007 | 46.2 |
| Wentworth High School | 22/04/04 | £10,872 | 78.6 |
|  |  | £177,557 | 1187.11 |

APPENDIX A

SUMMARY OF RECOMMENDATIONS

TURNPIKE HOUSE

|  | Recommendation | £ Saving | KWh g=gas, ed electric day en = ele night or water m3 | CO2 tonne | £ Cost | Pay back Years |
| --- | --- | --- | --- | --- | --- | --- |
|  | VMS workshop Ambirad heater space temperature from 19°C to 16°C | £2,780 | 142,500 g | 38.7 | £0 | Immediate |
|  | George Wimpey – increase their proportion for the electricity bill to account for heating and cooling | £2,685 | 0 | 0 | £0 | Immediate |
|  | Depot – external lights | £85 | 2,100 e | 0.9 | £0 | Immediate |
|  | Depot Mess room lights – presence control | £520 | 10,400 ed 4,300 en | 6.3 | £650 | 1.3 |
|  | Depot – Portacabin electric heaters – presence temperature control | £375 | 8,000 ed 2,300 en | 4.4 | £820 | 2.2 |
|  | Metering system Eco Warrior | £1,650 | 12,000 ed 7,000 en 18,000 g 500 water | 13.1 | £3,600 | 2.2 |
|  | Depot office heating (adjacent salt shed) – boiler control - ECO, compensation and optimum start / stop | £1,065 | 54,600 g | 14.8 | £2,500 | 2.3 |
|  | VMS mess room lights – presence control | £195 | 3,900 ed 1,610 en | 2.4 | £450 | 2.3 |
|  | Turnpike House – boiler controls ECO off. | £240 | 12,200 g | 3.3 | £600 | 2.5 |
|  | Depot Mess room boiler control ECO and override timer | £275 | 14,100 g | 3.8 | £800 | 2.9 |
|  | VMS welfare, offices and stores boiler controls ECO off. | £155 | 8,000 g | 2.2 | £600 | 3.9 |
|  | Care Call - boiler controls ECO, compensation and optimum start / stop | £550 | 4,000 g | 1.1 | £550 | 6.9 |
|  | Use of waste vehicle oil for the two vehicle pressure washers |

| Summary of Savings | £ Saving |  | CO2 tonne | £ Cost | Pay back Years |
| --- | --- | --- | --- | --- | --- |
| No Cost - immediate payback | £5,550 |  | 39.6 | £0 | 0 |
| Rapid payback investment | £4,475 |  | 50.3 | £10,020 | 2.2 |
| Longer payback investment | £80 |  |  | £550 | 6.9 |
| Measures requiring further study |  |
| Totals | £10,105 |  | 91.0 | £10,570 | 1.0 |

AGECROFT CEMETERY

| 3.1 No Cost Measures | Saving m³ | Saving KWh | Saving £ | CO2 Tonne |  |
| --- | --- | --- | --- | --- | --- |
| 1. | Lighting – switch off unnecessary lighting in unoccupied areas or where daylight is adequate. |  | 1030 | £46 | 0.4 |  |
| 2. | Transfer of Electricity Supply to Scottish Power for Crematorium supply. |  | - | £389 | - |  |
| 3. | Correction and transfer of charges for lodge from Powergen to Scottish Power |  | - | £73 | - |  |
| 4. | Manual flow adjustment of wash hand units within gent’s WC outside lodge | 16 |  | £22 | - |  |

| 3.2 Low Cost Measures | Budget Cost £ | Saving M³ | Saving £ | CO2 Tonne | Payback Period |
| --- | --- | --- | --- | --- | --- |
| 1. | Installation of cistern dams | 41.70 | 26.28 | 37.13 |  | 1.1 years |
| 2. | Installation of in line flow regulators | 72.00 | 40.88 | 57.76 |  | 1.2 years |
| 3. | Installation of push taps | 50.00 | 33.60 | 47.48 |  | 1.1 years |
|  | Total | 163.70 | 100.76 | 142.37 |  | 1.1 years |

| 3.3 Summary - All Measures | Budget Cost £ | Saving m³ | Saving KWh | Saving £ | CO2 Tonne | Payback Period |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 163.70 | 116.76 | 1030 | 672.37 | 0.4 | 0.2 years |

PEEL GREEN CEMETERY

| 3.1 No Cost Measures |  | Saving KWh | Saving £ | CO2 Tonne |  |
| --- | --- | --- | --- | --- | --- |
| 1. | Lighting – switch off unnecessary lighting in unoccupied areas or where daylight is adequate. |  | 3,361 | 170 | 1.4 |  |
| 2. | Add electricity supply at the new mess hall to Scottish Power contract. |  | - | 73 | - |  |
| 3. | Transfer of electricity supplies to Scottish Power |  | - | 2,123 | - |  |
| 4. | Turn off electricity heaters when not required |  | 4,152 | 210 | 1.8 |  |
| 5. | Obtain refunds for the greenhouse supply that has been demolished |  |  | 3,404 |  |  |
|  | Total |  | 7,513 | 5,980 | 3.2 |  |

| 3.2 Low Cost Measures | Budget Cost £ | Saving M3 | Saving £ | Payback Period |
| --- | --- | --- | --- | --- |
| 1. | Installation of Cistern Dams | £39.60 | 19 | 26.45 | 1 years 6 month |
| 2. | Installation of Urinal Control | £237 | 180 | 254 | 11 months |
|  | Total | 276.60 | 199 | 280.45 | 1 year |

| 3.3 Summary - All Measures | Budget Cost £ | Saving KWh | Saving £ | CO2 Tonne | Payback Period |
| --- | --- | --- | --- | --- | --- |
|  |  | 276.6 | 7,513 | 6,260.45 | 3.2 | 1 month |

SWINTON CEMETERY

| No Cost Measures | Potential Refund | Ongoing saving |
| --- | --- | --- |
| Cancellation of surface water charges for the Lodge | £908 | £155 |
| Elimination of metered charges for the Lodge | To be confirmed | £131.50 |

ELLENBROOK PRIMARY SCHOOL

| No Cost Measures | Saving (kWh) | Saving £ |  |
| --- | --- | --- | --- |
| 1. | Transfer Electricity Supply to Scottish Power | - | £1,036.00 |  |

| Low Cost Measures | Saving M3 | Saving £ | Installation Cost | Payback Period |
| --- | --- | --- | --- | --- |
| 1. | Installation of plush taps (retro fit) | 468m3 | £661.28 | £1,200.00 | 21.77 months |
| 2. | Cistern Dams | 52m3 | £72.74 | £152.90 | 25.20 months |
|  | Total | 520m3 | £734.02 | £1,352.90 | 22.11 months |

| Summary – All Measures | Saving M³ | Saving £ | Cost £ | Payback period |
| --- | --- | --- | --- | --- |
|  |  | 520 | £1,770.02 | £1,352.90 | 9.17 months |

ALL SOULS PRIMARY SCHOOL

| No Cost Measures | Saving £ | Payback Period |
| --- | --- | --- |
| 1. | Transfer Electricity Supply to Scottish Power | £770.63 | 0 months |
| 2. | CCL exemption for electricity | £203.97 | 0 months |
| 3. | Reduced VAT from 17.5% to 5% for electricity | £435.70 | 0 months |

| Low Cost Measures | Saving M3 | Saving £ | Installation Cost | Payback Period |
| --- | --- | --- | --- | --- |
| 1. | Urinal Control | 216m3 | £305.21 | £237 | 9.32 months |
| 2. | Push Taps | 146.2m3 | £206.58 | £225 | 13.07 months |
| 3. | Cistern Dams | 101.79m3 | £143.83 | £201.55 | 16.82 months |
|  | Total | 463.99m3 | £655.62 | £663.55 | 12.15 months |

| Summary – All Measures | Saving M³ | Saving £ | Cost £ | Payback period |
| --- | --- | --- | --- | --- |
|  |  | 463.99m³ | £2,065.92 | £663.55 | 3.85 months |

SPRINGWOOD PRIMARY SCHOOL

| RECOMMENDATION | Saving £ |
| --- | --- |
| 1. | Transfer Elec supply from Powergen to Scottish Power | £2,082 |
| 2. | Reduce the Available Capacity | £ 701 |
| 3. | Switch lights off when rooms unoccupied | £ 250 |
|  | Total | £3,033 |

MINERVA HOUSE

|  | Recommendation | £ Saving | KWh g=gas, ed electric day en = ele night or water m3 | CO2 tonne | £ Cost | Pay back Years |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Derby wing – remove regular Saturday morning heating operation | £165 | 9,000 g | 2.4 | 0 | Immediate |
| 2 | Citywide stores – reduce day space temperature from 21°C to 19°C and night from 21°C to 15°C | £120 | 6,600 g | 1.8 | 0 | Immediate |
| 3 | Canned drink vending machines – time control | £95 | 1,400 ed 1,400 en | 1.2 | 80 | 0.8 |
| 4 | Century wing – boiler and DHW control improvements | £1,075 | 58,000 g | 15.7 | £2,600 | 2.4 |
| 5 | Citywide stores internal lighting – SON to metal halide | £170 | 6,500 ed | 2.8 | £600 | 3.5 |
| 6 | Citywide stores external lighting – photocell control | £60 | 1,460 ed | 0.6 | £350 | 5.8 |
| 7 | Derby wing – replacement boiler and controls | £1,480 | 80,000 g | 21.7 | £46,000 | 31.1 |

|  | Summary of Savings | £ Saving |  | CO2 tonne | £ Cost | Pay back Years |
| --- | --- | --- | --- | --- | --- | --- |
| No Cost - immediate payback | £285 |  | 4.2 | 0 | 0 |
| Rapid payback investment | £1,400 |  | 20.3 | £3,630 | 2.6 |
| Longer payback investment | £1,480 |  | 21.7 | £46,000 | 31.1 |
| Totals | £3,165 |  | 46.2 | £49,360 | 15.7 |

MOORSIDE HIGH SCHOOL

| No Cost Measures | Saving kWh | Saving £ |
| --- | --- | --- |
|  | Transfer Electricity Supply to Scottish Power | - | £909 |

| Low Cost Measures | Saving M3 | Saving £ | Installation Cost | Payback Period |
| --- | --- | --- | --- | --- |
|  | Installation of plush taps (retro fit) | 452.40m3 | £639.24 | £1,232.50 | 23.14 months |
|  | Cistern Dams | 93.60m3 | £132.40 | £236.40 | 21.43 months |
|  | Total | 546m3 | £771.64 | £1,468.90 | 22.84 months |

JAMES BRINDLEY PRIMARY SCHOOL

| No Cost Measures | Refund £ | Ongoing Saving £ |
| --- | --- | --- |
|  | Amendment of surface water RV | £1,032.28 | £355.94 |
|  | Transfer Electricity Supply to Scottish Power | - | £1,262.62 |

| Low Cost Measures | Saving M3 | Saving £ | Installation Cost | Payback Period |
| --- | --- | --- | --- | --- |
|  | Installation of Inline Flow Regulators | 33.15m³ | £46.85 | £30.00 | 7.69 months |
|  | Installation of plush tap (retro fit) | 9.75m3 | £13.78 | £21.25 | 18.51 months |
|  | Cistern Dams | 4.68m3 | £6.62 | £11.82 | 21.42 months |
|  | Total | 47.58m3 | £67.25 | £63.07 | 11.25 months |

| Summary – All Measures | Saving M³ | Saving £ | Cost £ | Payback period |
| --- | --- | --- | --- | --- |
|  |  | 47.58 | £1,685.81 | £63.07 | 0.45 months |

BEECH STREET PRIMARY SCHOOL

| RECOMMENDATION | Saving M3 | Saving £ | Installation Cost | Payback Period |
| --- | --- | --- | --- | --- |
|  | Installation of plush taps (retro fit) | 226 m3 | £319.62 | £1,232.50 | 46 months |
|  | Installation of Cistern Dams | 56 m3 | £ 79.35 | £ 158.40 | 24 months |
|  | Installation of Urinal Controls | 387 m3 | £547.54 | £ 450.30 | 10 months |
|  | Transfer Electricity Supply to Scottish & Southern Energy |  | £890 |  |  |
|  | Switch lights off when rooms unoccupied | 16,164 kWh 6.95 t/C02 | £684 |  |  |
|  | Change heating and domestic hot water times | 26,906 kWh 5.11 t/C02 | £300 |  |  |
|  | Total |  | £2,720.51 | £1,841.20 | 8 months |

ST EDMUNDS RC PRIMARY SCHOOL

| No Cost Measures | Refund £ | Ongoing Saving £ |
| --- | --- | --- |
|  | Transfer Electricity Supply to Scottish and Southern | - | £525.86 |
|  | CCL Exemption | - | £95.46 |
|  | Reduced VAT at 5% | - | £188.56 |
| Low Cost Measures | Saving M3 | Saving £ | Installation Cost | Payback Period |
|  | Installation of PIR Urinal controls | 648m³ | £915.62 | £418.50 | 5.48 months |
|  | Installation of plush tap (retro fit) | 421.2m3 | £595.16 | £1,147.50 | 23.14 months |
|  | Cistern Dams | 56.16m3 | £79.35 | £141.84 | 21.45 months |
|  | Total | 1,125.36m3 | £1,590.13 | £1,707.84 | 12.89 months |

| Summary – All Measures | Saving M³ | Saving £ | Cost £ | Payback period |
| --- | --- | --- | --- | --- |
|  |  | 1,125.36 | £2,115.99 | £1,707.84 | 9.69 months |

ALBERT PARK VETERANS PAVILION

| ALBERT PARK VETERANS PAVILION RECOMMENDATIONS | Saving | Saving £ | Installation Cost | C02 (tonne) |
| --- | --- | --- | --- | --- |
| 1. | Transfer of electricity supply |  | 558.00 | - |  |
| 2. | Amalgamate electricity meters |  | 69.35 | - |  |
| 3. | Change Oil heating times | 943 (litres) | 186.48 | - | 2.53 |
|  |  | 943 | 813.83 |  | 2.53 |

BODDAN LODGE VETERANS PAVILION

| BODDAN LODGE VETERANS PAVILION RECOMMENDATIONS | Saving | Saving £ | Installation Cost £ | C02 (tonne) |
| --- | --- | --- | --- | --- |
| 1. | Transfer of electricity supply |  | 257.00 | - |  |
| 2. | Adjust times on External Lighting | 1,384 kWh | 72.00 | - | 0.6 |
| 3. | New Time Clock on Heating | 11,784 kWh | 183.00 | 200.00 | 2.2 |
| 4. | Adjust Heating Times | 2,576 kWh | 40.00 |  | .49 |
| 5. | Non Return to Sewer Allowance | 37 m3 | 55.00 |  |  |
| 6. | Installation of push taps | 94 m3 | 132.26 | 127.50 |  |
|  |  | 15,744 kWh 131 m3 | 739.26 | 327.50 | 3.29 |

BOOTHSBANK PARK VETERANS PAVILION

| BOOTHSBANK VETERANS PAVILION RECOMMENDATIONS | Saving | Saving £ | Installation Cost | C02 (tonne) |
| --- | --- | --- | --- | --- |
| 1. | Transfer of electricity supply |  | 52.00 | - |  |
| 2. | Non Return to Sewer Allowance | 33m3 | 51.00 | - |  |
|  |  | 33m3 | 103.00 | - |  |

BOLTON ROAD VETERANS PAVILION

| BOLTON ROAD VETERANS PAVILION RECOMMENDATIONS | Saving | Saving £ | Installation Cost | C02 (tonne) |
| --- | --- | --- | --- | --- |
| 1. | Transfer of electricity supply |  | 476.00 | - | - |
| 3. | Refund for overcharge on electricity meters |  | 4,794.00 |  | - |
| 2. | Installation of Push Taps | 19m3 | 26.56 | 85.00 | - |
|  |  | 19m3 | 5,296.56 | 85.00 | - |

CADISHEAD VETERANS PAVILION

| CADISHEAD VETERANS PAVILION RECOMMENDATIONS | Saving | Saving £ | Installation Cost £ | C02 (tonne) |
| --- | --- | --- | --- | --- |
| 1. | Transfer of electricity supply |  | 263.00 | - | - |
| 2. | Refund for overcharge on electricity meters |  | 1,715.00 |  | - |
| 3. | Installation of a Urinal Control | 141m3 | 199.30 | 237.00 | - |
| 4. | Non Return to Sewer Allowance | 20m3 | 34.00 |  |  |
|  |  | 19m3 | 2,211.30 | 237.00 | - |

St GEORGES RC HIGH SCHOOL

| No cost measures |
| --- |
| Recommendation | utility saved | units saved | cost saving | co2 tonnes |
| 1 | Switch off lights in unused classrooms wherever possible. Commit to “A Whole School Approach”. | electricity | 8500 | £500 | 3.7 |
| 2 | Change heating times | oil | 40000 | £680 | 10.0 |
|  | Total |  | 48500 | £1180 | 13.6 |

| Low Cost measures |
| --- |
|  | Recommendations | utility saved | Units saved | cost saving | estimated cost | payback period | co2 tonnes |
| 1 | Shut Down one boiler during summer months | Oil | 17000 | £300 | £100 | 4 months | 4.3 |
| 2 | Maintain motorised valves so that the two heating circuits can operate individually. | Oil | 50000 | £850 | £200 | 3 months | 12.5 |
| 3 | Fit insulating boards to wall of Technology project area | Oil | 1290 | £25 | £250 | 10 years | 0.3 |
| 4 | Replace 11 remaining turn- taps with push taps. Install 35 WC Dams | Water | 284 m³ | £402 | £440 | 13 months | 0.0 |
| 5 | insulate all pipework in unheated spaces, and repair insulation in boilerhouse |  | 14000 | £250 | £1000 | 4 years | 3.5 |
| 6 | Draughtproof external doors and windows. Install auto door closures | Oil | 29412 | £500 | £2000 | 4 years | 7.4 |
|  | Total |  | 111,702 | £ 2,327 | £ 3,990 | 1.71 |  |

| High Cost measures |
| --- |
| Recommendations | utility saved | units saved | cost saving | estimated cost | payback period | co2 tonnes |
| 1 | Consider converting boilers from oil to gas. | Price | 70000 | £5000 | £100,000 | 20 years | 4.2 |
| 2 | Consider installation of instantaneous hot water generators | Oil | 500 | £500 | £3500 | 7 years | 0.5 |
|  | Total |  | 70500 | £ 5,500 | £103,500 | 19 years | 4.7 |

WENTWORTH HIGH SCHOOL

| No cost measures |  |  |  |  |
| --- | --- | --- | --- | --- |
| Recommendation | utility saved | units saved | cost saving | CO2 tonnes |
| 1 | Switch off lights in unused classrooms wherever possible. Commit to "A Whole School Approach". | electricity | 13032 | £577 | 5.6 |
| 2 | Reduce setpoint for sports hall zone to 16 degrees, except when required for exams. | gas | 70000 | £840 | 14.7 |
| 3 | Set kitchen HWS to operate10- 14:00 Mon-Fri. | gas | 13000 | £156 | 2.7 |
|  | Total |  | 96032 | £ 1,573 | 23.03 |

| Low Cost measures |
| --- |
|  | Recommendations | utility saved | units saved | cost saving | estimated cost | payback period | CO2 tonnes |
| 1 | Create new heating zone for assembly hall. | gas | 60000 | £720 | £2000 | 3 years | 12.6 |
| 2 | Provide school HWS from canteen HWS generator. | gas | 25000 | £300 | £1500 | 5 years | 5.3 |
| 3 | Draught proof windows and exit doors throughout school. | gas | 97029 | £1164 | £4020 | 3 years | 20.4 |
| 4 | Replace halogen spot lights in corridors. | electricity | 5300 | £233 | £1200 | 5 years | 2.3 |
| 5 | Fit electronic urinal controls to 5 cisterns. | water | 3500 | £5733 | £1125 | 2 months | 0.0 |
| 6 | Fit time control to electric heaters in temporary classrooms | electricity | 7900 | £348 | £600 | 21 months | 3.4 |
| 7 | Replace MBF lamps in sports hall with fluorescent, and introduce switching off practice | electricity | 8000 | £330 | £1200 | 4 years | 3.4 |
| 8 | Insulate HWS Secondary pipework in kitchen | gas | 20000 | £240 | £250 | 13 months | 4.2 |
| 9 | Install optimiser in Art block. | gas | 19267 | £230 | £1000 | 4 years | 4.0 |
|  | Total |  | 245,996 | £ 9,299 | £ 12,896 | 17 months | 55.6 |

| Summary of savings | units saved | cost saving | estimated cost | payback period | CO2 tonnes |
| --- | --- | --- | --- | --- | --- |
| No Cost measures | 96031.75 | £ 1,573 | £ - | immediate | 23.0 |
| Low Cost measures | 245,996 | £ 9,299 | £ 12,896 | 17 months | 56 |
| High Cost measures | 0 | £ - | £ - |  | 0 |
| Total | 342027.95 | £ 10,872 | £ 12,896 | 14 months | 78.6 |