|  | ITEM NO. |
| --- | --- |

REPORT OF THE MANAGING DIRECTOR

URBAN VISION PARTNERSHIP LIMITED

TO THE LEAD MEMBER FOR PLANNING

ON 4 JULY 2005

TITLE :  Re-Covering of Flat Roof Areas at St Georges C.E. Primary School, Concord Place, Langley Road South, Salford, M6 6SJ.

RECOMMENDATIONS :

That the lowest tender is accepted.

EXECUTIVE SUMMARY :

Tenders have been received for the carrying out of the above works and it is proposed that the lowest tender be accepted.

BACKGROUND DOCUMENTS :

None

ASSESSMENT OF RISK:

Low

SOURCE OF FUNDING:

New Deal for Schools Condition and Modernisation Fund

(£78,377.61)

COMMENTS OF THE STRATEGIC DIRECTOR OF CUSTOMER AND SUPPORT SERVICES (or his representative):

- LEGAL IMPLICATIONS				Provided by :  	Not applicable

- FINANCIAL IMPLICATIONS			Provided by :	Not applicable

PROPERTY (if applicable): 				Not applicable

HUMAN RESOURCES (if applicable):			Not applicable

_____________________________________________________________________________________________________

CLIENT CONSULTED:	Not applicable

CONTACT OFFICER :  Mr C. Gorton                                                        Tel Ext 2497

(Urban Vision’s Architectural and Landscape Design Service)

WARD(S) TO WHICH REPORT RELATE(S):

Irwell Riverside

KEY COUNCIL POLICIES:

Procurement Strategy

DETAILS

- BACKGROUND

1.1	 Under New Deal for Schools Condition and Modernisation Fund, money has been awarded to replace the defective felt roof covering.

1.2	The felt roof to the main building was identified within the Asset Management Condition Survey as being in a poor condition and requiring re-roofing.

1.3	A specification has been prepared to overlay the existing roof covering with an elastomeric felt system. Associated works include the renewal of all rooflights and rainwater outlets.

- PROPOSALS

2.1	Tenders were sought from the following companies (in alphabetical order):

D. Shawcross

Flatroofing Systems

Fulwood Roofing Services

K. Pendlebury and Sons

N. Shawcross Ltd

R and D Roofing

  - The following tenders have been received (in numerical order):

£78,377.61

£83,169.00

£84,860.00

£86,100.00

£87,500.00

£96,809.41

- FINANCIAL IMPLICATIONS

3.1	The cost of the scheme based on the lowest tender will be £78,377.61 which will be fully funded from the New Deal for Schools Condition and Modernisation Fund.

- CONCLUSIONS

4.1	Acceptance of the lowest tender will enable works to improve the condition of this school in accordance with the Asset Management Plan.

# BILL TAYLOR

Managing Director

# Urban Vision Partnership Limited