# CASKET  WORKS

| SUGGESTED WORKS FOR CONSIDERATION Note: Rough cost estimates only – where given. Further investigations required on works required and on costs | ESTIMATE OF COSTS |
| --- | --- |
| FLAT ROOF – RE-SURFACE ? Flat roof was done around 10-15 years ago and is starting to leak again Temporary repairs have been carried out | £30,000 |
| NEW WINDOWS Many windows are in poor condition, although some have been boarded up and may not be reqd ; Problems with access – scaffolding costs | £30,000 |
| RE-WIRING Some re-wiring has taken place, but some more comprehensive work may be req’d | £10,000 |
| INTERCOMM SYSTEM - SECURITY We need some system so that tenants on first & second floor can communicate and give access to visitors | £5,000 |
| DECORATIONS - EXTERIOR Painting doorways – windows – pointing ? Some previously painted brickwork / render Some loose wires to refix | £10,000 |
| DECORATIONS – INTERIOR Some of the paintwork in the stair wells and toilets is peeling off, / plaster is coming off walls – probably as a result of water penetration from walls / roof | £5,000 |
| DAMP PENETRATION There are indications of damp penetration through some walls – plaster and paint affected inside the premises | £5,000 |
| SIGNAGE Better signs required at Oldfield Road elevation and by doors | £3,000 |
| CORROSION TO STEELWORK / REBUILD BRICKWORK Cracks at “front” corner indicate continuing problems with corroding steelwork which is causing expansion and moving brickwork. – remedial work is required | £10,000 |
| CEILING – COMMUNITY TRANSPORT Concrete falling off the ceiling as a result of corroding steelwork in the ceiling | £0 |
| DISABLED ACCESS ? Improve disabled access | £0 |
| PARAPET COPING LEANING CHIMNEY Some loose coping stones | £0 |
| SPALLED BRICKWORK [nr oil tank] | £0 |
| REMOVE OIL TANK ? | £0 |
| HIDDEN GUTTER / HEADER / LEAKING DOWNSPOUT [n-w elevation] Evidence of damp walls at the north west corner of the building – a downspout from the hidden gutter obviously leaks | £ 4,000 |
| HEATING ? Currently no heating system for the building – Tenants make own arrangements | £0 |
| NEW LIFT ? There is a second lift shaft – currently unused | £0 |
| REFURBISH SHARED TOILETS There are shared toilets on ground and first floor which require improvement | £3,000 |
| LANDSCAPING Strip adj Oldfield Rd currently grassed, but area would benefit from a proper scheme | £4,000 |
| RESURFACING – PARKING AREA / COMMUNITY TRANSPORT YARD Front car park keeps sinking –recurring problem because of the ground conditions Access into Community Transport yard / front car park is uneven and needs attention The yard for Community Transport has a concrete surface which needs attention | £10,000 |
| ASBESTOS SURVEY Possibly requiring subsequent works | £5,000 |
|  | £134,000.00 |