APPLICATION No:	03/47413/FUL

APPLICANT:	Chestergate Land Ltd

LOCATION:	Land Bounded By Harding Street, Blackfriars Road And Chapel Street Salford 3

PROPOSAL:	Erection of a 7 storey building incorporating basement car park, classes A1/A2/A3 and B1 at ground floor, class B1 at first floor and 45 apartments over together with creation of new vehicular access (re-submission of 03/46498/FUL)

WARD:	BlackfriarsBlackfriars:03/47413/FUL:Land Bounded By Harding Street, Blackfriars Road And Chapel Street Salford 3

DESCRIPTION OF SITE AND PROPOSAL

This application relates to land bounded by Harding Street, Blackfriars Road and Chapel Street, Salford 3. The site is currently used for the display and sale of cars. It is proposed to erect a building comprising 45 apartments with a total of 1520m² of class A1/A2/A3 and B1 floor space at ground floor and first floor levels plus 21 car parking spaces at basement level.  The proposed building would be seven storeys in height with a small tower element fronting Salford Approach adding an additional storey.  It would be constructed predominantly in brick that would match the adjacent ‘Flat Iron’ building and would have natural stone at ground floor level.   There would be glazed corner features and the top storey would feature glazing predominantly.

The application site is located in a mixed commercial and residential area. To the north are the railway arches and to the south is Salford Approach. The site is bounded by Harding Street to the east and Blackfriars Road to the west.

The site is located within the historic part of Salford, in close proximity to two conservation areas and a number of listed buildings. On the opposite side of Blackfriars Road is the Grade II* Listed Sacred Trinity Church, which is located within the Flat Iron Conservation Area. 62 Chapel Street and 10 & 12 and 14 & 16 Blackfriars Street are Grade II Listed Buildings. The Cathedral Conservation Area, located to the east of the application site, is centred around Manchester Cathedral and also contains a number of listed buildings.

SITE HISTORY

A planning application for an eight storey development with a nine storey tower that comprised a total of 67 apartments was withdrawn in September 2003 as a result of my concerns regarding the design of the building (03/46498/FUL).

CONSULTATIONS

Environment Agency – no objections

Greater Manchester Police Architectural Liaison Officer – makes a number of detailed points regarding security for residents and considers that the access to the car park from Harding Street is considered inappropriate due to the width of the road which could result in conflicts between future residents and other car park users.

Greater Manchester Passenger Transport Executive – no objections

Director of Environmental Services – no comments received

PUBLICITY

The application has been advertised by means of both site and press notices.

The following neighbour addresses have been notified of both the submitted and the amended plans:

48-62 (E), 65-89 (O) Chapel Street

Salford Trinity Church, Chapel Street

10,12-16 Blackfriars Street

REPRESENTATIONS

I have received one objection in response to the planning application publicity.  The following issues have been raised:

The site should be considered along with the whole of the Greengate area for which a masterplan is currently being developed.

The design is not outstanding.

UNITARY DEVELOPMENT PLAN POLICY

Site specific policies: CS4 - Exchange

Other policies: DEV1 – Development Criteria

DEV2 – Good Design

T13 – Car Parking

EN11 – Protection and Enhancement of Conservation Areas

EN12 – Protection and Enhancement of Listed Buildings

REVISED DEPOSIT DRAFT REPLACEMENT PLAN POLICY

Site specific policies:  MX1/1 – Development in Mixed Use Areas – Chapel Street East

MX2 – Chapel Street Frontage

Other policies: S2 – Retail and Leisure Development Within Town and Neighbourhood Centres

DES1 – Respecting Context

DES5 – Tall Buildings

CH4 – Development Affecting the Setting of a Listed Building

PLANNING APPRAISAL

Policy CS4 states that the Exchange area of the City will be promoted for tourism, leisure and offices, and other, related ancillary uses. The reasoned justification emphasises the need for redevelopment schemes within this area to be of an exceptional quality and to relate well in design terms to the Cathedral and Flat Iron Conservation Areas.

Policy DEV1 sets out a number of criteria to which regard should be had in the determination of planning applications. Of most relevance to this application are the location and nature of the proposed development, including its relationship to existing and proposed land uses, the size and density of the proposed development and the visual appearance of the development and its relationship to its surroundings.

Policy DEV2 states that planning permission will not normally be granted unless the Council is satisfied with the quality of design and appearance of the development. Developments are required to pay due regard to existing buildings and townscape and to the character of the surrounding area.

Policy T13 states that adequate car parking should be provided to meet the needs of new development.

Policy EN11 states that the Council will seek to preserve or enhance the special character of conservation areas.

Policy EN12 states that development which would detract from the architectural and historic character of a Listed Building or would be detrimental to its setting or the environmental quality of the surrounding area will not normally be permitted.

Policy MX1/1 of the First Deposit Draft Replacement UDP identifies Chapel Street East as an area to be developed for a mixture of uses, including housing, offices and retail, where consistent with Policy S2 of the UDP.

Policy MX2 requires development along Chapel Street to incorporate active ground floor uses and be consistent with other UDP policies.

Policy S2 sets out the locations where retail and leisure development will normally be considered acceptable. The Chapel Street mixed-use area is cited as a location where retail may be considered appropriate where there are no locations within or on the edge of town centres and where a need for the development can be demonstrated. Retail development in the Chapel Street area would form an ancillary part of a larger mixed use development.

Policy DES1 requires developments to respond to their physical context. In assessing the extent to which developments comply with this policy, regard will be had to a number of factors, including the relationship to existing buildings and the scale of the proposed development in relation to its surroundings.

Policy DES5 sets out the circumstances where tall buildings will be permitted. These include where the scale of the proposal is appropriate to its context, where it would make a positive addition to the skyline and where there would be no unacceptable impact on the setting of a listed building or the character or appearance of a conservation area.

Policy CH4 states that planning permission will not be granted for development that would cause unacceptable harm to the setting of a listed building.

I consider that the principle of residential development, incorporating ancillary A1/A2/A3 uses on the ground floor and B1 use on the first floor, is acceptable and appropriate in this location.  With regard to the objection regarding quality of the development the applicant’s architects have worked closely with officers to improve the quality of the design of this building.  The City Council’s architectural advisor, Peter Hunter, has also been involved in improvements to the scheme.  He considers that the scheme before you represents a huge improvement on the previous drawings that in turn were a huge improvement on the scheme that was originally withdrawn.

With regard to the issue that this site should be considered in the context of the wider Greengate area I am satisfied that as the site is surrounded by either roads or the railway the wider area will have limited impact on the development of this site.  I agree that the quality of the design of the building is of utmost importance on this prominent site but am satisfied that the improvements that have been made do not prejudice the quality of the development of the wider Greengate area.

Given the site’s particularly sensitive location and the above policy requirements, a redevelopment scheme would have to be of a high quality and relate well in design terms to the surrounding area.  I am of the opinion that this proposal would now be in context with the area and that it would respect and enhance the historic and architectural character of its surroundings. The proposal has been reduced in height and the elevations have been significantly improved and I do not now consider that it would dominate its surroundings.  The use of appropriate materials is of the utmost importance and therefore the use of bricks to match the adjacent listed building and natural stone are considered essential and an important improvement to the scheme.  I consider now that there would be no detrimental impact on the settings of Listed Buildings.

The applicant has confirmed that he will enter into a legal agreement requiring the payment of £45,000 for local environmental improvements.

In conclusion, I consider the application is in accordance with policies CS4, DEV1, DEV2 and EN12 of the Adopted UDP and policies DES1, DES5 and CH4 of the First Deposit Draft Replacement UDP. I therefore recommend that the application be approved subject to the following conditions.

RECOMMENDATION

i.	that the Director of Corporate Services be authorised to enter into a legal agreement under Section 106 of the Town and Country Planning Act 1990 to secure the payment of a commuted sum for, and implementation of, environmental improvements in the local area to the value of £45,000;

ii.	that the applicant be informed that the City Council is minded to grant planning permission, subject to the conditions stated below, on completion of such legal agreement;

iii.	that authority be given for the decision notice relating to the application be issued, (subject to the conditions and reasons stated below) on completion of the above-mentioned legal agreement,

iv.	that authority be given to refuse the application if the applicant fails to complete the S106 agreement within a reasonable period on the grounds that the proposals do not support the aim and objectives of the Chapel Street Regeneration Project.

Conditions

1.	Standard Condition A01 Five year time limit

2.	No development shall be started until samples of the facing materials to be used for the elevations and roof of the development have been submitted to and approved in writing by the Director of Development Services.

3.	Prior to the commencement of the development, the developer shall undertake an assessment to determine the external noise level from the railway and surrounding roads that the proposed residents will be subjected to (day and night).  The developer shall detail what steps are to be taken to mitigate the disturbances from the above.  The assessment shall have due regard to the Department of the Environment Guidance PPG 24 - Planning and Noise.  The building envelope shall be capable of attenuating the external noise to BS 8233 (Sound insulation and noise reduction for buildings - Code of practice) and World Health Organisation recommendations for a reasonable standard for living rooms / sleeping accommodation.  The assessment and mitigation measures shall be submitted for the approval of Development Services prior to the commencement of development.  Any approved mitigation measures are to be implemented prior to occupation.

Prior to discharge of this condition, a Completion Report shall be submitted to the Director of Development Services for approval.  The Completion Report shall validate that all works undertaken on site are completed in accordance with those agreed by the Director of Development Services.

4.	Prior to the commencement of the development, the developer shall submit a site investigation report for the approval of the Director of Development Services.  The investigation shall address the nature, degree and distribution of ground contamination on site and shall include an identification and assessment of the risk to receptors as defined under the Environmental Protection Act 1990, Part IIA, focusing primarily on risks to human health and controlled waters.  The investigation shall also address the implications of ground conditions on the health and safety of site workers, on nearby occupied building structures, on services and landscaping schemes and on wider environmental receptors including ecological systems and property.

The sampling and analytical strategy shall be approved by the Director of Development Services prior to the start of the site investigation survey.  Recommendations and remedial works contained within the approved report shall be implemented by the developer prior to occupation of the site.

Prior to discharge of the Contaminated Land Condition, a Site Completion Report shall be submitted to the Director of Development Services for approval.  The Site Completion Report shall validate that all works undertaken on site were completed in accordance with those agreed by the Director of Development Services.

(Reasons)

1.	Standard Reason R000 Section 91

2.	Standard Reason R008A Development-Buildings in vicinity

3.	Standard Reason R024A Amenity of future residents

4.	Standard Reason R024A Amenity of future residents

Note(s) for Applicant

1.	This development is subject to the planning obligation entered into by the applicant under Section 106 of the Town and Country Planning Act 1990, prior to the granting of planning permission.

2.	The decision to grant planning permission has been taken having regard to the policies and proposals in the City of Salford Unitary Development Plan set out below and to all relevant material considerations, including Supplementary Planning Guidance.  There are no other material planning considerations that outweigh this finding:

CS4 - Exchange

DEV1 - Development Criteria

DEV2 - Good Design

T13 - Car Parking

EN11 - Protection and Enhancement of Conservation Areas

EN12 - Protection and Enhancement of Listed Buildings

APPLICATION No:	03/47426/FUL

APPLICANT:	Excelcare Ltd

LOCATION:	Site Of 1/22 Cloverfield, 1/26 Fitchfield Walk To The North Of Smith Street And East Of Bolton Road Walkden Worsley

PROPOSAL:	Erection of a three storey building to provide a new primary health and social care facility to include a pharmacy, job centre and libarary facilities tog. with assoc.carparking, alt, to pedestrian access and const.of new vehicular access

WARD:	Walkden NorthWalkden North:03/47426/FUL:Site Of 1/22 Cloverfield, 1/26 Fitchfield Walk To The North Of Smith Street And East Of Bolton Road Walkden Worsley

BACKGROUND

In July 2000 the government published the NHS plan, a ten year plan for the modernising and reforming the NHS.  It identified the urgent need to improve primary care premises in England as a key constraint to the development of the services.  The plan states that the priority for investment will be those parts of the country where primary care facilities are most in need of improvement.

The government has provided the NHS a vehicle for improving and developing primary and community care facilities – NHS Local Improvement Finance Trust (LIFT).  The local LIFT will be a joint venture between the Department of Health, the local healthcare community and the private sector; to develop and encourage a significant increase in investment in primary care and community based facilities.

There are 6 primary care trusts (PCT) in the area including Salford, which is co-terminus with the City Council.  Each of the PCT areas have growing communities which will need more and better health and social care facilities for the foreseeable future.

The initial focus of the NHS LIFT will be on investment in those parts of the country, such as inner cities, where primary care services are in most need of expansion.  The Manchester, Salford and Trafford area has been identified as the first wave LIFT and this application has been submitted in this respect.

All the planned LIFT buildings in Salford are designed to provide an integrated range of public services in a welcoming and non-clinical environment, unlike traditional health centres.  In addition to accommodation for the Primary Care Trust, they will accommodate services provided by the City Council, such as libraries and one-stop shops and by other agencies such as Job Centre Plus.  The new buildings will also help deliver the “SHIFT” project, reducing the number of visits to Hope Hospital by re-allocating some specialist services to local centres.

Outline planning permission for the development of this site was granted in March 2003, establishing the principle of its use for primary health and social care facilities.

DESCRIPTION OF SITE AND PROPOSAL

This application relates to a site which was formerly the residential flats of Cloverfield Walk and Fitchfield Walk but has recently been demolished.  The site includes a number of hard-surfaced areas used for car parking.  These appear to have been originally built for the benefit of residents of the former flats but have been used, for many years, by staff and visitors to the town centre as a whole; no part of the site has ever been formally designated or managed as public car parking but the use, has in practice, been accepted.

Walkden Congregational Church bounds the site to the south, the residential dwellings of Emlyn Street and Malvern Grove lie to the east and Ninian Gardens to the north whilst the Ellesmere Shopping Centre is on the opposite side of Bolton Road to the west. Bolton Road is a divided dualled road at this point.

The proposed building would contain core health services (GP practices, clinics etc), library, one-stop shop, flexible community space, specialist therapeutic and rehabilitation services, offices for job centre plus, a pharmacy and a cafe.

The proposed building would be three storeys high, fronting Bolton Road.  The footprint of the building would be 42.4 metres by 43.2 metres and the three storey elements of the building would be 12.4 metres in height. A plant room would be located on the central part of the roof, which would add a further 2 metres to the height of the building.  External elevations would be predominantly brick, broken up with areas of render, glazing and zinc-clad features.

It is stated that 80 –100 staff will work at the building, including staff relocated from the library, job centre and one GP premises in Walkden and staff relocated from Hope Hospital.  Opening hours are described as 8:00 am to 8:00 pm, seven days a week.

On-site car parking and drop-off facilities, for 69 cars would be provided to the rear of the building, adjacent to Malvern Grove. The site would be enclosed by a 2.4 metre high fence.

Vehicular access would be via a new traffic light-controlled access off Bolton Road.  The existing pedestrian crossing would be relocated to be combined with this junction.  The bus stops on Bolton Road will also be relocated to the north and south of the access.

A vehicular egress from the site will be created at the junction of Smith Street and Emlyn Grove.  This will allow very large vehicles that occasionally visit the building to exit in forward gear.

Smith Street itself will be pedestrianised, allowing occasional controlled access to the congregational church.  The main entrance to the building would be at the junction of Bolton Road and Smith Street, allowing pedestrian access both from the shopping centre and from the residential area to the east.

Entrances to some of the existing car parks are off Malvern Grove.  These entrances are to be closed and a new service strip is to be created along the eastern side of the highway, with facilities to allow large vehicles to turn within the Grove.  A new pavement will be constructed on the site frontage to Emlyn Street.

A traffic assessment, arboricultural study and site investigation have been submitted in support of the application.

The development requires the formal closure of the public rights of way across the car parks and paths. A 900mm culvert that runs across the site from north to south would be diverted around the eastern side of the proposed building.

SITE HISTORY

03/45520/OUT - Outline application with all matters reserved for use of land for new primary health and social care facility and ancillary accommodation. Approved 4th March 2003.

CONSULTATIONS

Director of Environmental Services – Contaminated land condition should be attached to any approval.

Greater Manchester Police Architectural Liaison Unit –  No objections.

The Coal Authority –  Report on coal mining circumstances provided.

Peak and Northern Footpaths Society – No comments received

Greater Manchester Pedestrians – No comments received

Ramblers Association – No objections.

Open Spaces Society – No comments received

GMPTE – Clarification required on position of bus stop. Manchester Road and Bolton Road are both designated as Quality Bus Corridors and will therefore benefit from enhanced bus infrastructure and services. Future staff and visitors will therefore have access to a choice of travel mode other than the private car, which should help in reducing the amount of car travel otherwise generated and assist I terms of social inclusion.

PUBLICITY

A site notice was displayed on 5th January 2004.

A press notice was published on 8th January 2004.

The following neighbour addresses were notified:

1, 2, 3 Grove Mews

1 – 11 (o), 2 – 16 (e) Malvern Grove

30 – 34 (e) Alfred street

1 – 52 Ninian Gardens

1 – 61 (o) Bolton road

Walkden Congregational Church, Bolton road

1 – 17 (o), 2 – 6 (e) Emlyn Street

Cuemasters- Harriet Street

REPRESENTATIONS

I have received a nine name petition from local businesses and I have received 8 representations/letters of objection in response to the application publicity.  The main issues identified are as follows:

·	Increased volume of traffic

·	Insufficient car parking available for development

·	Will result in parking on neighbouring streets eg Malvern Grove

·	Loss of existing car parking area will dramatically effect small business on Bolton Road

·	Is a lack of alternative short term parking

·	Existing parking should be retained and formally landscaped

·	Design not in keeping with surrounding area

·	Not a suitable location for such a development

·	Detrimental effect on house prices

·	Extended opening hours will result in noise and disturbance

·	Building is too large for site

·	Traffic survey does not represent the true traffic and parking situation

·	Alternative car parking should be provided

·	Job centre and library do not belong in a medical centre, such facilities should be provided elsewhere within the district

·	Noise an disturbance during construction

·	Has possibility of controlled parking scheme on Emlyn Street been considered?

UNITARY DEVELOPMENT PLAN POLICY

Site specific policies:	none.

Other policies:	T13 – Car Parking

SC9 – Health Care Facilities

DEV1 – Development Criteria

DEV2 – Good Design

SECOND DEPOSIT DRAFT REPLACEMENT PLAN POLICY

Site specific policies: EHC6 – Sites for the Provision of Health Facilities

Other policies: A10 – provision of Car, Cycle and Motorcycle Parking in New Developments	: EH1 – Provision and Improvement to Health and Community Facilities

DES1 – respecting Context

PLANNING APPRAISAL

The principle of the use of this site has been established by the grant of outline planning permission, and by policy EHC6 of the draft replacement UDP, which allocated the site for such uses.  The proposal would provide new primary health and social care facilities and is therefore in broad accordance with policies SC1, SC2 and SC9 which are all seeking to improve, maintain and support provision of social and community facilities within the city. PPG13 also states that new intermediate health facilities should, where possible, be located in town, district or local centres where they will be highly accessible by non car modes of transport and where the facilities can reinforce the range of services provided by these centres.

I consider that the proposed building is of attractive design that will enhance the character of the town centre.  The development adequately protects the amenity of neighbouring residents, who would also benefit from the removal of traffic accessing the existing informal car park.

The proposed building and provision of car parking would result in the loss of most of the 21 trees. However, these are generally poor specimens, suffering from a variety of problems resulting in a relatively short life expectancy.  Some 16 new trees are to be planted within the car park.  A group of trees at the northern end of the site is to be retained; these are not particularly good specimens and they may be damaged during construction.  I am recommending imposition of a condition to ensure that any of these trees that are damaged be replaced.

The submitted traffic assessment estimates that the development would generate a demand for an additional 63 parking spaces, allowing significant discounting for use of means of transport other than the car.  I consider this estimate and the size of the proposed on-site car park to be reasonable, taking into account the site’s town centre location, accessibility by non car modes of transport and availability of other car parks around the town centre.

Many of the objections relate to the loss of the informal car parking on the site by existing town centre users. The applicants have submitted surveys taken of cars parking on the site and the number of spaces available in other town centre car parks.  Their studies show that, at the busiest period, a total of 62 cars were occupying the site.  They calculate that 1091 spaces are available at the Ellesmere Shopping Centre, fitness centre and bingo hall.  A survey in December showed that, even in the busy pre-Christmas period, there were over 200 free spaces available.

The submitted surveys appear robust and I am satisfied that there is adequate alternative provision in the area to cater for displaced parking.  It is true that the alternative car parks are less convenient, particular for staff and customers of the shops fronting Bolton Road, but I do not consider that this warrants refusal of the application.  Moreover, although the council has tolerated use of the site for car parking for many years, I consider that it is not an appropriate use of this site, given that access is via a residential area.

I consider it unlikely that the proposed development will result in a significant increase in on-street parking in neighbouring residential streets.  However, if this were to happen, it would cause loss of amenity to residents, but could be addressed by appropriate measures including a residents-only parking scheme.

The traffic report also demonstrates that the amount of traffic generated, and the construction of the new junction on Bolton Road will not disrupt the free-flow and safety of traffic.  I am recommending imposition of a condition to ensure that all off-site works necessary to achieve this will be carried out, at the developer’s expense, before the building is opened.

The proposed off-site works to Smith Street and Malvern Grove need to be carried out to protect highway safety following closure of the existing site accesses. I am recommending imposition of a condition to ensure that these off-site works will be carried out, at the developer’s expense, before the building is opened.  Smith Street provides access to the Congregational Church; I understand that the submitted proposals have been agreed with the church.

I consider that the proposal would be of considerable benefit to the residents of Salford and the principle of the use is acceptable in this location in accordance with national and local policy.  I therefore recommend that this application be approved. The off site works need to be covered by an agreement under Section 278 of the Highways Act 1900.

RECOMMENDATION:

Approve Subject to the following Conditions

1.	Standard Condition A01 Five year time limit

2.	No development shall be started until samples of the facing materials to be used for the walls and roof of the development have been submitted to and approved in writing by the Director of Development Services.

3.	The site shall be treated in accordance with a landscape scheme which shall be submitted to and approved by the Director of Development Services before development is started.  Such scheme shall include full details of trees and shrubs to be planted, walls, fences, boundary and surface treatment and shall be carried out within 12 months of the commencement of development and thereafter shall be maintained to the satisfaction of the Local Planning Authority.  Any trees or shrubs dying within five years of planting shall be replaced to the satisfaction of the Director of Development Services.

4.	No development shall commence unless and until the necessary consents have been obtained for the closure of the rights of way.

5.	The development hereby approved shall be carried out in accordance with the Arboricultural Implication Study (ACS Consulting dated February 2005 ref 778/DR.04) and shall include the erection of protective fencing in accordance with the stated specification prior to the commencement of development on the site. Should the trees identified by group No 21 be damaged during construction or die or become diseased within five years, they shall be replaced in accordance with details previously agreed in writing by the Director of Development Services during the first available planting season.

6.	The development hereby approved shall not be first occupied unless and until the associated off site highway works detailed in the Transport Statement (Faber Maunsell- dated February 2004) including the new junction at Bolton Road, traffic signals, relocated bus stops and various works to Smith Street Emlyn Street and Malvern Grove, have been completed.

7.	Within a period of 6 months from the first date of occupation a Travel Plan shall be submitted for the written approval of the Director of Development Services. The Travel Plan shall as a minimum include the broad areas for development review and monitoring outlined in the submitted Transport Statement by Faber Maunsell dated February 2004. As part of the ongoing monitoring the applicant shall monitor staff and visitor parking. In the event that staff and visitor parking occurs over an agreed monitoring period in the adjacent residential side streets the applicant shall submit a scheme and its implementation for the written approval of the Director of Development Services to mitigate this occurence.

8.	The vehicle access to Smith Street/Harriet Street as shown on drawing no 1868 C-10-002 Rev C shall ONLY be used for heavy goods vehicles leaving the site.

9.	Prior to the commencement of development full details of the proposed sewer diversion (900mm) that crosses the site and the protection of a 300mm sewer in Smith Street as outlined in the letter from Sheppard Gilmour (Leeds) Limited dated 25th February 2004 and drawing no.WA/SG/00/00/DR/S/30200 shall be submitted to and agreed in writing by the Director of Development Services. The development shall be carried out in accordance with the agreed particulars.

(Reasons)

1.	Standard Reason R000 Section 91

2.	Standard Reason R008A Development-Buildings in vicinity

3.	Standard Reason R004A Amenity-area

4.	To ensure the appropriate procedures are carried out and to safeguard existing rights of way

5.	Standard Reason R004A Amenity-area

6.	In the interests of highway safety and to provide an acceptable pedestrian environment

7.	To ensure the travel patterns of staff are modified to promote the use of alternatives means of travel to and from the site having regard to PPG 13 Transport and Policy A1 of the City of Salford Revised Deposit Draft Replacement Plan 2003-2016.

8.	In the interests of highway safety and residential amenity having regard to policy DEV1 and T13 of the City of Salford Unitary Development Plan

9.	To mitigate any possibility of flooding occuring in accordance with Policy DEV11 of the City of Slford Unitary Development Plan

Note(s) for Applicant

1.	The following measures should be included in the Travel Plan: Survey of existing staff to ascertain travel patterns prior to occupation; survey of patients, visitors, staff, deliveries and contractors within 3 months of first occupation; audit of transport facilities before first occupation to inform staff before new travel patterns are formed; appointment of a travel plan co-ordinator before first occupation

2.	This development is subject to the applicant entering into an agreement under Section 278 of the Highways Act 1980 for the off site highway works

3.	The development hereby approved shall be carried out in accordance with the amended plans received on 1st March 2004

4.	The decision to grant planning permission has been taken having regard to the policies and proposals in the City of salford Unitary Development Plan set out below, and to all relevant material considerations, including Supplementary Planning Guidance.  There are no other material considerations that outweigh this finding:

T13 Car Parking; SC9 Health Care Facilities; DEV1 Development Criteria; DEV2 Good Design; EN7 Conservation of Trees and Woodlands

ENC6 Sites for the Provision of Health Facilities; EH1 Provision and Improvement to Health and Community Facilities; DES1 Respecting Context

APPLICATION No:	03/47455/OUT

APPLICANT:	R King

LOCATION:	Land At The Junction Of Clively Avenue And Rake Lane Clifton Swinton

PROPOSAL:	Outline planning application for the siting and means of access in respect of two two-storey blocks comprising ten flats in total (resubmission of previous application 02/45259/OUT)

WARD:	PendleburyPendlebury:03/47455/OUT:Land At The Junction Of Clively Avenue And Rake Lane Clifton Swinton

DESCRIPTION OF SITE AND PROPOSAL

This application relates to land at the junction of Clively Avenue and Rake Lane.  The site is made up of two distinct but contiguous parcels.  The first is a cleared rectangular plot measuring approximately 25m by 12m at the junction of the two roads and the second being a run-down triangular-shaped garage court accessed from Rake Lane and situated to the rear of existing houses on Clively Avenue, Heywood Avenue and Whitehead Road.

The sites have been vacant and unused for many years.  The application is submitted in outline and it is proposed to erect a part three storey, part two-storey block, comprising six one-bedroomed apartments, at the junction of Clively Avenue and Rake Lane and a two-storey block comprising four similar apartments on the garage court.  Access to the site would be from a new road off Clively Avenue and the existing access off Rake lane would be closed.

Approval is sought for the siting and means of access only.

The larger block would be set back 5m from the highway, in line with adjacent dwellings on Rake Lane.  It would be 18.5m from dwellings on the opposite side of Clively Avenue and 7m from the adjacent end-terrace dwelling.  The smaller block would be located 14.2m from the rear of houses on Whitehead Road, 21m from houses on Heywood Avenue, 21m from houses on Rake Lane and 14.2m from houses on Clively Avenue. The distances referred to are approximate due to the small scale and nature of the plans submitted. The site layout shows the provision of 14 car parking spaces.

SITE HISTORY

In February 2003 an outline application for 11 apartments on the site was refused (02/45259/OUT) on grounds of the close proximity of neighbouring residents to the proposed building, inefficient use of outside space and inadequate information.

CONSULTATIONS

Director of Environmental Services – No objections but provides advice

Greater Manchester Police Architectural Liaison Unit – No objections but provides advice.

The Coal Authority – No objections

Environment Agency – No objections

PUBLICITY

The application has been advertised by means of both site and press notices.

The following neighbours were notified of the application:-

1 to 5 and 2 to 24 Clively Avenue

232 to 240 and 246 to 250 Rake Lane

1 to 5 and 6 Heywood Avenue

52 to 66 Whitehead Road

REPRESENTATIONS

I have received three letters of objection and one letter of support in response to the application publicity.  The following issues have been raised:-

Loss of access

Noise

Overlooking

Loss of privacy

Loss of value

Loss of light

The type of accommodation is not suitable

UNITARY DEVELOPMENT PLAN POLICY

Site specific policies: none

Other policies:	DEV1 Development Criteria

REVISED DEPOSIT DRAFT REPLACEMENT PLAN POLICY

Site specific policies: none

Other policies: DES1 Respecting Context, DES7 Amenity of Users and Neighbours

PLANNING APPRAISAL

Policy DEV1 states that the City Council will have regard to a number of factors when considering applications.  These factors include the scale and type of traffic generation, the amount of car parking provision, noise, the relationship to existing buildings and the effect on neighbouring residents.  The policies of the revised replacement UDP are generally similar to those of the adopted plan in respect to this proposal.

With regard to the objections that have been received I do not consider that the development would result in a physical obstruction to the existing rear access to neighbouring properties.

I do not consider that the proposed development would result in any unacceptable increase in noise levels and I note the comments of the Director of Environmental Health on this issue.

With regard to issues of privacy and overlooking the scheme now meets the City Council’s minimum standards.

I consider that the main planning issue is whether the site is capable of being developed for this amount of units and in this particular position.

The applicant has sought considerable advise from officers before submitting his application and the layout proposed now addresses the problems of the previous application which did not meet the City Councils normal standards with regard to privacy and overlooking distances.  The proposed development would result, however, in a two storey building being sited 1.75m from the rear boundary of a neighbouring property.

There would be no windows in this gable elevation and the distance to the rear elevation is in excess of the City Council’s normal requirements for such situations.  The neighbouring resident is concerned about the siting of this building. Against this must be considered the advantages of tidying up and making efficient use of this derelict and vacant site.

Given that the relationship is in excess of the City Council’s normal standards I consider that, the development is acceptable and recommend approval subject to the following conditions.

RECOMMENDATION:

Approve Subject to the following Conditions

1.	Standard Condition A02 Outline

2.	No development shall be started until full details of the following reserved matters have been submitted to and approved by the Local Planning Authority:

- plans and elevations showing the design of all buildings and other structures;

- the colour and type of facing materials to be used for all external walls and roofs;

- a landscape scheme for the site which shall include details of trees and shrubs to be planted, any existing trees to be retained, or felled indicating the spread of the branches and trunk positions, walls, fences, boundary and surface treatment.

(Reasons)

1.	Standard Reason R001 Section 92

2.	Standard Reason R002 Reserved Matters

Note(s) for Applicant

1.	Once the commencement of the building works occurs, care should be taken to note any adverse ground conditions found in the sub soil layers.  Any adverse conditions found should be reported to the Directorate of Environmental Services as soon as it is practicable in order to obtain advice.  The Directorate can be contacted on 0161 793 2083 for further advice on this matter.

2.	The decision to grant planning permission has been taken having regard to the policies and proposals in the City of Salford Unitary Development Plan set out below, and to all relevant material considerations, including Supplementary Planning Guidance.  There are no other material considerations that outweigh this finding:

DEV1 Development Criteria

APPLICATION No:	03/47511/COU

APPLICANT:	Haigh And Haigh Property Limited

LOCATION:	17 Moorside Road Swinton

PROPOSAL:	Erection of two storey side and rear extensions and conversion of existing building to form ten flats

WARD:	Worsley BoothstownWorsley Boothstown:03/47511/COU:17 Moorside Road Swinton

DESCRIPTION OF SITE AND PROPOSAL

This application relates to the site of an existing detached property on Moorside Road opposite the Sides Medical Centre.  The existing property dates back some 250 years and was originally a farmhouse that was extended in the Victorian era and which has had several more recent extensions.  It is part three storey and part two storey.  The building is not Listed nor is it on the Local List of Buildings of Architectural, Archaeological or Historic Interest.  The site is five-sided and has a frontage to Moorside Road of 33m and extends back a maximum of 46m.  It is one of the oldest properties in the area and one of the few original properties on this road.  The site is surrounded by other residential property.  There are two large mature beech trees to the front boundary and other trees on the south and east boundaries.

It is proposed to retain the existing property and after demolishing the existing garage and a single storey rear extension  erect a two storey side and rear extension providing 10 two-bedroomed apartments.  Ten parking spaces would be provided within the site served off the existing access which would be widened.

The ridge height of the proposed extension would be the same as the existing two storey element of the existing part two/part three storey building.  The design of the extension reflects the design of the existing building.  The building would be faced in brick to match the existing building with an artificial slate roof and with art stone heads and cills.

SITE HISTORY

An application for the demolition of the existing building and the erection of 12 apartments was withdrawn in December 2002 (02/44953/FUL).

An application for the demolition of the existing building and the erection of 10 apartments was refused in February 2003 and an appeal against this decision was dismissed in September 2003 (02/45330/FUL).

CONSULTATIONS

Director of Environmental Services – No objections but recommends that a condition be attached regarding external lighting.

The Coal Authority – No objections

Moorside South Residents Association – No response to date

Greater Manchester Police Architectural Liaison Unit – No objections but provide advice.

PUBLICITY

The application has been advertised by means of both site and press notices.

The following neighbours were notified of the application:-

18 Brooklands Road

2 to 14 and 22 Clovelly Road

1 to 11 and 2 to 8 Moorfield Close

2 and 4 Moorfield Road

1A, 9 and 10 Norwood Drive

9 to 31, 15A, 17A, 19A, 12, 14, 62, Sides Medical Centre, 8 The Stables, Moorfield Cottage, 2 Whiteacres, 34A, 61, 24, 17B, 52, 56, 57 Moorside Road

REPRESENTATIONS

I have received 8 letters of objection so far in response to the application publicity.  The following issues have been raised:-

Traffic congestion and loss of highway safety

Loss of trees

Overbearing

Overlooking

Loss of privacy

Overdevelopment of the site

Too much development in the area

Out of character

Lack of car parking

Poor design

UNITARY DEVELOPMENT PLAN POLICY

Site specific policies: none

Other policies:	DEV1 Development Criteria, DEV2 Good Design

REVISED DEPOSIT DRAFT REPLACEMENT PLAN

Site specific policies: none

Other policies: DES1 Respecting Context, DES7 Amenity of Users and Neighbours

PLANNING APPRAISAL

Policy DEV1 states that the City Council will have regard to a number of factors when considering applications.  These factors include the size and density of the development, the likely scale of traffic generation, the amount, design and layout of car parking provision, the potential for noise nuisance, the effect on neighbouring residents, the visual appearance of the development and its relationship to its surroundings and the impact on trees.  Policy DEV2 states that the City Council will not normally grant planning permission unless it is satisfied with the quality of design and the appearance of the development.

National Planning Policy Guidance Note 3 on Housing advises that Council’s should meet the housing needs of the whole community; provide wider housing opportunity and choice and a better mix in the size, type and location of housing than is currently available and seek to create mixed communities; give priority to re-using previously developed land in preference to the development of Greenfield sites; make more efficient use of land and promote good design.  The Guidance also goes on to say that making a more efficient use of land should not compromise the quality of the environment.  It states that local planning authorities should develop a shared vision with local communities of the types of residential environments they with to see in their area.  Considerations of design and layout must be informed by the wider context, having regard not just to any immediate neighbouring buildings but the townscape and the landscape of the wider locality.  It calls on local planning authorities to adopt policies that create places and spaces with the needs of people in mind, that are attractive, have their own distinctive identity but respect and enhance local character.

The proposal is for 10 apartments.  Government advice as contained in PPG3 with regard to car parking is that local authorities should revise their parking standards to allow for significantly lower levels of off street parking provision, particularly in locations where services are readily accessible by walking, cycling or public transport.  I consider that this site is located close to services and to major public transport and that providing more than one car parking spaces per apartment would be contrary to Government advice.  Access arrangements have been improved over the previous scheme and visibility splays are more than sufficient and I therefore have no objections to the application on highway grounds.

I do not consider that the development necessarily represents an overdevelopment of the site.  Ten parking spaces have been provided and there are significant amenity areas around the building.   The extensions are oriented so that  windows would not overlook neighbouring dwellings or private rear gardens.

I do not consider that the design of the property is poor.  The application now retains the existing building and proposes a side extension that is set back from the front main elevation of the existing dwelling by 2.8m with the bulk of the proposed extension to the rear of the existing building.

Finally I turn to the issue of the trees.  The two beech trees to the front of the site are fine specimens that contribute significantly to the street scene.  They are, however, of an age and quality that would question their long-term viability.  Of the 17 trees on the site five would be lost as a result of this development.  A provisional Tree Preservation Order has been placed on five of the trees, including those to the road frontage.  Of these five, one would be lost as a result as a detailed inspection has shown major decay.  There would now be no new building adjacent to the two large beech trees.

I consider that the main planning issues in this case is whether the proposed extensions would have a significant detrimental effect on the character of the area and on the amenity of neighbouring residents.

I am mindful that the existing building is to be retained.  This results in the development retaining the essential character of the area.  I do not consider that the proposed extensions would have a significant detrimental effect on the amenity of neighbouring residents and I therefore recommend that the application be approved subject to the following conditions.

RECOMMENDATION:

Approve Subject to the following Conditions

1.	Standard Condition A01 Five year time limit

2.	Standard Condition C01X Landscaping

3.	No development shall be started until samples of the facing materials to be used for the walls and roof of the development have been submitted to and approved in writing by the Director of Development Services.

4.	Standard Condition F03X Surfacing

5.	Standard Condition C04X Fencing of Trees protected by T.P.O.

6.	No development shall commence until an arboricultural method statement showing the construction of the drive and car parking spaces 1 to 4 and the protection of the root systems of protected trees have been submitted to and approved in writing by the Director of Development Services

(Reasons)

1.	Standard Reason R000 Section 91

2.	Standard Reason R004A Amenity-area

3.	Standard Reason R008A Development-Buildings in vicinity

4.	Standard Reason R013A Use of parking areas

5.	Standard Reason R010A Protect TPO trees

6.	Standard Reason R010A Protect TPO trees

Note(s) for Applicant

1.	The decision to grant planning permission has been taken having regard to the policies and proposals in the City of salford Unitary Development Plan set out below, and to all relevant material considerations, including Supplementary Planning Guidance.  There are no other material considerations that outweigh this finding:

DEV1 Development Criteria

DEV2 Good Design

2.	The applicant's attention is drawn to the attached letter from the Greater Manchester Police.

APPLICATION No:	04/47538/FUL

APPLICANT:	George Wimpey (Manchester) Ltd And Eccles Masonic Lodge

LOCATION:	Elm Bank Masonic Hall Half Edge Lane Eccles

PROPOSAL:	Demolition of existing masonic hall and erection of a 4 storey building comprising of 66 apartments together with replacement masonic hall at basement level with associated access and landscape works

WARD:	EcclesEccles:04/47538/FUL:Elm Bank Masonic Hall Half Edge Lane Eccles

DESCRIPTION OF SITE AND PROPOSAL

This application relates to the Masonic Lodge at Elm Bank on Half Edge Lane in Eccles. The existing Masonic Lodge is a brick built three storey building with single and two storey extensions. The existing building is used by the Lodge and is used for private functions. The site is bounded by a number of mature trees to all sides with some smaller trees within the site, the trees are protected by Tree Preservation Order (TPO#14). Car parking is situated between the lodge and Half Edge Lane and also the Lodge and 44 Half Edge Lane. Within the site there is also an existing bowling green between the Masonic Lodge and the Ecclesholme nursing home to the south of the Masonic Lodge site.

Surrounding uses are residential. The aforementioned Ecclesholme nursing home is to the south of the site and is three storeys and has windows of habitable rooms facing this site. Residential properties adjoining the site are mainly two storeys high with one adjoining property on Half Edge Lane being single storey. Across Half Edge Lane properties are a mixture of two, three and four storeys. One of the buildings immediately opposite the Masonic Lodge is a four storey block of apartments that was approved by the Panel in March 2001. Vehicular and pedestrian access is located onto Half Edge Lane adjacent to the bungalow at 44 Half Edge Lane.

Planning permission is sought for the erection of a four and three storey block of apartments containing 66 two bed apartments. The block would have a pitched roof and is proposed to be finished in brick with a tiled roof. The block, on plan view would be in a T-shape with the principal elevation facing Half Edge Lane. This elevation fronting Half Edge Lane is mainly four storey with roof above and drops down to three storey at each side. The block also drops to three storeys at the rear spur. The height to ridge level is 14.7m, 10.4m to 4th storey eaves and 7.5m to 3rd storey eaves level. Fronting Half Edge Lane the block is 55m wide and has 66 windows facing Half Edge Lane.

Permission is also sought for the construction of a replacement Masonic Lodge underground within the site. It would have a floor area of 27m by 30m and would be 4m deep below ground level. Access to the subterranean replacement lodge would be from a single storey access structure with stairs and a lift, a secondary lift is also proposed however details of this structure have not been submitted. A lantern light is also proposed with a metal structure connecting the two. The proposed Lodge would have formal seating for dining for 150 people with another 120 seats for lodge activities.

Car parking is proposed around the perimeter of the site and the existing pedestrian and vehicular access is proposed to be utilised. The applicant has shown 66 car parking spaces for the residential flats and 54 parking spaces for the Masonic Lodge. Landscaping and communal amenity areas are shown around the residential block. The applicant has not proposed a replacement on or off site for the bowling green which would be built upon by the flats, parking and the Masonic Lodge. The existing Lodge building would be demolished as part of the proposal and a number of trees would be removed.

The applicant has submitted with his application a planning statement, design statement, tree report and landscape statement, noise assessment and highways and traffic report. The planning statement identifies the reasons behind the application being that the Eccles Masonic Lodge has structural defects which the Lodge can not afford to rectify and that this proposal with 66 residential units is the minimum level of development required to enable a new purpose built replacement lodge. The submitted reports seek to justify the proposal with regard to Salford City Council UDP planning policies and national planning guidance.

SITE HISTORY

In 1983, planning permission was granted for the erection of an entrance porch (E/15503).

In 1999, an application was refused to fell three trees at Eccles Masonic Hall And 61 Preston Avenue (99/37882/TPO).

In 2001, planning permission was granted for the erection of a brick entrance gateway to existing access (01/42412/FUL).

In 2001, approval was given for the crown raising of various sycamore, lime and hawthorn (G1) to 5.2m over the highway (01/43158/TPO).

CONSULTATIONS

British Coal – No objections

Director of Environmental Services – No comments received

GMP Architectural Liaison Unit – Raise no objection in principle however raise issue over the siting of car parking spaces which are out of view and the ability for intruders to walk around the buildings enabling possibilities of crime to occur.

Ellesmere Park Residents Association – No objections

PUBLICITY

A site notice was displayed on 19th January 2004

A press notice was displayed on the 22nd January 2004

The following neighbour addresses were notified:

21, 21A, 23, 23A, 25, 29 – 53 odd, 38 – 44 even and 39A Half Edge Lane

39 – 61 odd Preston Avenue

1 – 17 Boothman Court

50 & 52, Ecclesholme, Bindloss Avenue

8 & 9 Crawley Avenue

2 – 5 Doughty Avenue

REPRESENTATIONS

I have received 12 letters of objection in response to the planning application publicity.  The following issues have been raised:-

Proposals out of character with surrounding area

Loss of green space of the bowling green

Proposal is over development of the site

Proposed apartments are too high

Loss of light and privacy

Concern over increase in traffic in the area

Concern over TV reception

Concern over noise and traffic impact upon occupiers of surrounding residential properties

Siting of car parking adjacent to residential properties

Not enough parking proposed for the intended development

Light pollution from cars using the site

Concern over drainage and construction of the underground Masonic Lodge

Proposed tree planting will affect drainage and be overbearing to neighbouring properties

Proposed works could undermine health of existing trees

Loss of existing trees would result in decreased privacy for neighbours

Questions whether the proposed apartments are affordable as suggested by the applicant and that if the site is within Eccles there is already an over supply of affordable housing

Property would be devalued

UNITARY DEVELOPMENT PLAN POLICY

Site specific policies: none

Other policies:	R1 Protection of Recreation Land and Facilities, H1 Housing Supply, EN20 Pollution Control, DEV1 Development Criteria, DEV2 Good Design, DEV4 Design and Crime, EN7 Conservation of Trees and Woodland, T10 Pedestrians, T13 Car Parking, DEV5 Equality of Access, H6 and H11 Open Space Provision Within New Housing Developments

REVISED DEPOSIT DRAFT REPLACEMENT PLAN POLICY

Site specific policies: none

Other policies:	R1 Protection of Recreation Land and Facilities, H1 Housing Supply, DES1 Respecting Context, DES11Designand Crime, EN10 Protected Trees, A2 Cyclists, Pedestrians and the Disabled, A10 Provision of Car, Cycle, and Motorcycle Parking in New Developments, DES2 Circulation and Movement, H8 Open Space Provision Associated With New Housing Development, EN14 Pollution Control

PLANNING APPRAISAL

Both R1 policies require that formal and informal recreation land is protected unless the new use/development is for recreation uses or replacement facilities are provided within the local area or that the recreation facility is surplus to requirements. Objection has been raised, by local residents, to the loss of the open feel that the bowling green provides. The applicant claims that the bowling green has not been used for over a decade and does not provide any further supporting information but explains he considers there to be no loss of a recreation facility and would not be willing to provide any replacement facilities. A Council survey of recreation facilities was carried out in December 2001 and recorded the bowling green as being in good quality and still in use. A 1997 aerial photo shows the bowling green in a reasonable state of repair. At present the bowling green would be unplayable but this is only as a result of overgrown grass. Given the submitted information and Council records I am of the opinion that the bowling green is protected by both of the R1 policies and also PPG17. Although the bowling green forms green space it forms part of a larger brownfield site under Central Government definitions and so if replacement facilities were provided the principle of residential development could be appropriate. If it is proven that there is a surplus of bowling greens in the area an alternative form of recreation facility should be provided on or off site. As no replacement facilities are provided or suggested I consider the development is contrary to both R1 policies.

The general principle of housing could be acceptable under policy H1 given the brownfield nature of the site however the densities proposed, impact upon neighbouring properties, design, layout and dual uses on site need to be assessed carefully. The applicant proposes 66 two bed apartments within a residential area of 0.411 hectares which equates to 160 units per hectare over the residential area of the site. Policy H1 of the Deposit Draft UDP requires a minimum of 30 units per hectare except for sites within town centres, mixed use areas and at major transport nodes. I do not consider that this site falls within one of these accessible locations and 160 units per hectare is very high especially when the scale, mass and impact of the apartment block is considered. This situation is compounded further when the impact of the replacement Masonic Lodge is considered alongside the apartments. There is little amenity space around the developments to cater for the number of future residents and also the potential visitors to the Masonic Lodge. Policies H1, DEV1, DES1 and DES7 require amenity space to be provided within new developments. I consider that the amenity space proposed on site is insufficient for the 66 apartments and for the potential visitors to the Lodge. If all other matters of the development were acceptable a S106 could be applied in line with the Council’s  SPG on provision of open space and recreation space within new residential developments.

Objection has been raised to the height and scale of the development and impacts upon sunlight/daylight and privacy. Although there are other four storey properties along Half Edge Lane such as those across the road the character of these properties and the area is to have a vertical emphasis and pronounced gaps between these buildings, which are generally pairs of semi-detached dwellings or replacement buildings of similar proportions. These buildings would typically have four windows (including doors) across. This proposed part four and part three storey building is some 55m wide and is 18 windows across plus central circulation area. The building has a significant horizontal emphasis and its scale and mass are out of keeping with the surrounding area. Adjacent properties are a bungalow and tow storey properties. The scale and mass of the proposal are considered to be contrary to Policies DES1, DEV1 and DEV2. The bulk of the building and the elevational treatment proposed produces a utilitarian feel which again is at odds with the character of the area and is again contrary to policies DES1, DEV1 and DEV2.

With regard to privacy and sunlight/daylight I consider that appropriate separation distances are maintained with regard City Council standards. There are no habitable room windows facing adjoining occupiers to the east and west and to the north and south adequate separation distances are maintained.

Surrounding occupiers have objected to an increase in noise. A noise survey has been submitted which considers the dual use on site and impacts upon future occupiers and neighbours. The survey explains that the development would result in noise levels  slightly in excess of the World Health Organisation guidelines for the adjacent Ecclesholme care home. On balance I consider a marginal exceedance not to be significantly material in this instance to warrant refusal on this ground.

There is no obvious de-lineation between the two uses and anyone visiting either the flats or Masonic lodge would be able to walk right around the whole development. This open plan development would not allow for defined defensible space and some parking areas do not benefit from natural surveillance which is contrary to Policies DEV4 and DES11. Objection has been received to the lack of on site parking. I consider the amount of parking for the flats at 100% to be appropriate given maximum parking standards. However for the public areas of the Masonic Lodge 60 spaces would be required. The applicant has indicated that he would provide 54 spaces however seven of these spaces are tandem spaces and would not be useable, as such the layout is unacceptable with regard to DEV1, DES2 and A10. I consider that 47 useable spaces for the area of Masonic Hall proposed would not be sufficient and is contrary to policy T13 and A10. No allocation for disabled parking, motorcycle parking or cycle parking has been shown and as such the proposal is contrary to DEV1, A2 and A10.

Objection has been received with regard to loss of trees. The siting of apartment block and Masonic lodge and the layout of hardstanding and roadways produces development that comes nearer to the existing trees right around the site. The tree report and survey submitted explains that a minimal amount of trees are to be removed for development. However a total of 25 trees are proposed to be removed for construction and 17 trees are to be removed due to condition. Policies EN7 and EN10 and the Councils SPG require the conservation of trees, especially protected trees. Some habitable windows would be within 3.6m of the existing trees, this being contrary to the SPG on trees. Some trees shown as being removed are identified as being of fair/good condition. The area of hardstanding moves toward the mature tree belt facing Half Edge Lane. From the information received, I am not satisfied that the scheme for the provision of root protection, can be implemented without the destruction of a large area of the fibrous root tissue along with stabilising roots. This area is on a slope and this slope will need to be levelled for the installation of the Geoweb and this is contrary to the way this material should be utilised for the protection of roots. I consider that the proposal is contrary to policies EN7 and EN10.

Property value and the cost of the new dwellings cannot be taken into account as a planning consideration. Issues of drainage and construction of the underground lodge would be a matter to be resolved under the building Regulations and with United Utilities.

I consider that the proposal is contrary to a number of Unitary Development Plan Policies. No replacement recreation provision is proposed nor is this principle accepted by the applicant. The scale and size of development proposed raises a number of amenity concerns regarding noise and loss of trees and of over development. The bulk of the apartments is out of character with the surrounding area. Insufficient levels of parking are proposed and the parking layout is sub-standard. There are too many apartments proposed and the density is too high and the proposal would result in the loss of too many trees.

RECOMMENDATION:

Refuse For the following Reasons:

1.	The proposed development would result in the loss of a bowling green and without replacement compensatory recreational provision would result in a deficit in the area contrary to policies R1 of the Adopted City of Salford Unitary Development Plan and R1 of the Revised Deposit Draft Replacement Plan 2003-2016 and also PPG17.

2.	The proposed development would  by virtue of its design, large scale and mass, be seriously detrimental to the visual amenity of the area and would be out of keeping with the character and appearance of the surrounding area contrary to policies DEV1 and DEV2 of the Adopted City of salford Unitary Development Plan and Policy DES1 of the Revised Deposit Draft Replacement Plan 2003-2016.

3.	The layout of the site would not provide for an acceptable definition of defensible space and natural surveillance for parking areas and as a result would lead to conditions prejudicial to designing out crime and the fear of crime contrary to policy DEV 4 of the Adopted City of Salford Unitary Development Plan and DES11 of the Revised Deposit Draft Replacement Plan 2003-2016

4.	The proposed level, type and layout of parking on the site is insufficient and of substandard design and would likely result in on street parking in the vicinity of the site detrimental to highway safety and residential amenity contrary to policies DEV1, T13 of the Adopted UDP and policy DES2 and A10 of the Deposit Draft UDP.

5.	The proposed development would be detrimental to the amenity of the area by affecting, to an undesirable degree trees which are subject of a tree preservation order contrary to policy EN7 of the adopted City of Salford Unitary Development Plan and EN10 of the Revised Deposit Draft Replacement Plan 2003-2016

6.	Satisfactory provision has not been made within the curtilage of the site for incidental open space which would be detrimental to the living conditions of future residents contrary to policy DEV1 of the City of Salford Unitary Development Plan and policies DES1, DES2 and H1 of the Revised Deposit Draft Replacement Plan 2003-2016.

APPLICATION No:	04/47562/OUT

APPLICANT:	Martin Moylan

LOCATION:	Land On Fereday Street Worsley

PROPOSAL:	Outline planning application for the redevelopment of land for residential purposes comprising a total of 34 apartments with associated car parking and construction of new vehicular access

WARD:	Walkden NorthWalkden North:04/47562/OUT:Land On Fereday Street Worsley

DESCRIPTION OF SITE AND PROPOSAL

The application site comprises two vacant, grassed pieces of land at the end of Fereday Street. To the north of the site is another area of vacant land. Outline planning permission was granted in April 2003 for the erection of a building comprising eleven flats together with associated car parking on that site. To the east and west of the application site are the rears of residential properties. To the south is the car park for part of the Ellesmere Shopping Centre.

The application has been amended from that originally submitted and approval is now sought only for the principle of the redevelopment of the site for thirty four apartments and associated car parking and the means of access. All other matters have been reserved for determination at a later date and the plans submitted with the application showing siting, design and external appearance are now for illustrative purposes only.

SITE HISTORY

In April 2003, outline planning permission was granted for the erection of one part three/part four storey building comprising eleven flats, together with associated car parking and the construction of a new vehicular access (ref: 03/45706/OUT)

In October 2002, and outline application for the erection of two buildings comprising twenty four flats, together with associated car parking and the construction of a new vehicular access was refused (ref: 02/44545/OUT)

In June 2002, an outline application for two blocks of three storey flats comprising a total of twenty eight flats was submitted and subsequently withdrawn in July 2002 (ref:02/43905/OUT)

In April 2001, an outline application for nine dwellings including 3 three storey properties fronting Brackley Street, together with associated car parking and access was approved (ref: 01/41728/OUT)

In November 1999, an outline application for eleven dwellings, associated car parking and alterations to the existing access was submitted and subsequently withdrawn in December 1999

CONSULTATIONS

Director of Environmental Services – no objections to the principle of the development but recommends conditions requiring site investigations and a noise assessment

British Coal – no response received to date

Ramblers’ Association – no objections

Peak and Northern Footpath Society – no response received to date

Open Spaces Society – no response received to date

Greater Manchester Pedestrian Association – no response received to date

United Utilities – no objections to the principle of the proposed development but objects to the application as originally submitted due to the siting of the proposed buildings, as several public sewers cross the application site and building over them would not be permitted

Environment Agency – no objections to the principle of the proposed development but recommends a condition requiring site investigations

Greater Manchester Police Architectural Liaison Officer – no comments received to date

PUBLICITY

A site notice was displayed on 19th January 2004

A press notice was published on 29th January 2004

The following neighbour addresses were notified:

173 – 213 (O) Bolton Road

1 – 14 Wesley Court, Brackley Street

31-41 (O) Brackley Street

2 – 30 (E) Dagmar Street

25 – 31 (O) Fereday Street

REPRESENTATIONS

I have received two letters of objection and petition signed by twenty one local residents in response to the planning application publicity.  The following issues have been raised:-

A building of three or four storeys would be too high

The proposed building would result in a loss of privacy

There would be insufficient amenity space within the site

The proposed buildings would be detrimental to the character of the area

There would be an increase in traffic in the area

UNITARY DEVELOPMENT PLAN POLICY

Site specific policies: none

Other policies: H1 – Meeting Housing Needs

DEV1 – Development Criteria

REVISED DEPOSIT DRAFT REPLACEMENT PLAN POLICY

Site specific policies: none

Other policies: H1 – Provision of New Housing Development

PLANNING APPRAISAL

Policy H1 states that the Council will endeavour to ensure that the city's housing stock is able to meet the housing requirements of all groups within Salford through a number of measures, including releasing land to accommodate new house-building.

Policy DEV1 outlines a number of criteria against which applications are assessed. Of most relevance to this proposal are the location and nature of the proposed development, including its relationship to existing and proposed land uses and the likely scale and type of traffic generation

Policy H1 of the Revised Deposit Draft Replacement UDP states that all new housing development is required to fulfil a number of criteria, including, inter alia,  contribute to the provision of a balanced mix of dwellings within the local area, not lead to an oversupply of any particular type of residential accommodation or otherwise result in an unacceptable impact on the housing market, provide accommodation at an appropriate density for the site and provide a high quality residential environment and adequate level of amenity.

In light of the amendments made to the application and given that approval is now sought only for the principle of the redevelopment of the site for thirty four apartments and means of access, the majority of the concerns raised by the objectors relate to matters which are now reserved for determination at a later date and are not therefore issues relevant to the determination of this application.  I am satisfied that it would be possible to accommodate thirty four apartments and associated car parking within the application site without there being an unacceptable detrimental impact on the amenity of neighbouring residents by virtue of overlooking or loss of privacy. I also consider that the site could be redeveloped without detriment to the amenity of the area. I am satisfied that the concerns raised by United Utilities in relation to the existing sewers crossing the site could be addressed by appropriate siting.

In terms of the last objection, I acknowledge that a development comprising thirty four apartments would inevitably result in an increase in traffic in the area. I do not however consider that such an increase would have an unacceptable detrimental impact on highway safety. I am of the opinion that such concerns do not warrant refusal of the application and I can confirm that I have no objections to the application in this regard.

Given that planning permission was granted last year for the construction of a building comprising eleven apartments on part of the application site, I consider that the principle of residential development in this location is acceptable. This proposal would result in the re-use of what is currently a vacant and unattractive site and would present an opportunity to improve the site and the surrounding area.

The proposal would necessitate the closure of part of Fereday Street. The necessary consultations have been undertaken and I have not received any objections to the application in this regard. I have attached a condition requiring the relevant closure order to be obtained prior to the commencement of the development.

In conclusion, I am of the opinion that the proposal would make efficient use of a previously developed site within an urban area in close proximity to Walkden town centre. I am satisfied that the site could be redeveloped without the amenity of neighbouring residents or the surrounding area being unacceptably detrimentally affected. I therefore recommend approval.

RECOMMENDATION:

Approve Subject to the following Conditions

1.	Standard Condition A02 Outline

2.	No development shall be started until full details of the following reserved matters have been submitted to and approved by the Local Planning Authority:

- the layout of the site, including the disposition of buildings and roads and provision for parking and servicing;

- plans and elevations showing the design of all buildings and other structures;

- the colour and type of facing materials to be used for all external walls and roofs;

- a landscape scheme for the site which shall include details of trees and shrubs to be planted, any existing trees to be retained, or felled indicating the spread of the branches and trunk positions, walls, fences, boundary and surface treatment.

3.	Prior to the commencement of the development, the developer shall submit a site investigation report for the approval of the Director of Development Services. The investigation shall address the nature, degree and distribution of ground contamination and ground gases on the site and shall include an identification and assessment of the risk to receptors as defined under the Environmental Protection Act 1990, Part IIA, focusing primarily on risks to human health and controlled waters. The investigation shall also address the implications of ground contamination on the health and safety of site workers, on nearby occupied building structures, on services and landscaping schemes and on wider environmental receptors including ecological systems and property.

The sampling and analytical strategy shall be approved by the Director of Development Services prior to the start of the site investigation survey. Recommendations and remedial works contained within the approved report shall be implemented by the developer prior to the occupation of the site.

Prior to discharge of the Contaminated Land Condition, a Site Completion Report shall be submitted to the Director of Development Services for approval. The Site Completion Report shall validate that all works undertaken on site were completed in accordance with those agreed by the Director of Development Services.

4.	Prior to the commencement of any of the building works on site, the applicant shall submit for written approval of the Director of Development Services an assessment of noise likely to affect the application site. This assessment should be geared towards assessing the noise from the road network and associated feeder roads including Bolton Road and any other sources which are deemed significant on the site, such as the Ellesmere Shopping Centre. The assessment shall identify any noise attenuation measures which may be determined appropriate to reduce the impact of noise on the residential properties on site. Once agreed, all identified noise control measures shall be implemented and thereafter retained.

5.	The development hereby approved shall not be commenced until the appropriate order for the closure or diversion of the public right of way affected by the development has been made.

(Reasons)

1.	Standard Reason R001 Section 92

2.	Standard Reason R002 Reserved Matters

3.	Standard Reason R024A Amenity of future residents

4.	Standard Reason R024A Amenity of future residents

5.	Standard Reason R026A Interests of highway safety

APPLICATION No:	04/47583/REM

APPLICANT:	Bellway Homes Manchester

LOCATION:	Land Bounded By Everard Street/Ordsall Lane And Woden Street Salford 5

PROPOSAL:	Details of the siting, design and external appearance of one four storey/five storey and two five storey/six storey buildings comprising a total of 192 apartments,  192 car parking spaces, new vehicular access and diversion of footpath.

WARD:	OrdsallOrdsall:04/47583/REM:Land Bounded By Everard Street/Ordsall Lane And Woden Street Salford 5

DESCRIPTION OF SITE AND PROPOSAL

This application relates to land bounded by Woden Street, Ordsall Lane, Everard Street and The River Irwell. To the south of the site are industrial buildings while to the north is a mix of uses including residential. Beyond the river is a high railway embankment and arches that now carry the Metrolink. There are four storey flats on the opposite side of Ordsall Lane. The site covers approximately 1.2 hectares. Outline planning permission was granted in 2002 for residential development with all matters being reserved. A Section 106 Obligation was signed with this approval which requires a payment of £500 per unit toward environmental improvements.

Permission is now sought for the reserved matters of the application including siting, design, external appearance, means of access and landscaping for the erection of three modern blocks containing 192 apartments. Block 1 fronts Ordsall Lane and is 5 and 6 storeys high, Block 2 fronts Woden Street and is 4 and 5 storeys high and Block 3 fronts the River Irwell and is 5 and 6 storeys high. All three blocks back onto a communal garden area with 192 parking spaces, including disabled spaces around the site. Cycle parking is also identified. This application has been amended several times and the landscaping scheme has not been updated therefore the Panel is not asked to consider landscaping at this stage. Pedestrian access is maintained between the River Irwell and both Woden Street and Everard Street.

SITE HISTORY

In 2002, outline planning permission was granted for residential development (02/44142/OUT).

In 1995, a renewal of outline planning permission was granted for the erection of a

Cash and Carry Warehouse and associated offices together with car parking, servicing and landscaping (95/34014/TPDC).

In 1992, planning permission was granted for the erection of a Cash and Carry Warehouse and associated offices together with car parking, servicing and landscaping (E/29993).

In 1984, a Circular 18/84 application was submitted, the City Council did not object, to the erection of TA Centre (E/19077).

In 1980, permission was granted for temporary office accommodation (E/11712).

In 1980, permission was granted to demolish a boilerhouse (E/11711).

CONSULTATIONS

Environment Agency – no comments received

United Utilities – no objections in principle and provides advice which has been advised within an informative.

Director of Environmental Services – No comments received

Manchester City Council – no comments received

Greater Manchester Police Architectural Liaison Unit – no comments received

Greater Manchester Passenger Transport Executive – no objections

Ramblers Association – Object if no pedestrian access from Everard Street to the river Irwell. This is provided following amendments to the scheme.

Peak and Northern Footpath – No comments received

GM Pedestrian Association - No comments received

Open Space Society - No comments received

PUBLICITY

Site notices were displayed on 23rd January 2004

A Press Notice was published on 29th January 2004

The following neighbour addresses were notified:

24 – 26 e Freya Grove

217 & 148 Ordsall Lane

1 –15 o Wodens Avenue

Cygnus House, Woden Street

Unit 11 & Unit 18 Worrall Street

REPRESENTATIONS

I have received one letter of objection in response to the planning application publicity.  The following issues have been raised:-

Transport Implications

A transport assessment should be provided

Not enough on site parking

Impacts upon security of nearby commercial operations

Suggest conditions to limit construction and associated vehicles on Woden Street

UNITARY DEVELOPMENT PLAN POLICY

Site specific policies: EC13/8 Sites for Industry and Warehousing

Other policies: T10 Pedestrians, T13 Car Parking, DEV1 Development Criteria, DEV2 Good Design

REVISED DEPOSIT DRAFT REPLACEMENT PLAN POLICY

Site specific policies: MX1/4 Development in Mixed-Use Areas/Ordsall Lane Riverside Corridor

Other policies: DES1 Respecting Context, Circulation and Movement, DES11 Design and Crime, A2 Cyclists, Pedestrians and the Disabled, A10 Provision of Car, Cycle and Motorcycle Parking in New Developments

PLANNING APPRAISAL

Policy T10 states that the City Council will ensure that the needs of pedestrians are given greater attention and policy T13 requires that adequate and appropriate car parking is made where necessary.  Policy DEV1 states that the City Council will have regard to a number of factors when considering applications, these factors include the relationship to existing land uses, road and public transport networks, the amount of car parking provision, the visual appearance of the development and open space provision. Policy DEV2 states that the City Council will not normally grant planning permission unless it is satisfied with the quality of design and appearance of the development. Policies of deposit draft UDP are similar to those of the Adopted UDP. Deposit draft policy MX1 requires a mix of uses and policy H1 requires a density of at least 50 units per hectare at this site.

The principle of residential development has been established which is in accordance with the emerging classification for the Ordsall Lane corridor for a mix of uses, and I consider the main considerations are the visual impact of the buildings and impact upon surrounding occupiers, density of development, vehicular and pedestrian access arrangements and level of parking proposed. The proposed 192 apartments returns a density of 160 per hectare which at this location and access to transport, services and employment is I consider appropriate. The apartments are a mixture of 2 beds, 1 beds and studio flats.

There is a separation distance of 29m between block 1 and the nearest residential property across Ordsall Lane which I consider is appropriate with regard to privacy and sunlight/daylight. I consider that the height and scale of the proposed blocks is appropriate to the mixed use area. Roofs are flat but the change in roof levels and punctuation contribute together with balconies and add to an interesting appearance for the development. I regard the design of the blocks to be of good standard and varied high quality materials as proposed would complement the design. I have however recommended a condition to ensure the exact samples of materials. I consider that the proposal satisfies the Councils policies on design. The level of amenity space proposed is appropriate to the number of units.

The applicant has confirmed existing rights of way over the site would be altered however pedestrian access is shown as being maintained along both Woden Street and Everard Street to the River Irwell. Access also remains to the footbridge that goes across the Irwell into Manchester. The site is accessible by a number of modes of travel including, foot, cycle, bus, metrolink and private car and I consider that for such development at this site a transport assessment was not required and that the parking level of 100% is appropriate especially as cycle parking is provided.

The site is bounded by railings which provide visibility into and out of the site ensuring natural surveillance for the footpaths within and outside the site and car parking areas. Car parking areas and communal areas are visible from proposed apartments and so natural surveillance is available. Vehicular access is split roughly 1/3 from Everard Street and 2/3 to Woden Street. At both access points there is sufficient space to pull a car up off the highway and I consider that highway safety would not be compromised as a result. I also do not consider that the development would result in Woden Street being blocked and that natural surveillance resulting from the apartments would improve security around the site.

I am satisfied with the density of development proposed which is appropriate to the site. The development does not impact upon the privacy or sunlight daylight of nearby residential occupiers. I consider that the size, scale and design of the proposal will have a positive impact upon the site and surrounding area. I am satisfied with the level of parking proposed and that there would be no implications of security and safety as a result of the development either on or off site. I have no highway objections and recommend approval.

RECOMMENDATION:

Approve Subject to the following Conditions

1.	No development shall be started until samples of the facing materials to be used for the walls, roofs, doors, windows and balconies of the development have been submitted to and approved in writing by the Director of Development Services.

2.	The site shall be treated in accordance with a landscape scheme which shall be submitted to and approved by the Director of Development Services before development is started.  Such scheme shall include full details of trees and shrubs to be planted, walls, fences, boundary and surface treatment and shall be carried out within twelve of the commencement of development and thereafter shall be maintained to the satisfaction of the Local Planning Authority.  Any trees or shrubs dying within five years of planting shall be replaced to the satisfaction of the Director of Development Services.

3.	Standard Condition F05D Provision of Parking

(Reasons)

1.	Standard Reason R004A Amenity-area

2.	Standard Reason R004A Amenity-area

3.	Standard Reason R004A Amenity-area

Note(s) for Applicant

1.	The applicant's attention is drawn to the contents of the attached letter from North West Water.

2.	The applicant's attention is drawn to the contents of the attached letter from the Coal Authority.

3.	The decision to grant planning permission has been taken having regard to the policies and proposals in the City of Salford Unitary Development Plan set out below, and to all relevant material considerations, including Supplementary Planning Guidance. There are no other material planning considerations that outweigh this finding:

Adopted UDP:

EC13/8 Sites for Industry and Warehousing

T10 Pedestrians, T13 Car Parking, DEV1 Development Criteria, DEV2 Good Design

REVISED DEPOSIT DRAFT REPLACEMENT PLAN POLICY

MX1/4 Development in Mixed-Use Areas/Ordsall Lane Riverside Corridor

DES1 Respecting Context, Circulation and Movement, DES11 Design and Crime, A2 Cyclists, Pedestrians and the Disabled, A10 Provision of Car, Cycle and Motorcycle Parking in New Developments

4.	This permission shall relate to plans: 6605/L(2-)111/B received 12th March 2004, 6605/L(9-)103/B received 12th March 2004, 6605/L(9-)104/A received 12th March 2004, 6605/L(9-)102/I received 19th March 2004, 6605/L(9-)116/E received 22nd March 2004, 6605/L(9-)109/F received 12th March 2004, 6605/L(9-)103/F received 12th March 2004, 6605/L(9-)100/D received 3rd March 2004, 6605/L(9-)106/E received 3rd March 2004, 6605/L(9-)112/C received 12th March 2004.

APPLICATION No:	04/47806/HH

APPLICANT:	S J Burgess

LOCATION:	21 Beatrice Road Worsley

PROPOSAL:	Erection of single storey side extension and two storey rear extension

WARD:	Worsley BoothstownWorsley Boothstown:04/47806/HH:21 Beatrice Road Worsley

DESCRIPTION OF SITE AND PROPOSAL

The application relates to an existing bungalow. It is located on the inside of this cul-de-sac, which is characterised by all bungalows. The other side of the road is all houses. The proposal is to extend the property mainly on the existing footprint, which would result in a 4 bedroom house. The front elevation would be part two storey and part single storey with a dormer window, whilst the rear would a full two storey house. The overall ridge would be raised 0.5m from the existing bungalow.

CONSULTATIONS

British Coal – no objections

PUBLICITY

The following neighbour addresses were notified:

16, 18 – 29 (incl) Beatrice Roiad

REPRESENTATIONS

I have received 8 letters of objection in response to the planning application publicity.  The following issues have been raised:-

·	A house in the row of bungalows would be out of character

·	There would be overlooking and a loss of privacy to the neighbours, particularly to the rear

·	There would a loss of light

·	The plot is not big enough for a house, having been designed for a bungalow

·	The raising of the roofline would be at variance to the neighbours

·	The proposed east-west ridge would add to the massing effect of the building

UNITARY DEVELOPMENT PLAN POLICY

Site specific policies: None

Other policies:DEV8 – house extensions

DEV 2 – good design

REVISED DEPOSIT DRAFT REPLACEMENT PLAN POLICY

Site specific policies: None

Other policies: DES 7 – amenity if users and neighbours

DES 8 - alterations and extensions

PLANNING APPRAISAL

Policy DEV8 states that development must not have an unacceptably adverse impact on the amenity of neighbouring residents by reason of overlooking, overshadowing, dominance, loss of privacy or light. In addition it states that the extension must not have an adverse impact on the character and appearance of the street scene. These issues are reiterated in Policy DES7 and DES8.

The main objection of the residents is that the proposal would result in a house in a row of bungalows. There are also bungalows to the rear and the residents are of the opinion that this would be out of character. Although this property is within the line of bungalows, the road does also include houses and therefore I would not consider that the house would be totally out of character with the character of the area as a whole. The road slopes, so I do not consider that the proposed increase to the ridge height would be detrimental to the appearance of the street scene. I, however, would consider the main issue should be whether the extension itself would result in harm to the neighbouring residents.

The rear of the property would remain a minimum of 22m from the rear of the bungalow immediately behind. In order to maintain separation distances to prevent direct overlooking or loss of privacy, the City Council would normally require a minimum of 21m between properties, in order to comply with the SPG relating to house extensions. I am also aware that there is a large rear dormer at No. 29, and I do not consider that there would be any undue loss of privacy or overlooking to the neighbouring properties than would result from this dormer. A distance of 11m would remain from the rear of the house to the garden boundary, which I would consider would be sufficient to prevent any serious loss of privacy to the garden. Therefore I do not consider that this proposed extension would be contrary to the SPG and would not result in a seriously detrimental impact on the neighbouring residents in terms of loss of privacy or overlooking.

RECOMMENDATION:

Approve Subject to the following Conditions

1.	Standard Condition A01 Five year time limit

2.	The facing materials to be used for the walls and roof of the development shall be the same type, colour and texture as those of the existing building, unless otherwise agreed in writing by the Director of Development Services.

(Reasons)

1.	Standard Reason R000 Section 91

2.	Standard Reason R007A Development-existing building

APPLICATION No:	04/47821/COU

APPLICANT:	Migratio Ltd

LOCATION:	7 Barton Road Worsley

PROPOSAL:	Continued dual use of the premises as Class A1 (retail) and Class A2 (property consultancy)

WARD:	Worsley BoothstownWorsley Boothstown:04/47821/COU:7 Barton Road Worsley

DESCRIPTION OF SITE AND PROPOSAL

This application relates to the ground floor of 7 Barton Road, Worsley. The application site is within the Worsley Village Conservation Area. To the east is the Bridgewater canal. The surrounding area is mixed use, comprising residential and commercial properties.

The proposal  seeks to retain the use dual use of the premises for classes A1 and A2.  The front of the shop currently operates as an interior design studio and provides for the sale of goods.  Located to the rear of the interior design element is an estate agent which operates under the name Migratio.

Limited car parking is available in this area.  None of the neighbouring properties have a formal car park although some car parking is available directly to the rear of the adjacent premises.  This particular unit has no off street provision.  Worsley Village is serviced by a public car park to the west.

CONSULTATIONS

Director of Environmental Services – No response

Worsley Village Community Association – No response

Worsley Civic Trust – No response

PUBLICITY

A site notice was displayed on 3rd March 2004

A press notice was displayed in the Advertiser 18th March 2004

The following neighbour addresses were notified:

7, 7A, 9 – 11 (o), 14 – 16 (e) Barton Road

11 Kenwood Lane

REPRESENTATIONS

I have received two letters of objection in response to the planning application publicity.  The following issues have been raised:-

Loss of A1 use

UNITARY DEVELOPMENT PLAN POLICY

Site specific policies:	none

Other policies: 	DEV1 – Development Criteria, EN11 – Protection and Enhancement of Conservation Areas

FIRST DEPOSIT DRAFT REPLACEMENT PLAN POLICY

Site specific policies: CH5/13 – Works Within Conservation Areas

Other policies: 	DES1 – Respecting Context

PLANNING APPRAISAL

Policy DEV1 outlines a number of criteria against which applications for planning permission are assessed. Of most relevance to this application is the visual appearance of the development.  Policy EN11 outlines a number of factors to which the Council will have regard when assessing applications for development within Conservation Areas. These include the improvement of existing buildings and encouraging high standards of development which are in keeping with the character of the area.

Policy CH5 of the First Deposit UDP relates to development within conservation areas, stating that such development will only be permitted where it would preserve or enhance the character or appearance of the area. Regard will be had to a number of criteria, including the standard of design. Policy DES1 requires development to contribute to local identity and distinctiveness. In assessing whether a proposal complies with this policy, regard will be had to a number of factors, including the relationship to existing buildings and the scale of the proposed development.

The letters of objection received in response to the application publicity refer to the loss of a class A1 general shop within the village.

With regard the conservation area, the proposal does not seek to alter the external appearance of the building or the hours of operation, therefore, I am of the opinion that the proposal would not detract from the special character of the area.  I am also of the opinion that the external appearance of the property is similar to those neighbouring.

Worsley Village is not identified as a retail centre in any of the developments plans as such it is not afforded the protection of retail policies, however, as this proposal provides for a dual use, providing class A1 to the front of the premises I do not accept that the use would result in a lack of A1 provision.  There are no traffic restrictions outside the premises on Worsley Road.  Furthermore, Worsley Village is serviced by a public car park to the west.  I have no highway objection, as such I am satisfied that the continued dual use without would not be detrimental to highway safety.

In conclusion, and subject to the following condition, I can see no reason why this application should be refused.

RECOMMENDATION:

Approve Subject to the following Conditions

1.	The permission hereby approved shall relate to the front element of the ground floor for Class A1 (retail) at a depth of 5.51m as measured from the shop frontage and the rear of the ground floor for Class A2 (consultancy) at a further depth of 3.71m

(Reasons)

1.	In accordance with the applicants stated intentions

APPLICATION No:	04/47708/DEEM3

APPLICANT:	Housing Services Directorate

LOCATION:	Seedley West Specifically Referring To Alleys Between Seedley Park Road/Langton Street And Goulden Street Salford 6

PROPOSAL:	Erection of 2.3m - 2.4m high railings and pedestrian gates to provide security to alleyways

WARD:	LangworthyLangworthy:04/47708/DEEM3:Seedley West Specifically Referring To Alleys Between Seedley Park Road/Langton Street And Goulden Street Salford 6

DESCRIPTION OF SITE AND PROPOSAL

The application relates to four alleyways that provide access to the rear of eight rows of terraced properties that back onto each other.  The proposal is to erect 2.3-2.4m high railings and pedestrian gates at each of the eight entrances.

The railings and gates would be of a decorative railing type design and are being proposed for security reasons. The proposal affects a right of way – the applicant has indicated that a highway closure is in the process of being obtained.

SITE HISTORY

None relevant.

CONSULTATIONS

Ramblers Association – 				No objection

Peak and Northern Footpaths Society –		No comments received

The Greater Manchester Pedestrian Assoc. – 	No comments received

The Open Spaces Society -				No comments received

PUBLICITY

Site notices were displayed on 16th February 2004

A press notice was published on 18th February 2004

The following neighbour addresses were notified:

87-113(odd), 143-163(odd) Seedley Park Road

2-68(even), 67-83(odd) Langton Street

1-65(odd) Goulden Street

571, 512-518(even), 502-510(even) Liverpool Street

1 & 2 Emmeline Frange

REPRESENTATIONS

I have received two letters of objection in response to the planning application publicity.  The objectors are of the opinion that no railings should be erected prior to agreement from local residents that they do not dump rubbish outside their back doors.  They explain that cleaners currently have access to the alleys but this would be removed if the railings are erected.

UNITARY DEVELOPMENT PLAN POLICY

Site specific policies:	H7/2 – Housing Area Improvement and Renewal – Langworthy and Seedley

Other policies:		DEV1 – Development Criteria

DEV4 – Design and Crime

REVISED DEPOSIT DRAFT REPLACEMENT PLAN POLICY

Site specific policies: None.

Other policies:	DES1 – Respecting Context

DES11 – Design and Crime

PLANNING APPRAISAL

Unitary Development Plan policy DEV1 identifies a number of issues that should be taken into account when determining planning applications, these include the visual appearance of the development and its relationship to its surroundings. With respect to DEV1, I consider that the proposed railings and gates would not be visually obtrusive in these locations, providing that they are colour-treated.

With regards to policy DEV4, I consider that the proposed sections of fencing would provide increased security for the residents living in this area. The policies of the First Deposit Draft Replacement UDP are broadly similar to that of the adopted plan in respect of this development.

The Director of Environmental Services has indicated that the machinery used for sweeping the rear alleys would still be able to gain access through the single pedestrian gates due to the narrow width of the machines.  Therefore, the cleaning of the alleyways would not be affected by the proposal

I consider that the design and height of the proposed railings is of a quality and standard that is appropriate for a residential area. I consider that the proposals would assist in the reduction of crime and fear of crime for residents. I have no objection to the proposals on highway grounds.

RECOMMENDATION:

Approve Subject to the following Conditions

1.	Standard Condition A01 Five year time limit

2.	The railings and gates hereby approved shall be treated in a colour which is to be agreed in writing prior to the commencement of the development by the Director of Development Services.

3.	No development shall commence until the required consents for the closing of the public right of way have been obtained.

4.	The gates hereby approved shall open inwards only.

(Reasons)

1.	Standard Reason R000 Section 91

2.	Standard Reason R004A Amenity-area

3.	Standard Reason R019 Avoidance of Doubt

4.	Standard Reason R015A Safety-users of highway

Note(s) for Applicant

1.	The decision to grant planning permission has been taken having regard to the policies and proposals in the City of Salford Unitary Development Plan set out below, and to all relevant material considerations, including Supplementary Planning Guidance. There are no other material planning considerations that outweigh this finding:

DEV1 - Development Criteria

DEV4 - Design and Crime

APPLICATION No:	04/47808/DEEM3

APPLICANT:	Housing Services Directorate

LOCATION:	Alleys Affecting 2-20 Seedley ViewRd,1-23;2-26  Wychbury St,1-25,2-34 Deyne St,1-33 Lyndhurst St,22-30,34-46 Seedley Park Rd And 166-168 Derby Road Salford 5

PROPOSAL:	Erection of metal gates at alley ends

WARD:	LangworthyLangworthy:04/47808/DEEM3:Alleys Affecting 2-20 Seedley ViewRd,1-23;2-26  Wychbury St,1-25,2-34 Deyne St,1-33 Lyndhurst St,22-30,34-46 Seedley Park Rd And 166-168 Derby Road Salford 5

DESCRIPTION OF SITE AND PROPOSAL

The application relates to rear alleyways located between Seedley View Road, Wychbury Street, Deyne Street and Lyndhurt Street.  The proposal is to erect 2.1-2.4m high vehicular and pedestrian gates at each of the 13 access points.

The railings and gates would be of a decorative railing type design and are being proposed for security reasons. The proposal affects a right of way – the applicant has indicated that a highway closure is in the process of being obtained.

CONSULTATIONS

Ramblers Association – 				No objection

Peak and Northern Footpaths Society –		No comments received

The Greater Manchester Pedestrian Assoc. – 	No comments received

The Open Spaces Society -				No comments received

PUBLICITY

Site notices were displayed on 1st March 2004

A press notice was published on 18th March 2004

The following neighbour addresses were notified:

1-33 (odd) Lyndhurst Street

166-178 (even), 186 and 188 Derby Road

22-46 (even) Seedley Park Road

2-34 (even) 1-25(odd) Deyne Street

2-26(even) 1-23(odd) Wychbury Street

2-20 (even) Seedley View Road

REPRESENTATIONS

I have received one letter of objection in response to the planning application publicity.  The objectors state that they do not want closure but no reasons are given.

UNITARY DEVELOPMENT PLAN POLICY

Site specific policies:	H7/2 – Housing Area Improvement and Renewal – Langworthy and Seedley

Other policies:		DEV1 – Development Criteria

DEV4 – Design and Crime

REVISED DEPOSIT DRAFT REPLACEMENT PLAN POLICY

Site specific policies: None.

Other policies:	DES1 – Respecting Context

DES11 – Design and Crime

PLANNING APPRAISAL

Unitary Development Plan policy DEV1 identifies a number of issues that should be taken into account when determining planning applications, these include the visual appearance of the development and its relationship to its surroundings. With respect to DEV1, I consider that the proposed railings and gates would not be visually obtrusive in these locations, providing that they are colour-treated.

With regards to policy DEV4, I consider that the proposed sections of fencing would provide increased security for the residents living in this area. The policies of the First Deposit Draft Replacement UDP are broadly similar to that of the adopted plan in respect of this development.

I consider that the design and height of the proposed railings is of a quality and standard that is appropriate for a residential area. I consider that the proposals would assist in the reduction of crime and fear of crime for residents. I have no objection to the proposals on highway grounds.

RECOMMENDATION:

Approve Subject to the following Conditions

1.	Standard Condition A01 Five year time limit

2.	The gates hereby approved shall be treated in a colour which is to be agreed in writing prior to the commencement of the development by the Director of Development Services.

3.	No development shall commence until the required consents for the closure of the public right of way have been obtained.

4.	The gates hereby approved shall open inwards only

(Reasons)

1.	Standard Reason R000 Section 91

2.	Standard Reason R004A Amenity-area

3.	Standard Reason R019 Avoidance of Doubt

4.	Standard Reason R015A Safety-users of highway

Note(s) for Applicant

1.	The decision to grant planning permission has been taken having regard to the policies and proposals in the City of Salford Unitary Development Plan set out below, and to all relevant material considerations, including Supplementary Planning Guidance. There are no other material planning considerations that outweigh this finding:

DEV1 - Development Criteria

DEV4 - Design and Crime

2.	This approval relates to the amended plans received on 18th March 2004 and which show the relocation of Gate 2.