APPLICATION No:	06/52043/FUL

APPLICANT:	Hochtief PPP Solutions

LOCATION:	Harrop Fold School Hilton Lane Worsley M28 0SY

PROPOSAL:	Demolition of existing school buildings and erection of new high school together with associated creation of new vehicular access and re-landscaping of existing play and sports field

WARD:	Walkden South

AMENDMENT REPORT

Following the deferral of this application to this Special Panel Meeting, as instructed I have added a condition requiring a considerate contractors scheme. I have also added a condition requiring details of the proposed operation, signs & road markings, of the one-way system.

I have received one further letter since the application appeared at Panel on the 20th April. The following issues are raised and my response in italics is below each point:

o	PANEL Members should visit the site before making a decision

o	A matter for the members of the Panel. .

o	There has been no consultation over the scheme prior to this application being submitted.

o	This does not contravene any planning policy. Consultation has been carried out with the planning application.

o	Floodlighting may cause pollution to nearby houses and would not want this as a condition rather would want this resolving before development is granted.

o	A condition has been appended regarding lighting levels.

o	General public should not be allowed to mix with children unless appropriate security checks are undertaken.

o	Security of children is outside of the planning framework and is taken care of by separate legislation. Community use of the facilities provided at the site is however in accordance with policy EHC1 and R1.

o	One way system will interfere with access to garages to rear of houses on Hilton Lane. Access should be maintained.

o	A condition has been appended to ensure access is maintained.

The text of my original report is set out below.

DESCRIPTION OF SITE AND PROPOSAL

The Harrop Fold School site is located to the east of (behind) 53 – 145 Hilton Lane and to the west of Hyde Road, Hyde Grove, Parsonage Road and St Georges School, Little Hulton. The school site is predominantly surrounded by residential properties. There are several trees around the edge of the site. The site is also bounded by railway lines to the north and south, the site slopes from the north to the south. The existing school buildings stand at the northern or higher part of the site. There is one existing singular vehicular access from Hilton Lane that runs between 71 and 73 Hilton Lane.

Full planning permission is sought for the erection of a replacement two storey high school. The new school will house 1300 pupils, the existing school accommodating 800 pupils. Vehicular access is proposed on a one way system with vehicle ingress sought between 111 and 113 Hilton Lane and vehicular egress between 71 and 73 Hilton Lane. One all weather pitch is proposed along with; one rugby pitch, one senior football pitch, one junior football pitch and a multi-use games area.

SITE HISTORY

In 1996, planning permission was granted for the erection of two storey link block and annexe block extensions to existing school (96/35010/DEEM3)

In 1999, planning permission was granted for the erection of a 2.4m high boundary fence (99/40007/DEEM3)

In 2001, planning permission was granted for the erection of two infill extensions to school courtyard with alterations to existing alterations (01/42445/DEEM3)

In 2001, planning permission was granted for the removal of existing post and panel fencing and erection of 2.1m high palisade fencing (01/42999/DEEM3)

In 2003, outline planning permission was granted for the erection of a 1300 place replacement high school (03/46717/OUT)

CONSULTATIONS

Director of Environmental Services – No objections subject to conditions regarding site investigation and extraction units.

GM Police Architectural Liaison Unit – Advises that 2 sets of gates should be provided at each entrance, and integrated alarm system should be provided, doors should open outward, glazing should be a minimum of 7.5mm laminated, lighting should be installed around the parking areas and additional fencing should be erected around the playing fields.

GM Police Traffic Management Unit/Casualty Reduction Unit – State they have visited the site, studied the accident data for the location and have no concerns or objections to the proposed scheme.

Environment Agency – No objection subject to imposition of a condition requiring surface water drainage works.

United Utilities – No objections subject to the site being drained on a separate system and that the developer should agree drainage details with united utilities.

Sport England – No objections subject to conditions requiring interim sports provision, the playing fields are laid out as stated in the submission and Sport England Design Guidance be applied.

GMPTE – Site is well served by public transport and a bus drop off area within the school grounds would enhance public transport provision to and from the school.

PUBLICITY

Site notices were displayed on 17th February 2006

A press notice was published on 9th February 2006

The following neighbour addresses were notified:

53 – 147 & 55A odd Hilton Lane

1 – 29 odd, 6 –26 even Hyde Road

1 – 11 odd, 2 –12 even Hyde Drive

7 – 17 odd Parsonage Drive

St Georges School, Parsonage Drive

19 – 31 odd, 14 – 20 even Cricklefield Lane

2 West Avenue

16 Hill Top Road

REPRESENTATIONS

I have received nine letters of objection in response to the planning application publicity.  The following issues have been raised:-

Dangerous Access

Local on street parking as not enough parking spaces are proposed

Proximity of school to residential boundary fence and loss of privacy

Drainage Issues

Lack of information on perimeter fencing

Construction traffic will cause problems on Hilton Lane

CCTV should be introduced to reduce risk of vandalism and anti-social behaviour on school grounds

Lighting should not impact upon residential amenity

Noise and pollution problems as a result of the development

Concern over robustness of transport assessment

REGIONAL SPATIAL STRATEGY

UR1 Urban Renaissance

UR2 Inclusive Social Structure

ER13 Renewable Energy and Energy Efficiency

UNITARY DEVELOPMENT PLAN POLICY

Site specific policies: 	n/a

Other policies: 	SC4 Improvement/Replacement of Schools

R1 Protection of Recreation Land and Facilities

DEV1 Development Criteria

REVISED DEPOSIT DRAFT REPLACEMENT PLAN POLICY

Site specific policies: 	n/a

Other policies: 	EHC1 Provision and Improvement of Education, Heath and Community Facilities

DES1 Respecting Context

DES2 Circulation and Movement

A1 Transport Assessments and Travel Plans

DEV5 Planning Conditions and Obligations

R1 Protection of Recreation Land and facilities

PLANNING APPRAISAL

Policy SC4 explains the Council will endeavour to provide improved and replacement school facilities subject to availability of adequate resources. The policy seeks to ensure that the condition of school buildings and infrastructure is compatible with current requirements. In cases where existing recreation land is proposed to be developed Policy R1 explains planning permission would not normally be granted unless an equivalent replacement site is provided. Policy ECH1 also promotes the improvement of schools as long as sports provision is maintained on site and residential amenity and environmental quality is not harmed as a result. This policy also requires that access be available from a wide range of transport modes.

DEV1 lists a number of criteria that any development must have regard to. Included are the size and density of buildings, neighbouring amenity, access arrangements, parking and landscaping. DES1 explains the Council will seek to ensure development respects the character of the local area with respect to buildings, landscaping and to have a general high standard of design. Policy A1 requires that a travel plan be submitted where appropriate to ensure access by other means than the private car whilst Policy DEV5 allows this to be controlled through the imposition of conditions. Policy DES2 requires design and layout of development is such that conflicts between users of the highway are minimised.

Principle of Development and Sport England

I consider the principle of a new school to be in accordance with policies SC4 and ECH1.  The principle has also been approved under the outline consent and this proposal does not seek to increase pupil numbers over the 1300 previously approved. The provision of sports pitches at the site needs to accord with policies R1 and ECH1. These policies require that sports provision should be within the existing site. Sport England have commented that the proposed sports pitch’s including an all weather pitch is acceptable as such a pitch would provide increased usage throughout the year. Sport England require interim arrangements for sports pitches to be introduced. I recommend a condition be attached to require a scheme to be submitted detailing temporary sports provision. I consider the proposal is in accordance with policies R1 and ECH1.

Siting and Design

Policies within both UDP’s, DEV1, DES7 and ECH1 seek to maintain residential amenity and ensure a high standard of design. The school has been designed and sited adjacent toward the centre of the site, according to the applicant, so as to cause minimal impact upon the openness of the site. I have received objection from occupiers of Hilton Lane over the proximity of the school and parking areas to their properties. The nearest residential units to the proposed school are on Hilton Lane, the nearest house being 66m from the proposed two storey school and the nearest garden area being 30 metres away from the proposed school. The parking areas adjacent to the one way access road are at a minimum of 8 metres from the rear gardens of Hilton Lane, landscaping can help to mitigate any visual impacts of such parking. I consider these distances comply with the Council’s standard separation distances and I also consider the proposal would not result in a loss of residential amenity by way of loss of privacy, sunlight and daylight.

The two storey building has an E-shape plan layout. The elevations are composed of a mixture of brick, metal cladding and blue-grey render with a metal gentle sloping roof. I consider the general ethos of the design to be acceptable.  However I would recommend a condition is attached to seek further detailed design of the elevations to include details of window and door reveals, and detail on how the roof joins the walls of the building.

I have received objection to the scheme on the basis of youths congregating around the perimeter of the site. The Architectural Liaison Officer has recommended 2.7m high railings around the perimeter of the site, the lamination of glass and internal shutters to the ground floor windows, along with a lighting scheme. The submitted scheme includes 2.4m high railings around the perimeter of the site and whilst I am satisfied that the proposed siting and height of the railings would resolve the objection I am not satisfied with the proposed triple prong industrial style fencing. I recommend a condition be attached to require detail of railings, lighting scheme and the schemes compliance with secure by design principles be submitted for approval. Subject to such conditions I consider the scheme complies with the Councils design based policies.

Resource Conservation

The applicant has stated the proposed building has been designed to minimise the impact upon the environment including use of materials that have low embodied energy and are from renewable resources and a design that achieves optimum energy efficiency which results in minimum carbon dioxide emissions. The applicant states this approach is being continually re-visited. No specific measures have been identified, as such I recommend  a condition relating to sustainable construction, energy efficiency and  resource conservation be attached.

Access, Highways and Parking

Concern has been raised by local residents and the board of governors of the school over matters of traffic safety particularly at the proposed vehicle egress between 111 and 113 Hilton Lane. Concern is also expressed over a lack of on site parking. The Council’s Highway engineer and the GM Police traffic management unit do not object to the proposed access arrangements. I understand from the Director of Children’s Services that the Board of Governors, following a meeting with GM Police traffic management unit are now satisfied with the proposed vehicle access arrangements to the school.

I consider across the whole site the proposed 82 parking spaces, including 4 disabled spaces, is appropriate with regard to current maximum parking standards. Pedestrian and pupil access will be possible between 111 and 113 Hilton Lane and 71 to 73 Hilton Lane. I am satisfied that segregated pupil access to the school would be provided in accordance with policies DEV1 and DES1.  In addition my recommendation is subject to the applicant providing and implementing a travel plan for staff and students.

Trees and Landscaping

The submitted tree survey and arboricultural statement advises that 43 trees would be removed. Five of the trees are proposed to be removed due to their condition, which I am satisfied is appropriate. The other 38 trees are to be lost to accommodate the development; 3 for site access, 11 for the siting of the new school and 24 for the siting of hard play areas and sports pitches. I consider that most of these trees are not significant in the landscape and that the indicative tree planting can mitigate the proposed loss of trees. Replacement trees would be planted throughout the site, however I consider a landscaping condition requiring a detailed landscaping scheme and methods of construction around retained trees should be attached. I consider this is acceptable with regard to policies EN7 and EN10.

Drainage

Objection has been raised to development if existing flooding to rear gardens along Hilton Lane occurs. The site slopes from the north down to the south and I consider a condition should be attached to ensure measures are in place to safeguard these gardens from flooding.

CONCLUSION

I consider the application to be in accordance with policies in the UDP’s to improve educational facilities. I also consider the proposed siting and access of the development satisfactorily addresses issues of residential amenity, traffic safety, trees, landscaping and sports provision.  I recommend approval subject to the following conditions.

RECOMMENDATION:

Approve Subject to the following Conditions

1.	Standard Condition A03 Three year time limit

2.	No development shall be started until samples of the facing materials to be used for the walls and roofs of the development have been submitted to and approved in writing by the Local Planning Authority.  The development shall be undertaken using the approved materials, unless otherwise agreed in writing by the Local Planning Authority.

3.	Within one month of the first occupation of the school hereby approved the applicant shall submit a travel plan for the approval of the Local Planning Authority. The travel plan shall include details on safer routes to school measures for students and parents and shall also include measures for sustainable travel to and from work for members of staff. The plan shall also set out a timetable which shall specify when the approved measures shall be implemented by. Once approved the measures shall be implemented in accordance with the approved plan unless otherwise agreed in writing by the Local Planning Authority.

4.	The existing school shall be demolished within three months of the occupation of the replacement school.

5.	Standard Condition F04D Retention of Parking Spaces

6.	The site shall be treated in accordance with a landscape scheme which shall be submitted to and approved by the Local Planning Authority before development is started.  Such scheme shall include full details of trees and shrubs to be planted, walls, fences, boundary and surface treatment and shall be carried out within twelve months of the commencement of development and thereafter shall be maintained to the satisfaction of the Local Planning Authority.  Any trees or shrubs dying within five years of planting shall be replaced to the satisfaction of the Local Planning Authority.

7.	No development shall commence unless and until a scheme has been submitted to and approved  in writing by the Local Planning Authority, of interim arrangements for sports provision whilst the replacement school is constructed. Once approved such interim scheme shall be implemented prior to the commencement of development. Interim arrangements for sports provision shall be maintained during the construction works and shall only cease when the permanent sports provision for the replacement school has been implemented, including the artificial pitch, in accordance with the approved layout plan.

8.	No development shall be commenced unless and until a scheme(s) detailing sustainable construction techniques and energy efficiency have been submitted to and approved in writing by the Local Planning Authority. The development shall be built and maintained in accordance with the approved scheme.

9.	Notwithstanding the details shown on the submitted drawings no development shall commence until a scheme to include the detailed design of the elevations has been submitted to and approved in writing by the Local Planning Authority. Once approved the development shall be built in strict accordance with the approved scheme.

10.	Notwithstanding the details shown on the approved plans no development shall commence on site until a scheme to include the detailed design of the railings has been submitted to and approved in writing by the Local Planning Authority. Once approved the development shall be built in strict accordance with the approved scheme.

11.	No development shall be commenced unless and until a scheme detailing measures to comply with secure by design principles, has been submitted to and approved in writing by the Local Planning Authority. Once approved the development shall be implemented in accordance with the approved scheme and shall thereafter be retained.

12.	The applicant shall submit to the LPA an assessment of the impact of the proposed demolition and construction works on nearby sensitive properties. Sensitive properties are identified as residential and commercial properties around the perimeter of the site. The assessment shall include identification of Noise, Vibration, Dust, Smoke and Odour issues and shall identify mitigation measures to minimise the impact of such matters on the amenity of sensitive properties. Once agreed in writing, all mitigation measures shall be implemented and retained thereafter until the completion of the project.

13.	Any floodlighting or security lights within the curtilage of the proposed development shall be positioned and operated, so as not to cause disturbance to residential amenity, in accordance with a scheme to be submitted to the Local Planning Authority.  The lights shall not be brought into use unless and until the Local Planning Authority has approved the scheme in writing.

14.	Any floodlighting or security lights within the curtilage of the proposed development shall be positioned and operated, so as not to cause disturbance to residential amenity, in accordance with a scheme to be submitted to the Local Planning Authority.  The lights shall not be brought into use unless and until the Local Planning Authority has approved the scheme in writing.

15.	Prior to the commencement of development details for the phasing of development, including any temporary off-site provision, and the timetable for drainage, construction and provision of all outdoor sports facilities, shall be submitted to and approved in writing by the Local Planning Authority.  The development shall be carried out in accordance with the approved details.

16.	The playing field/s and pitch/es shall be constructed and laid out in accordance with the standards and methodologies set out in the guidance note "Natural Turf for Sport" (Sport England, March 2000), or any modifications thereof unless otherwise agreed in writing by the Local Planning Authority.

17.	Prior to commencement of the development details of the design and construction of the synthetic turf pitch shall be submitted to and approved in writing by the Local Planning Authority.  The design shall be in accordance with Sport England Technical Design Guidance Notes relating to design, specification and construction of Multi Use Games Areas (MUGAs) including Synthetic Turf Pitches, or any subsequent updated guidance.  The development shall be implemented in accordance with the approved details.

18.	Prior to the commencement of the use a Community Use Agreement shall be submitted to and approved in writing by the Local Planning Authority.  The Agreement shall include details of pricing policy, hours of use, access by non-school users, management responsibilities and include a mechanism for review.  The approved scheme shall be implemented upon commencement of use of the development.

19.	No development shall commence unless and until, the developer has submitted a scheme for the approval of the Local Planning Authority, to direct water run off from the site away from the rear gardens of Hilton Lane. Once approved such scheme shall be implemented prior to the first occupation of the development hereby approved.

20.	The applicant shall submit to the LPA an assessment of noise from the school which is likely to affect neighbouring sensitive properties. Sensitive properties are identified as residential and commercial properties around the perimeter of the site. The assessment shall identify specific sources of noise which may affect the amenity of such local residential properties and identify appropriate mitigation measures which will prevent the reduction of amenity from occurring. The assessment shall include any building plant and equipment associated with the school. Once approved in writing by the LPA, all identified mitigation measures shall be implemented prior to the commencement of teaching at the school and shall be retained thereafter.

21.	No development shall be commenced unless and until a scheme detailing a considerate contractors management plan for the contractor, has been submitted to and approved in writing by the Local Planning Authority. Once approved the development shall be implemented in accordance with the approved scheme and shall thereafter be retained during the course of implementing the development hereby approved.

22.	The development hereby approved shall not be occupied unless and until a scheme detailing methods to ensure a one-way system of vehicular traffic within the site, vehicle ingress between 111 and 113 Hilton Lane and vehicle egress from the site between 71 and 73 Hilton Lane, has been submitted to and approved in writing by the Local Planning Authority. Within the scheme the developer shall ensure that existing vehicular access to existing garages to the rear of houses on Hilton Lane is maintained. Once approved the development shall be implemented in accordance with the approved scheme and shall thereafter be retained during the course of implementing the development hereby approved.

(Reasons)

1.	Standard Reason R000 Section 91

2.	Standard Reason R004A Amenity-area

3.	To promote sustainable travel in accordance with policies DEV1 of the City of Salford UDP and policy A1 of the Revised Deposit Draft UDP.

4.	Standard Reason R004A Amenity-area

5.	Standard Reason R015A Safety-users of highway

6.	Standard Reason R004A Amenity-area

7.	In order to ensure sufficient sports provision in accordance with policy R1 of the Adopted City of Salford Unitary Development Plan.

8.	To ensure the development accords with policies EN17 and EN17A of the City of Salford Unitary Development Plan, Draft Replacement Plan 2004-16.

9.	To exercise an additional measure of control to safeguard the design quality of the building and amenity of the area in accordance with policies DEV 1 and DEV2 of the City of Salford Unitary Development Plan and DES1 of the Revised Deposit Draft Unitary Development Plan.

10.	Standard Reason R004A Amenity-area

11.	To ensure the development complies with the principles of secure by deisgn in accordance with policies DEV4  of the City of Salford Unitary Development Plan.

12.	Standard Reason R004A Amenity-area

13.	Standard Reason R004A Amenity-area

14.	To protect the amenities of occupiers of nearby premises in accordance with Policy EN20 of the Adopted City of Salford Unitary Development Plan and EN14 of the City of Salford UDP, Draft Replacement Plan 2004-16.

15.	: To ensure the satisfactory quantity, quality and accessibility of compensatory provision which secures continuity of use, in accordance with Policy R1 of the Adopted and Draft Replacement City of Salford Unitary Development Plan.

16.	To ensure the quality of pitches is satisfactory and they are available for use prior to development, in accordance with Policy R1 of the Adopted and Draft Replacement City of Salford Unitary Development Plan.

17.	To ensure the development is fit for purpose, subject to high quality design standards and sustainable, in accordance with Policy R1 of the Adopted and Draft Replacement City of Salford Unitary Development Plan.

18.	To secure well managed safe community access to the sports facility, to ensure sufficient benefit to the development of sport in accordance with Policy R1 of the Adopted and Draft Replacement City of Salford Unitary Development Plan.

19.	To avoid flooding of the new school and surrounding residential properties in accordance with policy DEV1 of the City of Salford Adopted Unitary Development Plan.

20.	Standard Reason R004A Amenity-area

21.	Standard Reason R004A Amenity-area

22.	Standard Reason R015A Safety-users of highway

Note(s) for Applicant

1.	The applicant's attention is drawn to the need to intercept surface water draining from the development prior to its entering the highway across a footway, to meet the requirements of Section 103 of the Highways Act 1980.

2.	The applicant's attention is drawn to the contents of the attached letter from United Utilities.

3.	The applicant's attention is drawn to the contents of the attached letter from the Environment Agency.

4.	For further discussions regarding the requirements of the Contaminated Land Condition, the applicant/developer is advised to contact the Pollution Control Section of the Environment Directorate (Tel: (0161) 737 0551

5.	Construction works shall not be permitted outside the following hours:

Monday to Friday    08:00 to 18:00

Saturdays               08:00 to 13:00

Construction works shall not be permitted on Sundays or Bank or Public Holidays

Access and egress for delivery vehicles shall be restricted to the working hours indicated above.

6.	The applicant is advised that the requirements of all the conditions precedent must be satisfied prior to the commencement of the development. Failure to satisfy the conditions precedent renders all development unauthorised and unlawful and appropriate action may be taken by the Council.

7.	The lighting provided in the scheme should be erected and directed so as to avoid nuisance to residential accommodation in close proximity. Guidance can be obtained from the Institute of Lighting Engineers which relates to these matters (Guidance Notes for the Reduction of Light Pollution). Recommended lighting should be designed to provide a standard maintained illumination (LUX) of between 5 and 20 LUX with the lower level being the preferable one.

8.	The responsibility to properly address contaminated land issues, including safe development, irrespective of any action taken by this authority, lies with the owner/developer of the site. The applicant/developer is requested to contact the Council's Environmental Protection Unit as soon as is practicable should contamination be encountered during development of the site. Historical map searches have identified a former potentially contaminative use (i.e. may be a former industrial use, an infilled feature such as a pond etc.) that may effect the development of the site. You need to ensure that your builder and the building control officer dealing with the developer are aware of this so that appropriate precautions can be taken to protect the developer, the public, the environment and the future occupants from contamination issues.

For further discussions regarding the requirements of the Contaminated Land Advisory, the applicant/developer is advised to contact the Environmental Protection Team in the Environment Directorate (Tel: 0161 737 0551).

9.	The applicant should contact the Commercial Services team for discussions and advice on the layout, design and procedures undertaken by the proposed use prior to the commencement of the business. Commercial Services can provide such advice concerning matters relating to the Food Safety Act and the Health & Safety at Work etc Act. For further advice please contact 0161 737 0551.

10.	I would wish to draw the applicants attention to both the WHO guidelines for community noise in specific noise environments - Published 1999 and also the indications of BB87 - Guidelines for Environmental Design in Schools ISBN 0-11-271013-1. These documents advise recommended internal levels for teaching environments.