| Part one | ITEM NO. |
| --- | --- |

REPORT OF THE

# DIRECTOR OF CORPORATE SERVICES

To the: QUALITY & PERFORMANCE SCRUTINY AUDIT SUB COMMITTEE

On:	Monday 1st September 2003

TITLE: ENERGY MANAGEMENT ACTIVITY – JUNE TO AUGUST 2003

RECOMMENDATIONS:
Members are asked to note the level of savings being achieved and identified by the group.

EXECUTIVE SUMMARY:
The purpose of this report is to inform members of the energy audit activity undertaken by Business Risk and Control for the period June to August 2003 inclusive.

BACKGROUND DOCUMENTS:

## None

ASSESSMENT OF RISK:

## The Energy Audit Strategy and programme of reviews has been compiled following a robust risk assessment of the energy and environmental management issues facing the Authority.

THE SOURCE OF FUNDING IS:

## Within existing revenue budgets ,with a contribution to savings and budget strategy.

LEGAL ADVICE OBTAINED:

## N/A

FINANCIAL ADVICE OBTAINED:

## Ongoing consultation with the Head of Finance.

CONTACT OFFICER:

## Jim Gosney – Energy Manager        0161 793 3472

WARD(S) TO WHICH REPORT RELATES:

## All

KEY COUNCIL POLICIES:

## Energy and Environmental Strategy

DETAILS:

See attached report

Energy Audit activities undertaken during the period June 2003 to August 2003 are detailed as follows: -

- ELECTRICITY & GAS PURCHASING

An additional 18 sites have been added to main electricity contract with Scottish Power. The savings to be achieved via this transfer will be in the region of £7,000 per annum.

- ENERGY SAVINGS ACHIEVED

Implemented Energy Savings, through purchasing, tariff analysis and water audits amount to £94,785 for the year to date. Refunds for the amount of £76,100 have also been achieved and cheques from the various suppliers received.

We are pleased to report that audits have been conducted at Light Oaks Primary School, St Mary’s C E Primary School, St Luke’s R C Primary School, Belvedere Early Years Centre and Cadishead Primary School. The Recommendation summaries for these reports are attached at Appendix A.

- SURFACE WATER/HIGHWAY DRAINAGE CHARGES

A number of audits are currently in place in relation to the surface water/highway drainage charges. This charge is an additional separate annual charge levied by the water companies for all metered accounts, and is based on the old Rateable Value of the property.

Business Rateable Values replaced these Rateable Values with effect from April 1990. Therefore, any changes in the Business Rates, due to physical alterations, or splits and mergers of particular sites means that the old Rateable Value is no longer appropriate. In these circumstances a request can be made to the water companies for the rateable value to be amended accordingly.

United Utilities, the water company for all the City of Salford sites, have introduced a method to calculate the correct charging value for their surface/water highway drainage accounts, enabling Energy Audit to accurately assess the correct charges.  If the calculated Rateable Value, for sites that have had physical alterations, is less than that being utilised by United Utilities, then a request can be made for this to be amended and applied retrospectively.

The first of this type of saving has been achieved at St Mary’s C E Primary School, resulting in a refund of £2,281.32 and a 38.29% reduction in the ongoing surface water/highway drainage charges.

4.	ENVIRONMENTAL BENEFITS OF ENERGY AUDIT ACTIVITIES

| Premises | Date Report Issued | Potential Savings (Annual) | CO2 Reduction (Tonnes) |
| --- | --- | --- | --- |
| Seedley Primary School | 01/03/01 | £4,646 | 9.29 |
| Langworthy Rd Primary School | 26/03/01 | £2,940 | 5.88 |
| St Pauls C E Primary School | 01/06/01 | £3,350 | 6.70 |
| St Marks R C Primary School | 18/06/01 | £3,395 | 6.8 |
| Monton Green Primary School | 27/06/01 | £2,480 | 4.96 |
| Libraries | 03/08/01 | £23,629 | 47.3 |
| Christ The King RC Primary | 10/08/01 | £3,608 | 7.2 |
| St Gilberts RC Primary | 27/03/02 | £1,843 | 36.9 |
| Lowe Lower Kersal PS | 22/05/02 | £9,512 | 11.9 |
| Lark Lark Hill Primary | 23/05/02 | £5,365 | 10.73 |
| St Lukes Primary | 23/05/02 | £2,040 | 4.08 |
| St Boniface RC Primary | 23/05/02 | £1,360 | 2.72 |
| Civic Centre | 14/08/02 | £4,870 | 61.0 |
| Canon Williamson High School | 11/07/02 | £3,665 | 52.0 |
| St Ambrose Barlow High School | 11/07/02 | £4,955 | 52.0 |
| Irlam Primary School | 18/07/02 | £1,905 | - |
| Broughton Resource Centre | 09/09/02 | £4,217 | 32.8 |
| Worsley Courthouse | 21/10/02 | £11,104 | - |
| Ingleside | 09/12/02 | £1,880 | - |
| St Philip’s RC Primary | 06/02/03 | £1,107 | - |
| Clarendon Recreation Centre | 07/02/03 | £5,500 | 83.1 |
| Pendlebury Recreation Centre | 07/02/03 | £4,130 | 62.1 |
| Broughton Pool | 07/02/03 | £9,785 | 101.7 |
| Eccles Recreation Centre | 07/02/03 | £5,645 | 83.9 |
| Worsley Pool | 19/02/03 | £13,870 | 210.6 |
| Irlam Pool | 19/02/03 | £3,995 | 56.1 |
| Belvedere Early Years Centre | 24/06/03 | £2,861 | 30.3 |
| St Mary’s C E Primary School | 11/07/03 | £3,614 |  |
| St Luke’s R C Primary School | 17/07/03 | £5,648 |  |
| Light Oaks Primary School | 03/07/03 | £1,040 | 11.7 |
| Cadishead Primary School | 02/09/03 | £3,044 |  |
|  |  | £157,003 | 991.76 |

SUMMARY OF RECOMMENDATIONS

BELVEDERE EARLY YEARS CENTRE

| No Cost Measures |  | Saving KWh | Saving £ | CO2 Tonne |  |
| --- | --- | --- | --- | --- | --- |
|  | Lighting – Encourage staff to switch off lights in unoccupied rooms |  | 2,334 (elec) | £ 150 | 1 |  |
|  | Add electricity supply to the main City of Salford contract |  |  | £ 452 |  |  |
|  | Change times on Heating |  | 58,773 (gas) | £ 734 | 11.2 |  |
|  | Isolate Heating Pumps in the summer |  | 20,576 (gas) | £ 257 | 3.9 |  |
|  |  |  | 81,683 | £1,593 | 16.1 |  |

| Low Cost Measures (In order of pay-back up to £6,000) | Budget Cost £ | Saving KWh | Saving £ | CO2 Tonne | Payback Years |
| --- | --- | --- | --- | --- | --- |
|  | Install TRV’s where appropriate | £ 300 | 8,038 (gas) | £100 | 1.5 | 3 years |
|  | Install Water Saving Device’s | £ 419.50 | 236 m3 | £334 |  | 1year 3 months |
|  | Consider replacing heating controls and relocate Frost and Room Stats. | £2,000 | 66,811 (gas) Improved comfort levels | £834 | 12.7 | 1year 9 months |
|  |  | £2,719.5 |  | £1,268 | 14.2 | 2 years 2 months |

| Summary - all measures | Budget Cost £ | Saving KWh | Saving £ | CO2 Tonne | Pay-back |
| --- | --- | --- | --- | --- | --- |
|  | Total | £2,719.50 | 156,532 kWh 236 m3 | £2,861 | 30.3 | 2 years 2 mnths |

ST MARY’S C E PRIMARY SCHOOL

| No Cost Measures | Refund £ | Ongoing Saving £ |
| --- | --- | --- |
|  | Amendment of surface water RV | £2,281.32 | £582.33 |

| Low Cost Measures | Saving M3 | Saving £ | Installation Cost | Payback Period |
| --- | --- | --- | --- | --- |
|  | Installation of push taps (retro fit) | 696m3 | £983 | £945 | 11.53 months |
|  | Urinal Controls | 205m3 | £290 | £474 | 19.61 months |
|  | Cistern Dams | 42m3 | £60 | £119 | 23.95 months |
|  | Total | 943m3 | £1,333 | £1,538 | 13.85 months |

ST LUKE’S R C PRIMARY SCHOOL

| RECOMMENDATION | Saving M3 | Saving £ | Installation Cost | Payback Period |
| --- | --- | --- | --- | --- |
|  | Installation of push taps (retro fit) | 530m3 | £750 | £720 | 11.53 months |
|  | Installation of Cistern Dams | 45m3 | £63 | £125 | 24 months |
|  | Installation of Urinal Controls | 431m3 | £608 | £474 | 9.35 months |
|  | Transfer Electricity Supply to Scottish Power |  | £2,991 |  |  |
|  | Reduce the Available Capacity |  | £1,236 |  |  |
|  | Total | 859m3 | £5,648 | £1,319 | 3 months |

###### LIGHT OAKS PRIMARY SCHOOL

| RECOMMENDATION | £ Saving | KWh | CO2 Tonne | £ Cost | Pay back years |
| --- | --- | --- | --- | --- | --- |
|  | Lights – encourage staff and pupils to switch off lights in unoccupied rooms | £500 | 8,200 elec | 3.5 | £0 | Immediate |
|  | Heating Control – fine tune settings | £200 | 12,600 gas | 3.1 | £0 | Immediate |
|  | Canteen– heating and lighting, presence and temperature control | £140 | 8,600 gas | 2.1 | £650 | 4.7 |
|  | Relocating the internal temperature sensors from the Junior Hall and Infant corridor into north facing classrooms | £200 | 12,400 gas | 3.0 | £900 | 4.5 |
|  | Totals | £1,040 | 41,800 | 11.7 | £1,550 | 1.5 |

###### CADISHEAD PRIMARY SCHOOL

| RECOMMENDATION | Reduction | Saving £ | Installation Cost | Payback Period |
| --- | --- | --- | --- | --- |
|  | Installation of push taps (retro fit) | 530 m3 | £750 | £720 | 11.53 months |
|  | Installation of Cistern Dams | 38m3 | £53 | £106 | 24 months |
|  | Installation of Urinal Controls | 450 m3 | £645 | £711 | 13 months |
|  | Transfer Electricity Supply to Scottish Power |  | £1,266 |  | Immediate |
|  | Switch lights off when rooms unoccupied | 7,448 kWh | £330 |  | Immediate |
|  | Total |  | £3,044 | £1,537 | 6 months |

- mount that climate change is occurring.

- Climate change will have far reaching effects on the UK’s economy, society and environment.