| PART ONE | ITEM NO 5 |
| --- | --- |

REPORT OF THE

# DIRECTOR OF CORPORATE SERVICES

To the: QUALITY AND PERFORMANCE AUDIT SCRUTINY COMMITTEE

On:	Monday 7 th June 2004

TITLE: ENERGY MANAGEMENT ACTIVITY –April 2004 To May 2004

RECOMMENDATIONS:

Members are asked to note the level of savings being achieved and identified by the group.

EXECUTIVE SUMMARY:
The purpose of this report is to inform members of the energy audit activity undertaken by Audit & Risk Management Unit for the period April 2004 to May 2004 inclusive.

BACKGROUND DOCUMENTS:

## None

ASSESSMENT OF RISK:

## Energy Audit activities form an integral part of the City Council’s risk Management Strategy aimed at giving assurance regarding the management of the City Council’s key business risks.

THE SOURCE OF FUNDING IS:

## Existing revenue budget.

LEGAL ADVICE OBTAINED:

## N/A

FINANCIAL ADVICE OBTAINED:
Ongoing consultation with the Head of Finance

CONTACT OFFICER:

Jim Gosney – Energy Manager        0161 793 3472

WARD(S) TO WHICH REPORT RELATES:

## N/A

KEY COUNCIL POLICIES:

## Environmental Strategy

DETAILS:   See attached report

Energy Audit activities undertaken during the period April 2004 to 31st May 2004 are detailed as follows: -

- GAS PURCHASING

The Gas contract for all the council premises, has now been completed. The lowest tender for this contract was accepted at committee.

We are pleased to confirm that nationally the overall increase in gas prices has been of the order of 20% - 30%, however, the actual increase for this contract has been limited to 12.5%.

The contract will commence 1 June 2004 for a two year period. The new supplier has agreed that any new sites can be added to the contract. They are also interested in electronic data interchange with Salford City Council.

- ENERGY SAVINGS ACHIEVED

Implemented Energy Savings, through purchasing, tariff analysis and water audits amount to £ 4,541.96 for the year to date. Refunds for the amount of £28,539.19 have also been achieved and cheques from the various suppliers received.

We are pleased to report that audits have been conducted at St George’s RC High School, Wentworth High School, St Andrews CE Primary School and Wharton Primary School.

The Recommendation summaries for the reports issued are attached in Appendix A.

Energy Audits are also being conducted at St George’s Day Centre, St Paul’s CE Primary School, Westwood Park Primary School, St Andrews (Boothstown) Primary School, Bradshaw EYC,

An energy and environmental audit is also being conducted at Walkden High School.

3.	THE EDUCATION BROKERAGE

We are pleased to report that, following external assessment, we are one of only two of the partners involved in the brokerage, to receive a Five Star rating,

The following table details Energy Audit’s individual rating for each of the categories involved in the assessment: -

| CATEGORY | RATING | DESCRIPTION |
| --- | --- | --- |
| Viability | 5 | Financial standing, existing and relevant customer base / track record |
| Choice of Services | 5 | Flexibility of packages / menu of options - schools can exercise choice over level, volume and amount spent |
| Partnership Working | 5 | Clear understanding of respective responsibilities of school and supplier, timely information to aid effective school planning, proactive approach to match individual and changing school needs |
| Clarity of Services | 4 | Comprehensive yet clear specification, service level agreement setting out what will be provided, by whom and the responsibilities of schools and supplier |
| Quality Assurance | 5 | Customer care, complaints procedures, systems for monitoring feedback from users, performance targets / service standards, dispute procedures for under-performance - information is provided in a way that allows schools to monitor the services they receive |
| Policies and Procedures | 5 | Health and Safety compliance and Equal Opportunities |
| Clarity of Charging | 4 | Clear / understandable rates / discounted packages available |
| Flexibility | 5 | Accuracy and process of charging, ability to terminate agreement / Contract with reasonable notice |
| References | 5 | Customer perceptions re quality of services on offer, previous relevant experience |
| Accessibility | 5 | Response times, dedicated help line, and ability to respond to emergencies |
| Cover Arrangements | 5 | Provide appropriate cover for leave / sickness whilst retaining close knowledge of customer needs, number of clients, ability access to complementary areas of support |
| Quality of Staff | 5 | Experience / qualifications, commitment to staff training and development |
| Insurance Arrangements | 5 | Adequate insurance arrangements are in place |

4.	ENVIRONMENTAL BENEFITS OF ENERGY AUDIT ACTIVITIES

| Premises | Date Report Issued | Potential Savings (Annual) | CO2 Reduction (Tonnes) |
| --- | --- | --- | --- |
| St Gilberts RC Primary | 27/03/02 | £1,843 | 36.9 |
| Lowe Lower Kersal PS | 22/05/02 | £9,512 | 11.9 |
| Lark Hill Primary | 23/05/02 | £5,365 | 10.73 |
| St Lukes Primary | 23/05/02 | £2,040 | 4.08 |
| St Boniface RC Primary | 23/05/02 | £1,360 | 2.72 |
| Civic Centre | 14/08/02 | £4,870 | 61.0 |
| Canon Williamson High School | 11/07/02 | £3,665 | 52.0 |
| St Ambrose Barlow High School | 11/07/02 | £4,955 | 52.0 |
| Irlam Primary School | 18/07/02 | £1,905 | - |
| Broughton Resource Centre | 09/09/02 | £4,217 | 32.8 |
| Worsley Courthouse | 21/10/02 | £11,104 | - |
| Ingleside | 09/12/02 | £1,880 | - |
| St Philip’s RC Primary | 06/02/03 | £1,107 | - |
| Clarendon Recreation Centre | 07/02/03 | £5,500 | 83.1 |
| Pendlebury Recreation Centre | 07/02/03 | £4,130 | 62.1 |
| Broughton Pool | 07/02/03 | £9,785 | 101.7 |
| Eccles Recreation Centre | 07/02/03 | £5,645 | 83.9 |
| Worsley Pool | 19/02/03 | £13,870 | 210.6 |
| Irlam Pool | 19/02/03 | £3,995 | 56.1 |
| Belvedere Early Years Centre | 24/06/03 | £2,861 | 30.3 |
| St Mary’s C E Primary School | 11/07/03 | £3,614 | - |
| St Luke’s R C Primary School | 17/07/03 | £5,648 | - |
| Light Oaks Primary School | 03/07/03 | £1,040 | 11.7 |
| Cadishead Primary School | 02/09/03 | £3,044 | - |
| Turnpike House | 15/10/03 | £10,105 | 91.0 |
| Agecroft Cemetery | 19/11/03 | £672 | 0.4 |
| Peel Green Cemetery | 19/11/03 | £6,260 | 3.2 |
| Swinton Cemetery | 19/11/03 | £1,195 | - |
| Ellenbrook Primary School | 21/11/03 | £1,770 | - |
| All Souls Primary School | 21/11/03 | £2,066 | - |
| Springwood Primary School | 24/11/03 | £3,033 | - |
| Minerva House | 24/11/03 | £3,165 | 46.2 |
| Moorside HighSchool | 13/02/04 | £772 | - |
| James Brindley Primary School | 06/01/04 | £1,685 | - |
| Beech Street Primary School | 10/03/04 | £2,720 | 12.06 |
| St Edmunds Primary School | 09/03/04 | £2,116 |  |
| Albert Park Veterans Pavilion | 31/03/04 | £814 | 2.53 |
| Boddan Lodge Veterans Pavilion | 31/03/04 | £739 | 3.29 |
| Boothsbank Park Veterans Pavilion | 31/03/04 | £103 | - |
| Bolton Road Veterans Pavilion | 31/03/04 | £5,297 | - |
| Cadishead Veterans Pavilion | 31/03/04 | £2,211 | - |
| Charlestown Veterans Pavilion | 31/03/04 | - | - |
| St George’s RC High School | 19/03/04 | £9,007 | 46.2 |
| Wentworth High School | 22/03/04 | £10,872 | 78.6 |
| Wharton Primary School | 25/05/04 | £7,681 | 8.08 |
| St Andrew’s CE Primary School | 24/05/04 | £2,618 |  |
|  |  | £187,856 | 1,195.19 |

APPENDIX A

SUMMARY OF RECOMMENDATIONS

St GEORGES RC HIGH SCHOOL

| No cost measures |
| --- |
| Recommendation | utility saved | units saved | cost saving | co2 tonnes |
| 1 | Switch off lights in unused classrooms wherever possible. Commit to “A Whole School Approach”. | electricity | 8500 | £500 | 3.7 |
| 2 | Change heating times | oil | 40000 | £680 | 10.0 |
|  | Total |  | 48500 | £1180 | 13.6 |

| Low Cost measures |
| --- |
|  | Recommendations | utility saved | Units saved | cost saving | estimated cost | payback period | co2 tonnes |
| 1 | Shut Down one boiler during summer months | Oil | 17000 | £300 | £100 | 4 months | 4.3 |
| 2 | Maintain motorised valves so that the two heating circuits can operate individually. | Oil | 50000 | £850 | £200 | 3 months | 12.5 |
| 3 | Fit insulating boards to wall of Technology project area | Oil | 1290 | £25 | £250 | 10 years | 0.3 |
| 4 | Replace 11 remaining turn- taps with push taps. Install 35 WC Dams | Water | 284 m³ | £402 | £440 | 13 months | 0.0 |
| 5 | insulate all pipework in unheated spaces, and repair insulation in boilerhouse |  | 14000 | £250 | £1000 | 4 years | 3.5 |
| 6 | Draughtproof external doors and windows. Install auto door closures | Oil | 29412 | £500 | £2000 | 4 years | 7.4 |
|  | Total |  | 111,702 | £ 2,327 | £ 3,990 | 1.71 |  |

| High Cost measures |
| --- |
| Recommendations | utility saved | units saved | cost saving | estimated cost | payback period | co2 tonnes |
| 1 | Consider converting boilers from oil to gas. | Price | 70000 | £5000 | £100,000 | 20 years | 4.2 |
| 2 | Consider installation of instantaneous hot water generators | Oil | 500 | £500 | £3500 | 7 years | 0.5 |
|  | Total |  | 70500 | £ 5,500 | £103,500 | 19 years | 4.7 |

WENTWORTH HIGH SCHOOL

| No cost measures |  |  |  |  |
| --- | --- | --- | --- | --- |
| Recommendation | utility saved | units saved | cost saving | CO2 tonnes |
| 1 | Switch off lights in unused classrooms wherever possible. Commit to "A Whole School Approach". | electricity | 13032 | £577 | 5.6 |
| 2 | Reduce setpoint for sports hall zone to 16 degrees, except when required for exams. | gas | 70000 | £840 | 14.7 |
| 3 | Set kitchen HWS to operate10- 14:00 Mon-Fri. | gas | 13000 | £156 | 2.7 |
|  | Total |  | 96032 | £ 1,573 | 23.03 |

| Low Cost measures |
| --- |
|  | Recommendations | utility saved | units saved | cost saving | estimated cost | payback period | CO2 tonnes |
| 1 | Create new heating zone for assembly hall. | gas | 60000 | £720 | £2000 | 3 years | 12.6 |
| 2 | Provide school HWS from canteen HWS generator. | gas | 25000 | £300 | £1500 | 5 years | 5.3 |
| 3 | Draught proof windows and exit doors throughout school. | gas | 97029 | £1164 | £4020 | 3 years | 20.4 |
| 4 | Replace halogen spot lights in corridors. | electricity | 5300 | £233 | £1200 | 5 years | 2.3 |
| 5 | Fit electronic urinal controls to 5 cisterns. | water | 3500 | £5733 | £1125 | 2 months | 0.0 |
| 6 | Fit time control to electric heaters in temporary classrooms | electricity | 7900 | £348 | £600 | 21 months | 3.4 |
| 7 | Replace MBF lamps in sports hall with fluorescent, and introduce switching off practice | electricity | 8000 | £330 | £1200 | 4 years | 3.4 |
| 8 | Insulate HWS Secondary pipework in kitchen | gas | 20000 | £240 | £250 | 13 months | 4.2 |
| 9 | Install optimiser in Art block. | gas | 19267 | £230 | £1000 | 4 years | 4.0 |
|  | Total |  | 245,996 | £ 9,299 | £ 12,896 | 17 months | 55.6 |

| Summary of savings | units saved | cost saving | estimated cost | payback period | CO2 tonnes |
| --- | --- | --- | --- | --- | --- |
| No Cost measures | 96031.75 | £ 1,573 | £ - | immediate | 23.0 |
| Low Cost measures | 245,996 | £ 9,299 | £ 12,896 | 17 months | 56 |
| High Cost measures | 0 | £ - | £ - |  | 0 |
| Total | 342027.95 | £ 10,872 | £ 12,896 | 14 months | 78.6 |

WHARTON PRIMARY SCHOOL

| RECOMMENDATION | Saving | Saving £ | Installation Cost | Payback Period |
| --- | --- | --- | --- | --- |
| 1. | Transfer Electricity Supply to Scottish & Southern Energy | - | £ 333 | - | - |
| 2. | Switch lights off when rooms unoccupied | 14,981 kWh 6.44 t/CO2 | £ 788 | - | - |
| 3. | DHW Time clocks | 3,802 kWh 1.64 t/CO2 | £ 200 | £180 | 10.8 months |
| 4. | Removal of CCL Charges | - | £ 349 | - | - |
| 5. | Installation of New Heating Controls | 8,206 litres | £ 1,551 | £2,500 | 17 months |
| 6. | Install TRV’’s | 2,698 litres | £ 510 | £300 | 7 months |
| 7. | Installation of plush taps (retro fit) | 304 m3 | £ 476 | £1,657.50 | 42 months |
| 8. | Installation of Cistern Dams | 80 m3 | £ 124 | £ 201 | 19.4 months |
| 9. | Installation of Urinal Controls | 358 m3 | £ 606 | £ 279 | 9.4 months |
| 10. | Amendment to Surface Water Charges – Ongoing | - | £ 538 | - | - |
| 11. | Amendment to Surface Water Charges - Refund | - | £ 2,206 | - | - |
|  | Total |  | £7,681 | £5,117.50 | 8 months |

ST ANDREW’S CE PRIMARY SCHOOL

| No Cost Measures | Refund £ | Ongoing Saving £ |
| --- | --- | --- |
| 1. | Transfer Electricity Supply to Scottish and Southern | - | £239.35 |
| 2. | CCL Exemption | - | £189.20 |
| 3. | Reduced VAT at 5% | - | £317.77 |
| 4. | Lighting – Good housekeeping | - | £317.00 |

| Low Cost Measures | Saving M3 | Saving £ | Installation Cost | Payback Period |
| --- | --- | --- | --- | --- |
| 1. | Installation of PIR Urinal controls | 746.3m³ | £1,167.21 | £225.00 | 2.31 months |
| 2. | Installation of plush tap (retro fit) | 210.6m3 | £329.38 | £573.75 | 20.90 months |
| 3. | Cistern Dams | 37.44m3 | £58.56 | £94.56 | 19.38 months |
|  | Total | 994.34m3 | £1,555.15 | £893.31 | 6.89 months |

| Summary – All Measures | Saving M³ | Saving £ | Cost £ | Payback period |
| --- | --- | --- | --- | --- |
|  |  | 994.34 | £2,618.47 | £893.31 | 4.09 months |