| Part One | ITEM NO. 6 |
| --- | --- |

REPORT OF THE

# DIRECTOR OF CORPORATE SERVICES

To the: QUALITY & PERFORMANCE SCRUTINY AUDIT SUB COMMITTEE

On:	Monday 19th January 2004

TITLE: ENERGY MANAGEMENT ACTIVITY – SEPTEMBER TO DECEMBER 2003

RECOMMENDATIONS:
Members are asked to note the level of savings being achieved and identified by the group.

EXECUTIVE SUMMARY:
The purpose of this report is to inform members of the energy audit activity undertaken by Business Risk and Control for the period September to December 2003 inclusive. Approve the three-year work programme.

BACKGROUND DOCUMENTS:

## None

ASSESSMENT OF RISK:

## N/A

THE SOURCE OF FUNDING IS:

## N/A

LEGAL ADVICE OBTAINED:

## N/A

FINANCIAL ADVICE OBTAINED:

## N/A

CONTACT OFFICER:

## Jim Gosney – Energy Manager        0161 793 3472

WARD(S) TO WHICH REPORT RELATES:

## N/A

KEY COUNCIL POLICIES:

## Environmental Strategy

DETAILS:

See attached report

Energy Audit activities undertaken during the period September 2003 to December 2003 are detailed as follows: -

- ELECTRICITY & GAS PURCHASING

An additional 4 schools have been added to main electricity contract with Scottish Power. The savings to be achieved via this transfer will be in the region of £7,486 per annum.

- ENERGY SAVINGS ACHIEVED

Implemented Energy Savings, through purchasing, tariff analysis and water audits amount to £121,781 for the year to date. Refunds for the amount of £169,633 have also been achieved and cheques from the various suppliers received.

We are pleased to report that audits have been conducted at Agecroft, Peel Green and Swinton Cemeteries, Ellenbrook Primary School, All Souls Primary School, Springwood Primary School, Minerva House and Turnpike House. The Recommendation summaries for these reports are attached in Appendix A.

3.	ENVIRONMENTAL BENEFITS OF ENERGY AUDIT ACTIVITIES

| Premises | Date Report Issued | Potential Savings (Annual) | CO2 Reduction (Tonnes) |
| --- | --- | --- | --- |
| Seedley Primary School | 01/03/01 | £4,646 | 9.29 |
| Langworthy Rd Primary School | 26/03/01 | £2,940 | 5.88 |
| St Pauls C E Primary School | 01/06/01 | £3,350 | 6.70 |
| St Marks R C Primary School | 18/06/01 | £3,395 | 6.8 |
| Monton Green Primary School | 27/06/01 | £2,480 | 4.96 |
| Libraries | 03/08/01 | £23,629 | 47.3 |
| Christ The King RC Primary | 10/08/01 | £3,608 | 7.2 |
| St Gilberts RC Primary | 27/03/02 | £1,843 | 36.9 |
| Lowe Lower Kersal PS | 22/05/02 | £9,512 | 11.9 |
| Lark Hill Primary | 23/05/02 | £5,365 | 10.73 |
| St Lukes Primary | 23/05/02 | £2,040 | 4.08 |
| St Boniface RC Primary | 23/05/02 | £1,360 | 2.72 |
| Civic Centre | 14/08/02 | £4,870 | 61.0 |
| Canon Williamson High School | 11/07/02 | £3,665 | 52.0 |
| St Ambrose Barlow High School | 11/07/02 | £4,955 | 52.0 |
| Irlam Primary School | 18/07/02 | £1,905 | - |
| Broughton Resource Centre | 09/09/02 | £4,217 | 32.8 |
| Worsley Courthouse | 21/10/02 | £11,104 | - |
| Ingleside | 09/12/02 | £1,880 | - |
| St Philip’s RC Primary | 06/02/03 | £1,107 | - |
| Clarendon Recreation Centre | 07/02/03 | £5,500 | 83.1 |
| Pendlebury Recreation Centre | 07/02/03 | £4,130 | 62.1 |
| Broughton Pool | 07/02/03 | £9,785 | 101.7 |
| Eccles Recreation Centre | 07/02/03 | £5,645 | 83.9 |
| Worsley Pool | 19/02/03 | £13,870 | 210.6 |
| Irlam Pool | 19/02/03 | £3,995 | 56.1 |
| Belvedere Early Years Centre | 24/06/03 | £2,861 | 30.3 |
| St Mary’s C E Primary School | 11/07/03 | £3,614 | - |
| St Luke’s R C Primary School | 17/07/03 | £5,648 | - |
| Light Oaks Primary School | 03/07/03 | £1,040 | 11.7 |
| Cadishead Primary School | 02/09/03 | £3,044 | - |
| Turnpike House | 15/10/03 | £10,105 | 91.0 |
| Agecroft Cemetery | 19/11/03 | £672 | 0.4 |
| Peel Green Cemetery | 19/11/03 | £6,260 | 3.2 |
| Swinton Cemetery | 19/11/03 | £1,195 | - |
| Ellenbrook Primary School | 21/11/03 | £1,770 | - |
| All Souls Primary School | 21/11/03 | £2,066 | - |
| Springwood Primary School | 24/11/03 | £3,033 | - |
| Minerva House | 24/11/03 | £3,165 | 46.2 |
|  |  | £185,269 | 1132.56 |

5. 	WORK PLAN FOR THE NEXT THREE YEARS

Having identified our long-term objectives and targets in the Corporate Energy Strategy, a series of proposals have been formed which will enable the council to deliver continuous improvement. It is recognised that this may be achieved in five ways, our approach is:

- The procurement of energy and water

- Refurbishment and improvement of existing buildings and design of new buildings

- Reporting and monitoring of progress (BV 180, benchmarking)

- Improved controls, innovation, brokerage services, Leisure Trust SLA

- Completion of energy and environmental Audits.

##### 1) Procurement of Utilities

The deregulation of the electricity and gas markets, and the expected deregulation of the water supply industry allows customers to make an informed choice of supplier based on criteria other than cost alone.

The environmental impacts of the point of generation may be assessed, and contracts negotiated accordingly. This provides a challenge, as we must operate within strict legal and financial guidelines relating to fair competition.

Green electricity is generated from accredited renewable sources, such as wind, wave or solar power, and it is therefore zero-CO2 and exempt from the climate change levy. It may be purchased (at a premium) as an agreed percentage of the total contract value, or for specific, high profile buildings. However, supplies of green electricity are in high demand from local authorities, as, as commodity green electricity is in short supply. Consequently, whilst Salford City Council would like to increase substantially the amount of green electricity that it procures, this aspiration has to be tempered by two factors:

- The market may not be able to supply sufficient green energy to meet the council’s demand

- The price of green electricity may be cost prohibitive

Street lighting is currently procured through the Energy Audit Team Unit. The council should identify the extent to which green supply can be obtained at a competitive rate.

Any possible future PFI/PPP lighting specifications are to include environmental outputs.

##### 2) Design of New Buildings / Improvements to Existing Buildings

Energy and water efficiency improvements to existing buildings involve similar technologies to those of new buildings. New buildings, whether designed or built by council agencies, private firms or in PFI/PPP schemes, must meet the same high standards of energy and water management and environmental quality.

In particular, schemes will be actively encouraged which lend themselves to innovative forms of sustainable design and demonstrate best practice.

Energy efficiency and whole life costing – as part of the option appraisal for larger capital schemes a whole life cost costing approach will be developed which will seek to minimise energy and water consumption associated with new buildings. This approach will include adherence to the latest Building Regulations, specifying compliance with published good practice energy and water benchmarks from sources such as DEFRA and Watermark and making best use of low carbon design strategies:

- Design for natural daylighting

- Design for natural ventilation

- Condensing boilers

- Low energy lighting

- Super insulation

3) Monitoring Progress (Management Reporting)

In order to ensure that key stakeholders have access to appropriate information about energy and water consumption in their service area regular, reports will continue to be prepared. Reports will include departmental and building targets and progress against these targets.

Specific areas of good and/or poor energy and environmental performance will also be highlighted.

Reports to the council’s Asset Management Group will also continue to ensure that there is awareness amongst senior management of energy and water trends.

Water Leakage: - The council will improve the response to water leakage reports to ensure that consumption reduction targets are not compromised. Progress towards the objectives will be reported annually.

Water Conservation: - Low water design features are more affordable than many other energy conserving features, and include:

- Rainwater and grey water recycling

- Urinal controls

- Aerating taps and shower heads

- Other low flow appliances

##### 4) Innovation

The Energy Unit are investigating further energy and water conservation initiatives over the next three years. This will include: -

- An assessment of likely climate change levy impacts on council property and activities

- Exploring partnering opportunities to increase the amount of renewable energy available to the council

- Exploring opportunities for obtaining European and UK funding for council energy and water initiatives

- Expansion of existing controls system

5.Energy Audits

Completion of Energy and Environmental Audits as per the previous programme for all clients

APPENDIX A

SUMMARY OF RECOMMENDATIONS

TURNPIKE HOUSE

|  | Recommendation | £ Saving | KWh g=gas, ed electric day en = ele night or water m3 | CO2 tonne | £ Cost | Pay back Years |
| --- | --- | --- | --- | --- | --- | --- |
|  | VMS workshop Ambirad heater space temperature from 19°C to 16°C | £2,780 | 142,500 g | 38.7 | £0 | Immediate |
|  | George Wimpey – increase their proportion for the electricity bill to account for heating and cooling | £2,685 | 0 | 0 | £0 | Immediate |
|  | Depot – external lights | £85 | 2,100 e | 0.9 | £0 | Immediate |
|  | Depot Mess room lights – presence control | £520 | 10,400 ed 4,300 en | 6.3 | £650 | 1.3 |
|  | Depot – Portacabin electric heaters – presence temperature control | £375 | 8,000 ed 2,300 en | 4.4 | £820 | 2.2 |
|  | Metering system Eco Warrior | £1,650 | 12,000 ed 7,000 en 18,000 g 500 water | 13.1 | £3,600 | 2.2 |
|  | Depot office heating (adjacent salt shed) – boiler control - ECO, compensation and optimum start / stop | £1,065 | 54,600 g | 14.8 | £2,500 | 2.3 |
|  | VMS mess room lights – presence control | £195 | 3,900 ed 1,610 en | 2.4 | £450 | 2.3 |
|  | Turnpike House – boiler controls ECO off. | £240 | 12,200 g | 3.3 | £600 | 2.5 |
|  | Depot Mess room boiler control ECO and override timer | £275 | 14,100 g | 3.8 | £800 | 2.9 |
|  | VMS welfare, offices and stores boiler controls ECO off. | £155 | 8,000 g | 2.2 | £600 | 3.9 |
|  | Care Call - boiler controls ECO, compensation and optimum start / stop | £550 | 4,000 g | 1.1 | £550 | 6.9 |
|  | Use of waste vehicle oil for the two vehicle pressure washers |

|  | Summary of Savings | £ Saving |  | CO2 tonne | £ Cost | Pay back Years |
| --- | --- | --- | --- | --- | --- | --- |
| No Cost - immediate payback | £5,550 |  | 39.6 | £0 | 0 |
| Rapid payback investment | £4,475 |  | 50.3 | £10,020 | 2.2 |
| Longer payback investment | £80 |  |  | £550 | 6.9 |
| Measures requiring further study |  |
| Totals | £10,105 |  | 91.0 | £10,570 | 1.0 |

AGECROFT CEMETERY

| 3.1 No Cost Measures | Saving m³ | Saving KWh | Saving £ | CO2 Tonne |  |
| --- | --- | --- | --- | --- | --- |
| 1. | Lighting – switch off unnecessary lighting in unoccupied areas or where daylight is adequate. |  | 1030 | £46 | 0.4 |  |
| 2. | Transfer of Electricity Supply to Scottish Power for Crematorium supply. |  | - | £389 | - |  |
| 3. | Correction and transfer of charges for lodge from Powergen to Scottish Power |  | - | £73 | - |  |
| 4. | Manual flow adjustment of wash hand units within gent’s WC outside lodge | 16 |  | £22 | - |  |

| 3.2 Low Cost Measures | Budget Cost £ | Saving M³ | Saving £ | CO2 Tonne | Payback Period |
| --- | --- | --- | --- | --- | --- |
| 1. | Installation of cistern dams | 41.70 | 26.28 | 37.13 |  | 1.1 years |
| 2. | Installation of in line flow regulators | 72.00 | 40.88 | 57.76 |  | 1.2 years |
| 3. | Installation of push taps | 50.00 | 33.60 | 47.48 |  | 1.1 years |
|  | Total | 163.70 | 100.76 | 142.37 |  | 1.1 years |

| 3.3 Summary - All Measures | Budget Cost £ | Saving m³ | Saving KWh | Saving £ | CO2 Tonne | Payback Period |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 163.70 | 116.76 | 1030 | 672.37 | 0.4 | 0.2 years |

PEEL GREEN CEMETERY

| 3.1 No Cost Measures |  | Saving KWh | Saving £ | CO2 Tonne |  |
| --- | --- | --- | --- | --- | --- |
| 1. | Lighting – switch off unnecessary lighting in unoccupied areas or where daylight is adequate. |  | 3,361 | 170 | 1.4 |  |
| 2. | Add electricity supply at the new mess hall to Scottish Power contract. |  | - | 73 | - |  |
| 3. | Transfer of electricity supplies to Scottish Power |  | - | 2,123 | - |  |
| 4. | Turn off electricity heaters when not required |  | 4,152 | 210 | 1.8 |  |
| 5. | Obtain refunds for the greenhouse supply that has been demolished |  |  | 3,404 |  |  |
|  | Total |  | 7,513 | 5,980 | 3.2 |  |

| 3.2 Low Cost Measures | Budget Cost £ | Saving M3 | Saving £ | Payback Period |
| --- | --- | --- | --- | --- |
| 1. | Installation of Cistern Dams | £39.60 | 19 | 26.45 | 1 years 6 month |
| 2. | Installation of Urinal Control | £237 | 180 | 254 | 11 months |
|  | Total | 276.60 | 199 | 280.45 | 1 year |

| 3.3 Summary - All Measures | Budget Cost £ | Saving KWh | Saving £ | CO2 Tonne | Payback Period |
| --- | --- | --- | --- | --- | --- |
|  |  | 276.6 | 7,513 | 6,260.45 | 3.2 | 1 month |

SWINTON CEMETERY

| No Cost Measures | Potential Refund | Ongoing saving |
| --- | --- | --- |
| Cancellation of surface water charges for the Lodge | £908 | £155 |
| Elimination of metered charges for the Lodge | To be confirmed | £131.50 |

ELLENBROOK PRIMARY SCHOOL

| No Cost Measures | Saving (kWh) | Saving £ |  |
| --- | --- | --- | --- |
| 1. | Transfer Electricity Supply to Scottish Power | - | £1,036.00 |  |

| Low Cost Measures | Saving M3 | Saving £ | Installation Cost | Payback Period |
| --- | --- | --- | --- | --- |
| 1. | Installation of plush taps (retro fit) | 468m3 | £661.28 | £1,200.00 | 21.77 months |
| 2. | Cistern Dams | 52m3 | £72.74 | £152.90 | 25.20 months |
|  | Total | 520m3 | £734.02 | £1,352.90 | 22.11 months |

| Summary – All Measures | Saving M³ | Saving £ | Cost £ | Payback period |
| --- | --- | --- | --- | --- |
|  |  | 520 | £1,770.02 | £1,352.90 | 9.17 months |

ALL SOULS PRIMARY SCHOOL

| No Cost Measures | Saving £ | Payback Period |
| --- | --- | --- |
| 1. | Transfer Electricity Supply to Scottish Power | £770.63 | 0 months |
| 2. | CCL exemption for electricity | £203.97 | 0 months |
| 3. | Reduced VAT from 17.5% to 5% for electricity | £435.70 | 0 months |

| Low Cost Measures | Saving M3 | Saving £ | Installation Cost | Payback Period |
| --- | --- | --- | --- | --- |
| 1. | Urinal Control | 216m3 | £305.21 | £237 | 9.32 months |
| 2. | Push Taps | 146.2m3 | £206.58 | £225 | 13.07 months |
| 3. | Cistern Dams | 101.79m3 | £143.83 | £201.55 | 16.82 months |
|  | Total | 463.99m3 | £655.62 | £663.55 | 12.15 months |

| Summary – All Measures | Saving M³ | Saving £ | Cost £ | Payback period |
| --- | --- | --- | --- | --- |
|  |  | 463.99m³ | £2,065.92 | £663.55 | 3.85 months |

SPRINGWOOD PRIMARY SCHOOL

| RECOMMENDATION | Saving £ |
| --- | --- |
| 1. | Transfer Elec supply from Powergen to Scottish Power | £2,082 |
| 2. | Reduce the Available Capacity | £ 701 |
| 3. | Switch lights off when rooms unoccupied | £ 250 |
|  | Total | £3,033 |

MINERVA HOUSE

|  | Recommendation | £ Saving | KWh g=gas, ed electric day en = ele night or water m3 | CO2 tonne | £ Cost | Pay back Years |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Derby wing – remove regular Saturday morning heating operation | £165 | 9,000 g | 2.4 | 0 | Immediate |
| 2 | Citywide stores – reduce day space temperature from 21°C to 19°C and night from 21°C to 15°C | £120 | 6,600 g | 1.8 | 0 | Immediate |
| 3 | Canned drink vending machines – time control | £95 | 1,400 ed 1,400 en | 1.2 | 80 | 0.8 |
| 4 | Century wing – boiler and DHW control improvements | £1,075 | 58,000 g | 15.7 | £2,600 | 2.4 |
| 5 | Citywide stores internal lighting – SON to metal halide | £170 | 6,500 ed | 2.8 | £600 | 3.5 |
| 6 | Citywide stores external lighting – photocell control | £60 | 1,460 ed | 0.6 | £350 | 5.8 |
| 7 | Derby wing – replacement boiler and controls | £1,480 | 80,000 g | 21.7 | £46,000 | 31.1 |

|  | Summary of Savings | £ Saving |  | CO2 tonne | £ Cost | Pay back Years |
| --- | --- | --- | --- | --- | --- | --- |
| No Cost - immediate payback | £285 |  | 4.2 | 0 | 0 |
| Rapid payback investment | £1,400 |  | 20.3 | £3,630 | 2.6 |
| Longer payback investment | £1,480 |  | 21.7 | £46,000 | 31.1 |
| Totals | £3,165 |  | 46.2 | £49,360 | 15.7 |