| PART ONE | ITEM NO.5 |
| --- | --- |

REPORT OF THE

# DIRECTOR OF CORPORATE SERVICES

To the: QUALITY & PERFORMANCE SCRUTINY AUDIT SUB COMMITTEE

On:	Monday 19 April 2004

TITLE: ENERGY MANAGEMENT ACTIVITY – DECEMBER 2003 TO MARCH 2004

RECOMMENDATIONS:

Members are asked to note the level of savings being achieved and identified by the group.

EXECUTIVE SUMMARY:
The purpose of this report is to inform members of the energy audit activity undertaken by Audit & Risk Management Unit for the period December2003 to March 2004 inclusive.

BACKGROUND DOCUMENTS:

## None

ASSESSMENT OF RISK:

## Energy Audit activities form an integral part of the City Council’s risk Management Strategy aimed at giving assurance regarding the management of the City Council’s key business risks.

THE SOURCE OF FUNDING IS:

## Existing revenue budget.

LEGAL ADVICE OBTAINED:

## N/A

FINANCIAL ADVICE OBTAINED:
N/A

CONTACT OFFICER:

Jim Gosney – Energy Manager        0161 793 3472

WARD(S) TO WHICH REPORT RELATES:

## N/A

KEY COUNCIL POLICIES:

## Environmental Strategy

DETAILS:   See attached report

Energy Audit activities undertaken during the period December 2003 to March 2004 are detailed as follows: -

- ELECTRICITY PURCHASING

The Electricity contracts for 18 over 100 kW sites and to 325 sub 100 kW sites, has now been completed. The lowest tenders for both contracts were accepted at committee.

We are pleased to confirm that nationally the overall increase in electricity prices has been of the order of 20%, however, the actual increase for this contract has been limited to 4.3% and 2.67% respectively.

We are also pleased to confirm that all these sites will be supplied on a “Green Energy” contract.

- ENERGY SAVINGS ACHIEVED

Implemented Energy Savings, through purchasing, tariff analysis and water audits amount to £ 126,241.66 for the year to date. Refunds for the amount of £206,005.40 have also been achieved and cheques from the various suppliers received.

We are pleased to report that audits have been conducted at Moorside High School, James Brindley Primary School, Beech Street Primary School, St Edmunds Primary School, Albert Park, Boddan Lodge, Boothsbank Park, Bolton Road, Cadishead and Charlestown Veterans Pavilions.

The Recommendation summaries for the reports issued are attached in Appendix A.

Energy Audits are also being conducted at Irlam & Cadishead High School, St George’s R C High School, Wentworth High School, St Andrew’s C E Primary School, St Paul’s C E Primary School, St George’s Day Centre, St Luke’s C E Primary School and Wharton Primary School.

- AFFORDABLE WARMTH STRATEGY

Salford City Council and Salford Primary Care Trust are working together with other agencies through the Salford Partnership, to develop a strategy to tackle the problem of fuel poverty in the City. Fuel poverty affects households who cannot afford to heat their homes to temperatures adequate to maintain comfort and health.

Housing officers together with the Energy Manager have been gaining the co-operation of all relevant statutory, private and voluntary organisations and representatives of the community.

There are four main aims of the strategy: -

- To raise awareness and provide advice on energy efficiency and affordable warmth.

- To provide financial solutions for affordable warmth.

- To establish partnership working and referral systems for affordable warmth.

- To improve the energy efficiency of the housing stock in Salford.

It is planned to report on the progress of the strategy when all the key tasks partners and resources have been identified.

4.	SALFORD SOLAR PLAN

Salford City Council along with the Energy Savings Trust have provided grants to assist both private and council house properties to install photovoltaic (PV) panels.

Six PV panels are to be installed to the roofs to provide electricity to the property. The electricity output from the PV panels will vary depending on the intensity of the light falling on it. However it has been estimated that between 30 – 40% of the overall electricity, to the property, will be provided by these panels.

Currently, there are four private properties and two council properties that have or are in the process of having the panels installed. With the private properties, Salford City Council provide £2,000, the Energy Savings Trust provide £3,240 and the balance of approximately £2,700 is paid by the client. However, with the council properties the same grant is received from the Energy Savings Trust and the balance is paid by the council.

As the PV panels have only recently been installed we are unable to give accurate savings both financially and environmentally. However, we are receiving copies of the electricity invoices for these properties and will continually monitor the benefits.

5.	ENVIRONMENTAL BENEFITS OF ENERGY AUDIT ACTIVITIES

| Premises | Date Report Issued | Potential Savings (Annual) | CO2 Reduction (Tonnes) |
| --- | --- | --- | --- |
| St Gilberts RC Primary | 27/03/02 | £1,843 | 36.9 |
| Lowe Lower Kersal PS | 22/05/02 | £9,512 | 11.9 |
| Lark Hill Primary | 23/05/02 | £5,365 | 10.73 |
| St Lukes Primary | 23/05/02 | £2,040 | 4.08 |
| St Boniface RC Primary | 23/05/02 | £1,360 | 2.72 |
| Civic Centre | 14/08/02 | £4,870 | 61.0 |
| Canon Williamson High School | 11/07/02 | £3,665 | 52.0 |
| St Ambrose Barlow High School | 11/07/02 | £4,955 | 52.0 |
| Irlam Primary School | 18/07/02 | £1,905 | - |
| Broughton Resource Centre | 09/09/02 | £4,217 | 32.8 |
| Worsley Courthouse | 21/10/02 | £11,104 | - |
| Ingleside | 09/12/02 | £1,880 | - |
| St Philip’s RC Primary | 06/02/03 | £1,107 | - |
| Clarendon Recreation Centre | 07/02/03 | £5,500 | 83.1 |
| Pendlebury Recreation Centre | 07/02/03 | £4,130 | 62.1 |
| Broughton Pool | 07/02/03 | £9,785 | 101.7 |
| Eccles Recreation Centre | 07/02/03 | £5,645 | 83.9 |
| Worsley Pool | 19/02/03 | £13,870 | 210.6 |
| Irlam Pool | 19/02/03 | £3,995 | 56.1 |
| Belvedere Early Years Centre | 24/06/03 | £2,861 | 30.3 |
| St Mary’s C E Primary School | 11/07/03 | £3,614 | - |
| St Luke’s R C Primary School | 17/07/03 | £5,648 | - |
| Light Oaks Primary School | 03/07/03 | £1,040 | 11.7 |
| Cadishead Primary School | 02/09/03 | £3,044 | - |
| Turnpike House | 15/10/03 | £10,105 | 91.0 |
| Agecroft Cemetery | 19/11/03 | £672 | 0.4 |
| Peel Green Cemetery | 19/11/03 | £6,260 | 3.2 |
| Swinton Cemetery | 19/11/03 | £1,195 | - |
| Ellenbrook Primary School | 21/11/03 | £1,770 | - |
| All Souls Primary School | 21/11/03 | £2,066 | - |
| Springwood Primary School | 24/11/03 | £3,033 | - |
| Minerva House | 24/11/03 | £3,165 | 46.2 |
| Moorside HighSchool | 13/02/04 | £772 | - |
| James Brindley Primary School | 06/01/04 | £1,685 | - |
| Beech Street Primary School | 10/03/04 | £2,720 | 12.06 |
| St Edmunds Primary School | 09/03/04 | £2,116 |  |
| Albert Park Veterans Pavilion | 31/03/04 | £814 | 2.53 |
| Boddan Lodge Veterans Pavilion | 31/03/04 | £739 | 3.29 |
| Boothsbank Park Veterans Pavilion | 31/03/04 | £103 | - |
| Bolton Road Veterans Pavilion | 31/03/04 | £5,297 | - |
| Cadishead Veterans Pavilion | 31/03/04 | £2,211 | - |
| Charlestown Veterans Pavilion | 31/03/04 | - | - |
|  |  | £157,678 | 1062.31 |

APPENDIX A

SUMMARY OF RECOMMENDATIONS

MOORSIDE HIGH SCHOOL

| No Cost Measures | Saving kWh | Saving £ |
| --- | --- | --- |
|  | Transfer Electricity Supply to Scottish Power | - | £909 |

| Low Cost Measures | Saving M3 | Saving £ | Installation Cost | Payback Period |
| --- | --- | --- | --- | --- |
|  | Installation of plush taps (retro fit) | 452.40m3 | £639.24 | £1,232.50 | 23.14 months |
|  | Cistern Dams | 93.60m3 | £132.40 | £236.40 | 21.43 months |
|  | Total | 546m3 | £771.64 | £1,468.90 | 22.84 months |

JAMES BRINDLEY PRIMARY SCHOOL

| No Cost Measures | Refund £ | Ongoing Saving £ |
| --- | --- | --- |
|  | Amendment of surface water RV | £1,032.28 | £355.94 |
|  | Transfer Electricity Supply to Scottish Power | - | £1,262.62 |

| Low Cost Measures | Saving M3 | Saving £ | Installation Cost | Payback Period |
| --- | --- | --- | --- | --- |
|  | Installation of Inline Flow Regulators | 33.15m³ | £46.85 | £30.00 | 7.69 months |
|  | Installation of plush tap (retro fit) | 9.75m3 | £13.78 | £21.25 | 18.51 months |
|  | Cistern Dams | 4.68m3 | £6.62 | £11.82 | 21.42 months |
|  | Total | 47.58m3 | £67.25 | £63.07 | 11.25 months |

| Summary – All Measures | Saving M³ | Saving £ | Cost £ | Payback period |
| --- | --- | --- | --- | --- |
|  |  | 47.58 | £1,685.81 | £63.07 | 0.45 months |

BEECH STREET PRIMARY SCHOOL

| RECOMMENDATION | Saving M3 | Saving £ | Installation Cost | Payback Period |
| --- | --- | --- | --- | --- |
|  | Installation of plush taps (retro fit) | 226 m3 | £319.62 | £1,232.50 | 46 months |
|  | Installation of Cistern Dams | 56 m3 | £ 79.35 | £ 158.40 | 24 months |
|  | Installation of Urinal Controls | 387 m3 | £547.54 | £ 450.30 | 10 months |
|  | Transfer Electricity Supply to Scottish & Southern Energy |  | £890 |  |  |
|  | Switch lights off when rooms unoccupied | 16,164 kWh 6.95 t/C02 | £684 |  |  |
|  | Change heating and domestic hot water times | 26,906 kWh 5.11 t/C02 | £300 |  |  |
|  | Total |  | £2,720.51 | £1,841.20 | 8 months |

ST EDMUNDS RC PRIMARY SCHOOL

| No Cost Measures | Refund £ | Ongoing Saving £ |
| --- | --- | --- |
|  | Transfer Electricity Supply to Scottish and Southern | - | £525.86 |
|  | CCL Exemption | - | £95.46 |
|  | Reduced VAT at 5% | - | £188.56 |
| Low Cost Measures | Saving M3 | Saving £ | Installation Cost | Payback Period |
|  | Installation of PIR Urinal controls | 648m³ | £915.62 | £418.50 | 5.48 months |
|  | Installation of plush tap (retro fit) | 421.2m3 | £595.16 | £1,147.50 | 23.14 months |
|  | Cistern Dams | 56.16m3 | £79.35 | £141.84 | 21.45 months |
|  | Total | 1,125.36m3 | £1,590.13 | £1,707.84 | 12.89 months |

| Summary – All Measures | Saving M³ | Saving £ | Cost £ | Payback period |
| --- | --- | --- | --- | --- |
|  |  | 1,125.36 | £2,115.99 | £1,707.84 | 9.69 months |

ALBERT PARK VETERANS PAVILION

| ALBERT PARK VETERANS PAVILION RECOMMENDATIONS | Saving | Saving £ | Installation Cost | C02 (tonne) |
| --- | --- | --- | --- | --- |
| 1. | Transfer of electricity supply |  | 558.00 | - |  |
| 2. | Amalgamate electricity meters |  | 69.35 | - |  |
| 3. | Change Oil heating times | 943 (litres) | 186.48 | - | 2.53 |
|  |  | 943 | 813.83 |  | 2.53 |

BODDAN LODGE VETERANS PAVILION

| BODDAN LODGE VETERANS PAVILION RECOMMENDATIONS | Saving | Saving £ | Installation Cost £ | C02 (tonne) |
| --- | --- | --- | --- | --- |
| 1. | Transfer of electricity supply |  | 257.00 | - |  |
| 2. | Adjust times on External Lighting | 1,384 kWh | 72.00 | - | 0.6 |
| 3. | New Time Clock on Heating | 11,784 kWh | 183.00 | 200.00 | 2.2 |
| 4. | Adjust Heating Times | 2,576 kWh | 40.00 |  | .49 |
| 5. | Non Return to Sewer Allowance | 37 m3 | 55.00 |  |  |
| 6. | Installation of push taps | 94 m3 | 132.26 | 127.50 |  |
|  |  | 15,744 kWh 131 m3 | 739.26 | 327.50 | 3.29 |

BOOTHSBANK PARK VETERANS PAVILION

| BOOTHSBANK VETERANS PAVILION RECOMMENDATIONS | Saving | Saving £ | Installation Cost | C02 (tonne) |
| --- | --- | --- | --- | --- |
| 1. | Transfer of electricity supply |  | 52.00 | - |  |
| 2. | Non Return to Sewer Allowance | 33m3 | 51.00 | - |  |
|  |  | 33m3 | 103.00 | - |  |

BOLTON ROAD VETERANS PAVILION

| BOLTON ROAD VETERANS PAVILION RECOMMENDATIONS | Saving | Saving £ | Installation Cost | C02 (tonne) |
| --- | --- | --- | --- | --- |
| 1. | Transfer of electricity supply |  | 476.00 | - | - |
| 3. | Refund for overcharge on electricity meters |  | 4,794.00 |  | - |
| 2. | Installation of Push Taps | 19m3 | 26.56 | 85.00 | - |
|  |  | 19m3 | 5,296.56 | 85.00 | - |

CADISHEAD VETERANS PAVILION

| CADISHEAD VETERANS PAVILION RECOMMENDATIONS | Saving | Saving £ | Installation Cost £ | C02 (tonne) |
| --- | --- | --- | --- | --- |
| 1. | Transfer of electricity supply |  | 263.00 | - | - |
| 2. | Refund for overcharge on electricity meters |  | 1,715.00 |  | - |
| 3. | Installation of a Urinal Control | 141m3 | 199.30 | 237.00 | - |
| 4. | Non Return to Sewer Allowance | 20m3 | 34.00 |  |  |
|  |  | 19m3 | 2,211.30 | 237.00 | - |