| QUALITY AND PERFORMANCE SCRUTINY COMMITTEE | 25th June 2001 | PART 1 (OPEN TO THE PUBLIC) |
| --- | --- | --- |
|  |  | ITEM NO. |
| SUBJECT: ENERGY MANAGEMENT ACTIVITY DURING THE PERIOD MARCH 2001 TO JUNE 2001. |  |
| REPORT OF: DIRECTOR OF CORPORATE SERVICES | FOR INFORMATION |

A. REPORT SUMMARY

1.  	PURPOSE OF REPORT:

To update members on matters arising since the March   2001 meeting of the Quality and Performance Scrutiny Committee and to report significant activities of the Energy Audit Group.

2.	RECOMMENDATIONS:

Members are asked to note the level of savings being achieved and identified by the Group.

3.	ROUTING:

Direct to Council.

4.	IMPLICATIONS:

4.1	Resources (Finance/Staffing)	:	The operation of an efficient Energy Management Group contributes to considerable cost savings to the City Council.  Competitive tendering for energy supply will minimise the strain on limited budgets.

4.2	Performance Review:	Not applicable.

4.3	Environmental:	Reduction in the use of fuels, energy and water will minimise harmful effects on the environment.

4.4	Equal Opportunities:	N/A

4.5	Community Strategy:	N/A

4.6	Anti-Poverty Strategy:	N/A

| IF YOU HAVE ANY QUERIES PLEASE CONTACT Jim Gosney 793 3227 | BACKGROUND DOCUMENTS |
| --- | --- |
| QUALITY CONTROL | Report prepared by Jim Gosney 793 3227 Checked by Donald Simpson 793 3290 |
| Corporate Services (Finance), Salford Civic Centre, Chorley Road, Swinton. M27 5AW |

REPORT DETAILS

5.	ENERGY MANAGEMENT

Activities undertaken during the period March 2001 to June 2001 include the following:-

Energy Audit activities including purchasing are detailed in Appendix A.

Energy Audit reports have been presented to the Education and Leisure, Environmental Services Directorates and previous recommendations are being implemented at the following premises:-

Potential Annual Saving

All Hallows High School		£10,430

Joseph Eastham High School		£13,570

North Walkden Primary School		£ 2,430

Radclyffe Primary School		£ 3,655

Fiddlers Lane Primary School		£ 4,550

St. Augustine Primary School		£ 3,655

Westwood Park Primary School		£ 2,540

Barton Moss Primary School		£ 3,483

St. Marks C.E. Primary School		£ 4,755

St. Sebastian Primary School		£ 3,750

Summerville Primary School		£ 5,340

Bridgewater Primary School		£ 5,842

Westwood Park Nursery Centre		£ 2,500

Dorning St. Nursery		£ 1,100

Crompton House		£ 7,800

The Friars		£ 1,900

St Pauls Cof E		£ 2,800

Seedley Primary		£ 3,920

St Pauls Peel		£ 3,350

Irwell Park		£ 5,250

Hope High	            £11,725

Recommendation Tables and management summaries in respect of these completed audits are attached in Appendix B.

A bar graph showing these savings is provided on the next page.

POTENTIAL ANNUAL SAVINGS SHOWN GRAPHICALLY

SAVINGS ACHIEVED

| Site Name | Recommendation | Potential Saving |
| --- | --- | --- |
| Higher Irlam Library | Refund for overcharge on R51 Units | £12,455.65 |
| Sports Changing Rooms, Cleggs Lane | MD1..N to Economy 7 | £3,196.63 |
| Vulcan House | Re-Tender | £1,246.00 |
| Princes Park Garden Centre | Overcharge on redundant meters | £5,104.36 |
| Cultural, Social Services, Catering & Recreation Tenders | Obtain competitive prices | £62,294.23 |
| Launching Strip STH Bay Dock | MD1..N to General Purpose (G13) | £488.00 |
| Pendleton Business Centre | Av Cap Reduction (80 -34) | £651.36 |
| Broadwalk Resource Centre | Av Cap Reduction (120-51) | £977.04 |
| Toilets, Station Rd, Irlam | Site demolished paying on est. | £2,818.64 |
| Toilets, Market Way Underground | Toilets closed 21/02/97 and sold 15/07/98 | £2,914.49 |
| Craig Hall, Preston Avenue | G63 to Max Demand | £311.81 |
| Public Conveniences | Sites closed/demolished | £12,460.78 |
| Independent Energy Sites | Re-Tender | £221,332.52 |
| Bus Station Toilets, Victoria Bridge St | Toilets closed | £4,409.06 |
| Lowry Footbridge North | MD1..N to Economy 7 | £1,550.00 |
| Lowry Footbridge South | MD1..N to Economy 7 | £1,757.00 |
| Toilets Lane End, Eccles | Site demolished paying on est. | £738.85 |
| Toilets, Eccles Bus Station | Site demolished paying on est. | £519.59 |
| Lower Kersal Primary School | MD1..N to General Purpose (G13) | £734.00 |
| Swinton Cemetery | Overcharge on redundant meters | £6,600.00 |
| Bedford Avenue | Overcharge on Estimated Readings | £5,000.00 |
| 5 Albion Place | Overcharge on Estimated Readings | £407.32 |
| Lancastrian Hall | Change of Supplier (Electricity) | £1,477.10 |
| Ninian Gardens | Change of Supplier (Electricity) | £504.05 |
| Civic Centre | Change of Supplier (Electricity) | £17,821.28 |
| Pembroke Halls | Change of Supplier (Electricity) | £3,009.80 |
| Turnpike House | Change of Supplier (Electricity) | £6,727.58 |
| Windsor High School | Change of Supplier (Electricity) | £1,485.94 |
| Hope High School | Change of Supplier (Electricity) | £1,733.43 |
| Buile Hill High School | Change of Supplier (Electricity) | £2,289.59 |
| Irlam & Cadishead High School | Change of Supplier (Electricity) | £3,586.81 |
| Walkden High School | Change of Supplier (Electricity) | £5,353.91 |
| Swinton High School | Change of Supplier (Electricity) | £2,498.78 |
| Wentworth High School | Change of Supplier (Electricity) | £3,620.44 |
| Moorside High School | Change of Supplier (Electricity) | £2,489.45 |
| New Croft High School | Change of Supplier (Electricity) | £1,823.91 |
| St Ambrose Barlow High School - Main | Change of Supplier (Electricity) | £1,764.01 |
| St Ambrose Barlow High School - RSLA | Change of Supplier (Electricity) | £1,943.95 |
| Joseph Eastham High School | Change of Supplier (Electricity) | £1,167.45 |
| Clarendon Recreation Centre | Change of Supplier (Electricity) | £4,472.88 |
| Irlam Library | Change Supplier (gas) | £271.00 |
| Church St, Eccles | Change Supplier (gas) | £1,141.00 |
| The Lowry Centre | Change Supplier (gas) | £5,160.00 |
| Car Park, Pier 8, The Lowry | Change of Supplier (Electricity) | £4,750.00 |
|  |  | £423,059.69 |

- ELECTRICITY AND GAS PURCHASING

Energy Audit has recently undertaken the purchasing of 242 electricity supplies and all the authority’s Gas supplies.  A contract has been agreed for a 3-year period with Scottish Power for the electricity sites, resulting in annual savings of £283,618.   Competitive tenders were received for all the gas supplies and the successful supplier was Shell Gas Direct, for a 2-year period. Since late 2000 we have seen a national increase in gas prices of 60%.   However, the new contract negotiated for the authority shows a 46% increase, much less than that seen by most consumers.

- THE LOWRY CENTRE

The gas contract at The Lowry was due for renewal 1st June 2001, energy audit, therefore, received competitive tenders on their behalf.  A contract was agreed with Shell Gas Direct for a 2-year period, resulting in annual savings of £5,160.  The Car Park site for The Lowry was on a basic tariff with Norweb, energy audit have now arranged a competitive contract with Scottish Power for a 3-year period, for this site.

This change has resulted in annual savings of £4,750.

- WATER AUDITING

In the last three years, water has taken on a greater status with its inclusion as part of the more proactive approach to energy management.  To date, significant savings have been made through the installation of water conservation measures, and identification of leaks through monitoring of consumption.

Having established a sustainable approach to energy management within the Council, the Energy Audit teams are to take a strategic approach to water management.

The greatest obstacle to overcome is that of data acquisition, the quality of which will determine the effectiveness of the management process.   Energy audit are working to develop a stronger working with United Utilities (formerly North West Water) for the exchange of ideas and information.   In the light of the deregulation of the water industry and its opening to full competition in the next few years, UU plc appear to be reciprocating - the extent of which remains to be seen!!

The issues include accurate and timely billing, number of estimated readings, cost effective acquisition and transfer of comprehensive data, level of service and specialist services.  Information has been collated from the energy database and supported by data from United Utilities’ data management company.  Based upon this data, it has been determined that 30% of water accounts, account for 70% of the water consumption.  From this, a priority list has been established for both leak detection and water audits.

It is expected that a target of 8% reduction in water consumption can be achieved by the end of the present financial year in March 2002, with an overall reduction of water consumption of 15% after 3 years (not accounting for leaks).  Best value services are to be sought from specialist water conservation companies to provide water consumption profiling through the use of data loggers, leak detection and repair services, installation of water conservation measures and for installation of sub-metering of third party supplies.  Other areas of activity will include amongst others billing anomalies, burst allowance and non-return to sewer claims and meter size reductions.

The strategic approach to water shall involve the planned, monitoring and reporting of water consumption performance against the background of initial benchmarks, with future activities carried out in response to exceptional consumptions, water audits and to performance against set targets.

- SCHOOLS SERVICE LEVEL AGREEMENT

A Service Fair was held on 22nd May 2001, for all schools, interested in various service level agreements. We are pleased to report that the energy service provided was very popular and very well received.  If we have 100% acceptance the financial benefit will be £59,800.  A copy of the energy service level agreement is attached in appendix C.

### APPENDIX C

### Service Level Agreement between XXX School

### and Energy Support

# Contents

# Contact information			1

Five reasons to buy this service	2

SLA cost					2

Invoicing				2

Contract details			2

Background information		3

The services you will receive	 	3

Service standards			4

If things go wrong			5

# Contact information

Head of Finance 			John Spink			793 3230

Chief Internal Auditor			Don Simpson			793 3290

Energy Manager 			Jim Gosney	  		793 3472

Energy Officer		 		Dale Blundell			793 3227

Energy Officer	 			Adrian Palmer			793 3227

Energy Purchasing 			Julie Holmes			793 3474

Energy Monitoring and Targeting 	Mac Choudhury		793 3227

### Address

# Internal Audit Services

7 Wesley St

Swinton

M28 6AD

### Telephone 793 3227

### Fax    793 2666

# Email

Energy.audit@salford.gov.uk

# Contact hours

Monday to Friday   7.30am-5.00pm

Includes all holidays except Bank Holidays and 24 December – 1 January inclusive

Five reasons to buy this service…

1.	The council’s recent restructure has resulted in the creation of an energy audit team which now has a greater number of staff dedicated to reducing consumption and costs through all aspects of energy and water management. We’ll be able to provide more expertise in specific areas, whilst retaining the already acquired knowledge of your school’s requirements.

- We’ve made significant savings over the last three years through the independent negotiation of competitive electricity, gas and oil supply contracts. The average saving to a school in Salford over this period amounts to over £10,000. Given this track record, you will save more than the total cost of the SLA just by utilising the council’s energy contract.

- Salford City Council’s Energy Audit team has been the most successful authority in the North West of England in obtaining external funding to support energy and water conservation initiatives.  On completion of an energy audit, which makes recommendations to save both energy and water consumption and costs, up to £3,000 may be available to contribute to any capital costs. (Access to the Energy Audit capital budget is subject to a separate agreement – see below).

4.	We are committed to improving the service by the provision of training and advice to head teachers, site managers, caretakers and other staff in the efficient operation of your school.

5.	Historical consumption is held on a computer-based monitoring and targeting system that will highlight apparent excessive consumption and charges which deviate from established performance indicators. Action by the energy audit team will eliminate waste and reduce your costs.

# SLA cost per year

# SLA 1: For energy management:

£550 [MAILMERGE NOTE - for schools with less than 550 pupils] for the period 1 September 2001 – 31 August 2002. (The price is based on the number of pupils at your school*.)

£688.00 [MAILMERGE NOTE - for schools WITH MORE than 550 pupils] for the period 1 September 2001 – 31 August 2002. (The price is based on the number of pupils at your school*.)

*The Schools Standards and Framework Act 1998: Section 52, Budget Statement, 1999-2000, and any subsequent amendments were used to determine pupil numbers.

For Energy Efficiency/Conservation

In addition, we will charge your school 50%, or whatever money you save through the installation of energy efficient products (from the 12 months after they have been installed) that we install (this is explained in more detail below).

# The charge for services in years two and three (1 September to 31 August 2002/03 and 2003/04) for both SLAs will not be greater than the price quoted above plus the year-on-year inflationary increases recommended by the Director of Corporate Services.

Contract details

# Invoicing

# We will invoice your school for energy management in three installments in October, January and June each year.

# Length of contract

# Three years in total from 1 September 2001 to 31 August 2004.

# Changes to contract

### Two months’ written notice must be given by either side if any details of this service level agreement have to be changed.

### Background information

### This contract is provided by the city council’s Corporate Services and Education and Leisure directorate. We intend to optimise the use of resources and save customers’ time, effort and money. We value your views on our service and would always welcome the opportunity to consult with you on any aspect of energy management.

### The services you will receive

We will provide you with a comprehensive energy and water management service and offer assistance, advice and support to you with respect to:

- Obtaining competitive tariffs and negotiating with suppliers

- Benchmarking with respect to energy and water use performance and asset management

- Identifying opportunities for saving through detailed energy and water audits

- Monitoring and targeting of your energy and water consumption and costs

- Liasing with utility suppliers on your behalf regarding billing matters

- Project management of energy and water conservation initiatives

- Application for external funding

- Independent advice from a specialist team which was the first in the North West to achieve the nationally recognised energy management Energy Accreditation quality assurance award

- Training and education of building users

- Evaluation of your environmental impact in respect of energy and water use

- Assistance with the formulation of budgetary plans, project costing

- Miscellaneous support services

Our responsibilities to you are laid out in the definition of service section below – we will never enter into commitments on your behalf without your prior approval.

# Your school’s responsibilities

In order for you to get the best service from us we need you to do the following:

- Forward copies of all energy and water invoices each month to the energy audit team

- Respect all the obligations we enter into

- Inform us of any significant changes to the normal operation and accommodation that may effect consumption

- Allow us reasonable access and assistance to carry out our tasks

- Arrange for all payment to be made promptly in accordance with the terms outlined in the invoicing section on page 2 of this document

# Determining and specifying requirements

To define the level of service you need and the price you pay we will:

- Consult with you the user

- Provide professional guidance

- Arrange access to technical support

- Advise on appropriate current legislation

We will offer support services with respect to the purchase of:

- Energy requirements

- all necessary administrative services employed in the pursuit of the above services

# Seeking sources of energy supply.  We will:

- advise of known sources of supply

- explore new avenues of supply

# Competitive action

We will:

- Go through the standard formal and informal tendering procedures in accordance with the council’s standing orders and financial regulations

- Assist with or prepare tender documents

- Arrange and take part in the issue, receipt, opening, recording and evaluation of tenders

- Submit recommendations to you

- Prepare and submit reports and recommendations for council approval, where appropriate

We will also:

- Promote arrangements that are administratively convenient to you and try to stamp out duplication

- Continually research and test market sources

- Explore new methods of purchasing

- Periodically circulate a newsletter to you about purchasing information, negotiated preferential terms, details of special offers available and other items of purchasing interest, as and when such information becomes available

# Outline agreement to invest in energy efficiency measures

In exchange for our help installing energy efficient measures at your school, an agreed percentage of the resulting savings made by our investment into energy and water efficiency will be re-claimed for the 12 months after completion.

# The savings will be assessed on the following criteria:

- The consumption of heating energy will be corrected for variances in weather so we can directly compare between years regardless of weather changes or school size. This will be calculated as a Normalised Performance Indicator (NPI), which is an industry, approved method of assessment.

- For non-heating energy (allowing for fluctuations in population) savings will be assessed as a direct comparison of kWh.

- Allowing for fluctuations in population, water savings will be assessed as a direct comparison of m3.

Savings will be based on reduction in units of energy (kWh) or water (m3) consumed, not costs. Reduction in the units of consumption will be priced at the tariff rate 12 months after the installation of energy saving measures. The agreed percentage of savings to be reclaimed by Energy Audit is 50%.

Note: The money to be reclaimed by Energy Audit will be paid within 30 days of request. If payment is delayed interest charges will be made against the outstanding balance on a monthly basis at the standard rate.

# Service standards

We, along with all the other LEA service providers, are working on a set of service standards that will be in operation from 1 September 2001. You will receive a full set of service standards by 29 June 2001. In the meantime, here are some of the service-specific standards that we have already agreed.

- A dedicated energy audit team will be available from 7.30am-5.00pm Monday to Friday (excluding public holidays).

- A 24-hour fax service will be available.

- We aim to ensure that telephone enquiries are dealt with immediately - if this isn’t possible, enquiries will be recorded and a named team member will contact you as soon as possible.

- Consultation documents/questionnaires will be provided, annually and upon contract renewal, for all subscribing schools and these, together with the record of comments and complaints will be used to measure quality of performance.

- All contracts tendered for will comply with the EC regulations on procurement.

- All advice and spend committed on your behalf will comply with all of the council’s standing orders regulations.

### If things go wrong

We are committed to delivering the highest possible standards for our SLA. Detailed information on quality standards is provided but sometimes things can go wrong. If so, we want to deal with your concerns quickly and effectively. This section explains what you should do in these circumstances.

First, discuss the problem with the staff that is providing the service. Most complaints can be dealt with on the spot without the need to go further. If you are still unhappy you can make a formal complaint to Jim Gosney, the service manager on 793 3227. If you are still not satisfied, then please contact Don Simpson, Chief Internal Auditor on 793 3290.

RECOMMENDATION TABLE / MANAGEMENT SUMMARY

HOPE HIGH SCHOOL

| Premise | Description of Recommendations | Main Utility Saved | Annual Saving (£) | Estimated cost of Implementation (£) | Pay Back Period (Years) | Reduction of CO2 (Tonnes) |
| --- | --- | --- | --- | --- | --- | --- |
| HOUSEKEEPING 1 | Commit to “A Whole School Approach” | Gas, Oil, Elec & Water | 1000 | Nil | Immediate | 25.2 |
| BUILDING FABRIC 2 | Consider improving the thermal performance of the building to at least current Building Regulations at all opportunities particularly during any refurbishment works. | Gas & Oil | Beneficial long term savings and significant improvement in comfort levels would be realised |
| CENTRAL PLANT 3 | Review control settings – ensure correct operation, occupancy times and temperature requirements. | Gas & Oil | Ensuring efficiency of fuel use centrally will realise beneficial savings – up to approximately 10% savings. |
| 4 | Replace obsolete BEMS control system with modern Building Energy Management System (BEMS) | Gas & Oil | 825 | Greater accuracy of control and greater flexibility over old control system and should save around 5% of fuel used for heating and hot water purposes. |
| HEATING 5 | Flush & balance system to maximise heat output from system and ensure areas don’t overheat. | Gas & Oil | 500 | 1000 | 2 years | 10.2 |
| DOMESTIC HOT WATER 6 | At the time of ant future refurbishment, consider decentralising hot water plant to reduce standing losses and heat losses from long pipe runs. | Gas & Oil | 400 | The capital cost for such works could not be justified on payback period alone, but other factors such as Legionella implications of the existing system should be considered at any re-modelling stage. |
| LIGHTING 7 | Install occupancy controls and daylight sensing controls to switch of lights in unoccupied areas or when daylight is sufficient | Elec | 4500 | 14500 | 3.5 | 39.6 |
| 8 | Replace tungsten lamps with CFl’s (short term). | Elec | 600 | 300 | 6 months | 2.6 |
| 9 | Replace sodium lights in boys gym with high efficiency light fittings | Elec | 2500 | 6000 | 3 years | 22 |
| WATER 10 | Install WC dams to reduce water volume, and service existing urinal controls | Water | 1400 | 500 | 5 months | - |
| OTHER 11 | Sub-meter kitchens for water use and monitor use of electricity and water. | Under a Whole School Approach, would enable better understanding of school energy and water use. Cost about £250 |

RECOMMENDATION TABLE / MANAGEMENT SUMMARY

ST PAULS CE PRIMARY SCHOOL

| Premise | Description of Recommendations | Main Utility Saved | Annual Saving (£) | Estimated cost of Implementation (£) | Pay Back Period (Years) | Reduction of CO2 (Tonnes) |
| --- | --- | --- | --- | --- | --- | --- |
| HOUSEKEEPING 1 | Commit to “A Whole School Approach” | Gas, Water Electricity | 500 | Nil | Immediate | 25.2 |
| BUILDING FABRIC 2 | Consider improving the thermal performance of the building to at least current Building Regulations at all opportunities particularly during any refurbishment works. | Gas | Beneficial long term savings and significant improvement in comfort levels would be realised |
| CENTRAL PLANT 4 | Review control settings – ensure correct operation, occupancy times, fan motor operation times and internal temperature requirements. | Gas | Ensuring efficiency of fuel use centrally will realise beneficial savings. A 10% saving = £ at Nil cost. |
| HEATING 5 | Ensure flow rates through radiators are balanced correctly to overcome existing fluctuations in heat distribution throughout areas of the school. | Gas | 50 | 100 | 2 | 1.21 |
| DOMESTIC HOT WATER 6 | Remove need to top up hot water with immersion heaters – ensure time and temperature control correct and flow rate of DHW primary pumps sufficient to meet hot water. | Elec | 1155 | Worst case - new primary pump. Budget cost £1000 | 0.86 | 9.24 |
| LIGHTING 7 | Install occupancy controls and daylight sensing controls to switch of lights in unoccupied areas or when daylight is sufficient | Elec | 800 | 3000 | 3.75 | 6.4 |
| WATER 8 | Install WC dams, urinal controls and push taps to reduce water consumption | Water | 200 | 700 | 3.5 | - |
| OTHER 9 | Sub-meter kitchens for water use and monitor use of electricity and water. | Under a Whole School Approach, would enable better understanding of school energy and water use. Cost about £250 |

# RECOMMENDATION TABLE / MANAGEMENT SUMMARY

LANGWORTHY RD PRIMARY SCHOOL

| Premise | Description of Recommendations | Main Utility Saved | Annual Saving (£) | Estimated cost of Implementation (£) | Pay Back Period (Years) | Reduction of CO2 (Tonnes) |
| --- | --- | --- | --- | --- | --- | --- |
| HOUSEKEEPING 1 | Commit to “A Whole School Approach” | Gas, Water Electricity | 900 | Nil | Immediate | 12.2 |
| BUILDING FABRIC 2 | Consider improving the thermal performance of the building to at least current Building Regulations at all opportunities particularly during any refurbishment works. Giving particular attention to the high ceilings and uninsulated roof areas – these are a major route of heat loss. | Gas | Beneficial long term savings and significant improvement in comfort levels would be realised |
| 3 | Install draught exclusion to doors and openable windows. | Gas | Beneficial long term savings and significant improvement in comfort levels would be realised. |
| CENTRAL PLANT 4 | Review control settings and check operation of variable temperature control. | Gas | Dependent upon findings. Control of primary fuel use at source will enhance overall efficiencies. |
| 5 | Reinstate community wing controls | Gas, Elec | 250 | 400 | 1.6 years | 5.8 |
| 6 | Install VT control to community wing heating | Gas | 100 | 2,000 | 20 years | 2.2 |
| 7 | Consider replacing controls with new BEMS to include reinstatement of Zone valves. | Gas, Elec | 700 | 5,500 | 7.1 years | 15 |
| 8 | Review burner settings to optimise fuel input to boiler | Gas | 250 | 50 | 0.2 years | 5.4 |
| HEATING 9 | Clear obstructed radiators | Gas | 30 | Nil | Immediate | 0.6 |
| 10 | Check installation and operation of hold–off thermostats to FCU’s | Elec | Dependent upon findings. |
| 11 | Consider installing TRV’s to radiators | Gas | 350 | 1500 | 4.3 | 7.5 |
| 12 | Review FCU thermostat settings | Gas | 80 | Nil | Immediate | 0.6 |
| 13 | Reinstate / relocate FCU’s in infant’s store rooms. | Increased level of comfort realised in an area which is notably cooler than the rest of the school. |
| LIGHTING 14 | Install occupancy controls to lighting where practicable. Switch off remaining lights when not required. | Elec | 1,250 | 5000 | 4 | 9.0 |
| 15 | Replace tungsten filament GLS lamps with compact fluoorescents | Elec | 70 | Nil | Immediate | 0.5 |
| DOMESTIC HOT WATER 16 | Reinstate control loop to calorifier | Gas, Elec | 120 | 300 | 2.5 years | 2.6 |
| 17 | Install Timeclocks to electric water heaters | Elec | 640 | 700 | 1.1 years | 4.6 |
| 18 | Consider insulating hot water pipeworks | Gas | 50 | 1000 | 20 years | 1.1 |
| WATER 19 | Investigate recent high consumption of water | Water | Current rate of water use could indicate an annual liability of £1,000. |
| OTHER 20 | Sub-meter kitchens for gas, electricity and water use. | Under a Whole School Approach, would enable better understanding of school energy and water use. |

RECOMMENDATION TABLE / MANAGEMENT SUMMARY

ST JOHN’S PRIMARY SCHOOL

| Premise | Description of Recommendations | Main Utility Saved | Annual Saving (£) | Estimated cost of Implementation (£) | Pay Back Period (Years) | Reduction of CO2 (Tonnes) |
| --- | --- | --- | --- | --- | --- | --- |
| HOUSEKEEPING 1 | Commit to “A Whole School Approach” | Gas, Water Electricity | 900 | Nil | Immediate | 12.2 |
| 2 | Sign up to the City of Salford contract for the supply of electricity. | £ | 808 | Nil | Immediate | - |
| BUILDING FABRIC 3 | Consider improving the thermal performance of the building to at least current Building Regulations at all opportunities particularly during any refurbishment works. | Gas | Beneficial long term savings and significant improvement in comfort levels would be realised |
| 4 | Install draught exclusion to external doors and openable windows. | Gas | Beneficial long term savings and significant improvement in comfort levels would be realised. |
| CENTRAL PLANT 5 | Staff training of boiler controls to allow basic control intervention and maintenance reporting. | Gas | Control of primary fuel use at source will enhance overall efficiencies. |
| 6 | Check boiler combustion efficiency is optimised | Gas |  |
| HEATING 7 | Clear obstructed radiators | Gas | 30 | Nil | Immediate | 0.6 |
| 8 | Check installation and operation of hold–off thermostats to FCU’s | Elec | Dependent upon findings. |
| 9 | Consider installing thermostats to FCU’s. | Gas | 110 | 600 | 5.5 | 0.8 |
| 10 | Relocate internal sensor to a radiator only space | Gas | Greater level of control and comfort would be achieved |
| LIGHTING 11 | Install occupancy controls to lighting where practicable. Switch off remaining lights when not required. | Elec | 950 | 2,900 | 3.1 | 2.9 |
| 12 | Replace tungsten filament GLS lamps with compact fluorescents | Elec | 140 | Nil | Immediate | 1 |
| DOMESTIC HOT WATER 13 | Review timeclock settings to LPHW provision. | Gas, Elec | 60 | Nil | Immediate | 1.3 |
| 14 | Install timeclocks to electric water heaters | Elec | 210 | 450 | 2.1 | 1.5 |
| WATER 15 | Investigate high consumption of water | Water | Current rate of water use could indicate an annual liability of £1,000. |
| 16 | Install WC dams | Water | 95 | 85 | <11 months | - |
| 17 | Install push taps | Water | 117 | 390 | 3.3 | - |
| 18 | Check operation of urinal controls | Water | Dependent upon findings. These controls may save over £200 per year. |
| OTHER 19 | Sub-meter kitchens for gas, electricity and water use. | Under a Whole School Approach, would enable better understanding of school energy and water use and provide greater accountability . |