| QUALITY AND PERFORMANCE SCRUTINY COMMITTEE | 26th March 2001 | PART 1 (OPEN TO THE PUBLIC) |
| --- | --- | --- |
|  |  | ITEM NO. |
| SUBJECT : ENERGY MANAGEMENT ACTIVITY DURING THE PERIOD DECEMBER 2000 TO MARCH 2001. |  |
| REPORT OF : DIRECTOR OF CORPORATE SERVICES | FOR INFORMATION |

A. REPORT SUMMARY

1.  	PURPOSE OF REPORT:

To update members on matters arising since the December  2000 meeting of the Quality and Performance Scrutiny Committee and to report significant activities of the Energy  Audit Group.

2.	RECOMMENDATIONS:

Members are asked to note the level of savings being achieved and identified by the Group,

3.	ROUTING:

Direct to Council.

4.	IMPLICATIONS:

4.1	Resources (Finance/Staffing)	:	The operation of an efficient Energy Management Group contributes to considerable cost savings to the City Council.  Competitive tendering for energy supply will minimise the strain on limited budgets.

4.2	Performance Review	:	Not applicable.

4.3	Environmental	:	Reduction in the use of fuels, energy and water will minimise harmful effects on the environment.

4.4	Equal Opportunities	:	N/A

4.5	Community Strategy	:	N/A

4.6	Anti-Poverty Strategy	:	N/A

| IF YOU HAVE ANY QUERIES PLEASE CONTACT Jim Gosney 793 3227 | BACKGROUND DOCUMENTS |
| --- | --- |
| QUALITY CONTROL | Report prepared by Jim Gosney 793 3227 Checked by Donald Simpson 793 3290 |
| Corporate Services (Finance), Salford Civic Centre, Chorley Road, Swinton. M27 5AW |

REPORT DETAILS

5.	ENERGY MANAGEMENT

Activities undertaken during the period December 2000 to March 2001 include the following:-

Energy Audit activities including purchasing are detailed in Appendix A.

Energy Audit reports have been presented to the Education and Leisure, Environmental Services Directorates and previous recommendations are being implemented at the following premises:-

Potential Annual Saving

All Hallows High School		£10,430

Joseph Eastham High School		£13,570

North Walkden Primary School		£  2,430

Radclyffe Primary School		£  3,655

Fiddlers Lane Primary School		£  4,550

St. Augustines Primary School		£  3,655

Westwood Park Primary School		£  2,540

Barton Moss Primary School		£  3,483

St. Marks C.E. Primary School		£  4,755

St. Sebastians Primary School		£  3,750

Summerville Primary School		£  5,340

Bridgewater Primary School		£  5,842

Westwood Park Nursery Centre		£  2,500

Dorning St. Nursery		£  1,100

Crompton House		£  7,800

The Friars		£ 1,900

St Pauls Cof E		£ 2,800

Seedley Primary			£ 3,920

St Pauls Peel		£ 3,350

Irwell Park		£,5,250

Recommendation Tables and  management summaries in respect of these completed audits are attached in Appendix B.

An energy audit at The Lowry is currently being undertaken and agreement has been reached to assist them with the purchase of energy, which should produce significant savings.

6.	EXTERNAL FUNDING

The City Council has been offered funding under the Energy Saving Trust HECA  programme. The £100,000 awarded is to be used to declare Eccles ward an energy conservation area. This scheme will aim to target all housing in the ward for energy efficiency information and advice leading to the installation of measures such as, cavity wall insulation, loft insulation, heating controls, hot water cylinder jackets, highly efficient boilers and draught proofing. It will also serve as a pilot for a geographically targeted approach to meeting the Council’s obligations under the Home Energy Conservation Act 1995.

APPENDIX A

|  |  | SAVINGS |  |
| --- | --- | --- | --- |
| Premise | Recommendation | Saving | Current Status |
| Higher Irlam Library | Refund for overcharge on R51 Units | £12,455.65 | Cheque received 26/01/01 |
| Sports Changing Rooms, Cleggs Lane | MD1..N to Economy 7 | £3,196.63 | Implemented |
| Vulcan House | Re-Tender | £1,246.00 | Implemented 01/01/01 |
| Princes Park Garden Centre | Overcharge on redundant meters | £5,457.53 | Norweb AGREED A CHEQUE WILL BE RAISED THIS MONTH |
| Cultural, Social Services, Catering & Recreation Tenders | Obtain competitive prices | £62,294.23 | To be tendered with IE sites for 01/04/01 renewal |
| Launching Strip STH Bay Dock | MD1..N to General Purpose (G13) | £488.00 |  |
| Pendleton Business Center | Av Cap Reduction ( 80 -34) | £651.36 | , Norweb accepted and the signed new agreements were sent back 27/11/00 |
| Broadwalk Resource Centre | Av Cap Reduction ( 120-51) | £977.04 | Norweb accepted and the signed new agreements were sent back 27/11/01 |
| Toilets, Station Rd, Irlam | Site demolished paying on est. | £2,818.64 | Letter sent to Norweb 05/12/00 |
| Toilets, Market Way Underground | Toilets closed 21/02/97 and sold 15/07/98 | £2,914.49 | Letter sent to Norweb 05/12/00 |
| Craig Hall, Preston Avenue | G63 to Max Demand | £311.81 | Application sent to Norweb 11/12/00 |
| Public Conveniences | Sites closed/demolished | £12,460.78 | Letters sent to Norweb |
| Independent Energy Sites | Re-Tender | £221,332.52 | Tender in OJEC week ending 15/12/00 |
| Bus Station Toilets, Victoria Bridge St | Toilets closed | £4,409.06 | Cheque received 28/02/01 |
| Lowry Footbridge North | MD1..N to Economy 7 | £1,550.00 | Written to Norweb 19/01/01 |
| Lowry Footbridge South | MD1..N to Economy 7 | £1,757.00 | Written to Norweb 19/01/01 |
| Toilets Lane End, Eccles | Site demolished paying on est. | £738.85 | Cheque received 26/01/01 |
| Toilets, Eccles Bus Station | Site demolished paying on est. | £519.59 | Cheque received 26/01/01- still await further refund |
| Lower Kersal Primary School | MD1..N to General Purpose (G13) | £734.00 | Agreed with school - now request from Norweb |
| Swinton Cemetery | Overcharge on redundant meters | £6,600.00 | Obtaining readings 06/03/01 |
|  | TOTAL SAVINGS IDENTIFIED | £342,913.18 |  |

### APPENDIX B

RECOMMENDATION TABLE / MANAGEMENT SUMMARY

THE FRIARS PRIMARY SCHOOL

| Premise | Description of Recommendations | Main Utility Saved | Annual Saving (£) | Estimated cost of Implementation (£) | Pay Back Period (Years) | Reduction of CO2 (Tonnes) |
| --- | --- | --- | --- | --- | --- | --- |
| HOUSEKEEPING 1 | Commit to “A Whole School Approach” | Gas, Water Electricity | 500 | Nil | Immediate | 25.2 |
| BUILDING FABRIC 2 | Consider improving the thermal performance of the building to at least current Building Regulations at all opportunities particularly during any refurbishment works. | Gas | Beneficial long term savings and significant improvement in comfort levels would be realised |
| 3 | Install insulated false ceiling draught exclusion to all external doors and openable windows. | Gas | Beneficial long term savings and significant improvement in comfort levels would be realised. |
| CENTRAL PLANT 4 | Review control settings – ensure correct operation, occupancy times, fan motor operation times and internal temperature requirements. | Gas | Ensuring efficiency of fuel use centrally will realise beneficial savings. A 10% saving = £150 at Nil cost. |
| 5 | Replace control system with Building Energy Management System (BEMS) | Gas | BEMS have been shown to save between 10 & 20 % of fuel used for heating when compared to traditional control systems |
| HEATING 6 | Service fan units including replacement of loose motor drive belts & re-instate fan motor time control to maximise heat transfer in AHU’s and optimum start / stop control potential | Gas & Elec | 500 | 300 | 1 year | 7.5 |
| 7 | Commission “fresh air” and “re-circulated air” dampers on ventilation units to ensure minimum volumes of cold fresh air volumes to meet occupants comfort requirements are brought into the school. | Gas | 300 | 200 | < 1 year | 7.3 |
| DOMESTIC HOT WATER | Replace storage calorifiers with instantaneous water heaters | Gas | 600 4000 6.6 | 14.5 |
| LIGHTING 6 | Install occupancy controls and daylight sensing controls to switch of lights in unoccupied areas or when daylight is sufficient | Elec | 540 | 3000 | 5.5 | 4.3 |
| 7 | Replace tungsten lamps with CFl’s (short term) | Elec | 240 | 125 | 6 months | 1.9 |
| 8 | Overhaul and modernise lighting (long term). This proposal should be considered at time of major refurbishment works (e.g. - should compartmentation of classrooms or installation of a false ceiling take place) | Elec | High capital cost offset by potential £140 annual saving | 6000 | - | 1.1 |
| WATER 11 | Install WC dams | Water | 110 | 110 | 1 | - |
| OTHER 15 | Sub-meter kitchens for water use and monitor use of electricity and water. | Under a Whole School Approach, would enable better understanding of school energy and water use. Cost about £250 |

RECOMMENDATION TABLE / MANAGEMENT SUMMARY

ST PAULS CE PRIMARY SCHOOL

| Premise | Description of Recommendations | Main Utility Saved | Annual Saving (£) | Estimated cost of Implementation (£) | Pay Back Period (Years) | Reduction of CO2 (Tonnes) |
| --- | --- | --- | --- | --- | --- | --- |
| HOUSEKEEPING 1 | Commit to “A Whole School Approach” | Gas, Water Electricity | 500 | Nil | Immediate | 25.2 |
| BUILDING FABRIC 2 | Consider improving the thermal performance of the building to at least current Building Regulations at all opportunities particularly during any refurbishment works. | Gas | Beneficial long term savings and significant improvement in comfort levels would be realised |
| CENTRAL PLANT 4 | Review control settings – ensure correct operation, occupancy times and internal temperature requirements. | Gas | Ensuring efficiency of fuel use centrally will realise beneficial savings. A 10% saving = £ at Nil cost. |
| HEATING 6 | Ensure flow rates through radiators are balanced correctly to overcome existing fluctuations in heat distribution throughout areas of the school. | Gas | 50 | 100 | 2 | 1.21 |
| 7 | Install thermostatic radiator valves to radiators in the nursery which are served by the constant temperature circuit. | Gas | 90 | 360 | 4 | 2.18 |
| DOMESTIC HOT WATER 8 | Remove need to top up hot water with immersion heaters – ensure time and temperature control correct and flow rate of DHW primary pumps sufficient to meet hot water. | Elec | 1155 | Worst case - new primary pump. Budget cost £1000 | 0.86 | 9.24 |
| LIGHTING 9 | Install occupancy controls and daylight sensing controls to switch of lights in unoccupied areas or when daylight is sufficient | Elec | 800 | 3000 | 3.75 | 6.4 |
| WATER 10 | Install water saving devices such as WC dams, urinal controls and push taps to reduce water consumption | Water | 200 | 700 | 3.5 | - |
| OTHER 11 | Sub-meter kitchens for water use and monitor use of electricity and water. | Under a Whole School Approach, would enable better understanding of school energy and water use. Cost about £250 |

RECOMMENDATION TABLE / MANAGEMENT SUMMARY

SEEDLEY PRIMARY SCHOOL

| Premise | Description of Recommendations | Main Utility Saved | Annual Saving (£) | Estimated cost of Implementation (£) | Pay Back Period (Years) | Reduction of CO2 (Tonnes) |
| --- | --- | --- | --- | --- | --- | --- |
| HOUSEKEEPING 1 | Commit to “A Whole School Approach” | Oil, Water Electricity | 500 | Nil | Immediate | 25.2 |
| BUILDING FABRIC 2 | Consider improving the thermal performance of the building to at least current Building Regulations at all opportunities particularly during any refurbishment works. | Oil | Beneficial long term savings and significant improvement in comfort levels would be realised |
| 3 | Install insulated false ceilings and draught exclusion to all external doors and openable windows. | Oil | Beneficial long term savings and significant improvement in comfort levels would be realised. |
| CENTRAL PLANT 4 | Replace obsolete control system with Building Energy Management System (BEMS) and bring temperature control valves back into operation. New heating controls will help overcome current over-heating problems and will reduce heating fuel use by approximately 20% - Saving around £900 per year | Oil | 900 | 5000 | 5.5 |  |
| 5 | Convert boiler plant from oil to gas firing. Gas cheaper by approximately 28.6% when compared to average cost of oil used by the school per kW | Oil | 1296 | 4000 | 3.1 |  |
| HEATING 6 | Balance radiator heating system. Gravity circulation is creating excessive flow of heating water through upper floor radiators and overheating classrooms | Oil | 300 | 300 | 1 | 7.5 |
| HOT WATER 7 | Fit time controls to electric water heaters to ensure heaters do not operate during night time or holiday periods | Elec | 120 per heater | 200 | 1.7 |  |
| LIGHTING 8 | Install occupancy controls and daylight sensing controls to switch of lights in unoccupied areas or when daylight is sufficient. | Elec | 600 | 3000 | 5 | 4.3 |
| WATER 9 | Install WC dams or cistern volume reducing devices to reduce flush volumes for W.C.s | Water | 300 | 300 | 1 |  |
| 10 | Install / replace faulty urinal controls | Water | 250 per urinal | 200 per urinal | 1.25 |  |
| OTHER 15 | Sub-meter kitchens for water use and monitor use of electricity and water. | Under a Whole School Approach, would enable better understanding of school energy and water use. Cost about £250 |

RECOMMENDATION TABLE / MANAGEMENT SUMMARY

ST. PAUL’S PEEL PRIMARY SCHOOL

| Premise | Description of Recommendations | Main Utility Saved | Annual Saving (£) | Estimated cost of Implementation (£) | Pay Back Period (Years) | Reduction of CO2 (Tonnes) |
| --- | --- | --- | --- | --- | --- | --- |
| HOUSEKEEPING 1 | Commit to “A Whole School Approach” | Gas, Water Electricity | 880 | Nil | Immediate | 16 |
| BUILDING FABRIC 2 | Consider improving the thermal performance of the building to at least current Building Regulations at all opportunities particularly during any refurbishment works. Give particular attention to the hall roof – this is a major route of heat loss and water ingress. | Gas | Beneficial long term savings and significant improvement in comfort levels would be realised |
| 3 | Install draught exclusion to external doors. | Gas | Beneficial long term savings and significant improvement in comfort levels would be realised. |
| CENTRAL PLANT 4 | Review settings of heating controls. | Gas, Elec | >500 | Nil | Immediate | 5.9 |
| HEATING 5 | Clear obstructed radiators | Gas | 30 | Nil | Immediate | 0.6 |
| 6 | Check settings of TRV’s | Gas | 80 | Nil | Immediate | 1.7 |
| 7 | Reinstate de-stratification fans in hall | Gas, Elec | 90 | Nil | Immediate | 1.1 |
| LIGHTING 8 | Install occupancy controls to lighting where practicable. Switch off remaining lights when not required. | Elec | 870 | 3460 | 4 | 7.5 |

| DOMESTIC HOT WATER 9 | Install new and replacement relays to control panel to re-enable timeclock control. | Gas, Elec | 1,200 | 300 | 3 mths | 25.9 |
| --- | --- | --- | --- | --- | --- | --- |
| 10 | Consider insulating hot water pipeworks | Gas | 50 | 1000 | 20 years | 1.1 |
| WATER 11 | Install WC dams | Water | 240 | 150 | <8 mths | - |
| 12 | Install push taps | Water | 150 | 740 | 5 | - |
| OTHER 13 | Sub-meter kitchens for gas and water use. (Electricity use already sub-metered) | Under a Whole School Approach, would enable better understanding of school energy and water use and enable direct off-charging. |

RECOMMENDATION TABLE / MANAGEMENT SUMMARY

IRWELL PARK PRIMARY SCHOOL

| Premise | Description of Recommendations | Main Utility Saved | Annual Saving (£) | Estimated cost of Implementation (£) | Pay Back Period (Years) | Reduction of CO2 (Tonnes) |
| --- | --- | --- | --- | --- | --- | --- |
| HOUSEKEEPING 1 | Commit to “A Whole School Approach” | Gas, Water Electricity | 1,700 | Nil | Immediate | 27.5 |
| BUILDING FABRIC 2 | Consider improving the thermal performance of the building to at least current Building Regulations at all opportunities particularly during any refurbishment works. | Gas | Beneficial long term savings and significant improvement in comfort levels would be realised |
| 3 | Install draught exclusion to all external doors and openable windows. Consider use of draught lobbies. | Gas | Beneficial long term savings and significant improvement in comfort levels would be realised. |
| CENTRAL PLANT 4 | Review control settings. Check operation of VT valve and actuator. Review existing BEMS functionality including space temperature sensors. | Gas | Ensuring efficiency of fuel use through effective control will realise beneficial savings. A 5% saving alone may realise £370 with nil or low costs.. |
| HEATING 5 | Insulate above suspended ceilings. | Gas | 500 | 4500 | 9 yrs | 13.7 |
| 6 | Overhaul AHU’s and regularly maintain plant | In-operation of plant leaves a shortfall to meet the heat demand. Re-instatement of the AHU’s is one option available. This should include a regular maintenance contract. First year costs could amount to well over £2,500. |
| 7 | Consider extending the existing LPHW system with additional emitters and strip out AH plant | Gas | This could certainly be a more viable economic option in terms of long term running costs and ease of control. |
| 8 | Install grilles to windows to minimise vandalism and reduce heat loss through broken windows. | Gas | This would minimise heat loss through broken windows, reducing both heating and repair costs and increase comfort. |
| 9 | Provide only frost protection heating to unused areas | Gas | Eliminating heat wasted in unoccupied areas at Nil cost |
| 10 | Investigate the practicality of zoning the heating system, particularly for the sub-let area. | Gas | This would enable more specific control of different areas which have different occupancy patterns. The benefits are dependent upon any findings. |
| LIGHTING 11 | Install occupancy controls to where practicable. Switch off remaining lights when not required. | Elec | 2,100 | 10,000 | 4.8 | 16 | 4.4 | 17.2 |
| DOMESTIC HOT WATER 12 | Insulate all DHW pipeworks. | Gas | 185 | 1,500 | 8.1 | 5 |
| 13 | Timeclock adjusted on-site | Gas, Elec | 373 | Nil | Immediate | 6 |
| WATER 14 | Install WC dams | Water | 110 | 110 | 1 | - |
| 15 | Install urinal cistern flush controls | Water | 300 | 450 | 1.5 | - |
| 16 | Install individual percussion controls to showers | Water | 400 | 4,050 | 10 | - |
| 17 | Install push taps | Water | 200 | 900 | 4.5 | - |
| OTHER 19 | Consideration could be given to sub-metering kitchens and sub-let accommodation for all utilities and monitor use. | Under a Whole School Approach, would enable better understanding of school energy and water use. Cost about £1,200 for kitchens. Sub-let area requires further investigation. |